## TITLE:  Reticulocyte Slide Preparation

### PRINICPLE

A reticulocyte is a young, non-nucleated cell of the erythrocytic series.  Residual RNA in immature red blood cells is precipitated and stained with a supravital dye such as new methylene blue.  The precipitated RNA appears as blue stained reticulum.  In young reticulocytes multiple linear granules are revealed.  In old reticulocytes only a few blue granules or scattered blue threads may be found.

The counting of immature red cells or reticulocytes is a simple and direct way to assess the effective rate of red cell production.  The reticulocytes do not always reflect absolute erythroid activity because of premature or delayed release from the bone marrow and different maturation rates.  However the ease with which reticulocytes can be counted serially in the same individual makes the reticulocyte count an excellent method for estimating changes in the rate of red cell production.

# PERSONNEL

Medical Technologists and Technicians

# SPECIMEN

Patient Preparation - 		No special patient preparation by laboratory personnel.

Type of Specimen -	Yorkville lab will only make retic stained slides.  All retics will be sent to main lab for analysis.  Please make 3 thin smears using procedure below on all OP retics and send with patient sample to main lab.

Either fresh capillary blood mixed immediately with the supravital stain or blood anticoagulated with EDTA which is mixed with supravital stain within two hours of having been drawn.

Handling Precautions -	Handle all specimens using Standard Precautions.

## REAGENTS

New Methylene Blue dye – Reticulocyte Stain Solution by Thermo Scientific

## EQUIPMENT

12 x 75 mm glass test tubes

Pipettes

Glass slides

Microscope

STEPWISE PROCEDURE

- Label a 12 x 75 mm test tube with the patient’s name.

- For EDTA anticoagulated blood

- Add 2 drops of dye solution to a 12 x 75 mm glass test tube.

- Add 3 drops of blood to the dye.

- Mix well.

- For capillary blood

- Place 60 lambda of dye solution in the labeled test tube.

- Add 40 lambda of capillary blood

- Mix well

- Permit the dye-blood mixture to sit for 15 minutes.  Mix well immediately before placing the drop on the slide.  (Retic’s tend to layer on top of other RBC’s when allowed to settle).

- Make 3 thin smears, smears should cover about 66% of the slide with a feathered edge and no tails in the feathered edge.  Label the smears and allow to dry, the slides should be air or fan dried.  Allowing them to dry by sitting causes uneven drying patterns.

# PROCEDURAL  NOTES

Stains should be filtered before use if there is a lot of precipitate on smears.

Two conditions where the reticulocyte count is below normal:  aplastic anemia and pernicious anemia.

Reticulocytosis (counts above normal) can be seen in hereditary spherocytic anemia, sickle cell anemia, thalassemia major, paroxysmal nocturnal hemoglobinuria, acquired autoimmune hemolytic anemia, erythroblastosis fetalis,  acute posthemorrhagic anemia.

# LINEARITY

None

# REFERENCES

- Israel Davidsohn, M.D., F.A.C.P.; and John Bernard Henry, M.D., editors.  Todd-Sanford Clinical Diagnosis by Laboratory Methods – 14th edition.  W. B. Saunders Company (Philadelphia, 1969)  pp.  204 and 208.

- Charles E. Sieverd.  Hematology for Medical Technologists – Fourth Edition.  Lea & Febiger (Philadelphia, 1979) pp. 331-339.

- William R. Platt, M.D., F.C.A.P., F.A.C.P. Color Atlas and Textbook of Hematology – Second Edition.  J.B. Lippincott Company (Philadelphia, 1979)

- William J. Williams, M.D.; Ernest Beutler, M.D.; Allan J. Erslev, M.D.; R. Wayne Rundles, Ph.D., M.D. Hematology  - Second Edition, McGraw-Hill Book Company, A. Blakiston Publication (New York, 1977) pp. 39, 1590 to 1591.

- Lot B. Page, M.D., Perry J. Culver, M.D., editors.  A Syllabus of Laboratory Examinations in Clinical Diagnosis – Revised edition, Harvard University Press (Cambridge, Massachusetts, 1961) p. 84.

- Reticulocyte Stain Solution package insert.  Thermo Shandon Limited

S:\Laboratory Policies and Procedures\YORKVILLE\Hematology/7180-HE-0375      12/24/12RD