## TITLE:  Reporting MCHC’s

# PRINCIPLE

To provide a routine protocol for reporting MCHC’s.  The MCHC is the most useful parameter to assure the accuracy of the red cell parameters in individual patient samples.  Since the MCHC varies over a narrow range, an abnormal MCHC will flag potentially spurious red cell parameters.  Truly elevated MCHC’s may be seen with spherocytosis, while decreased MCHC’s can accompany a low MCV in severe iron deficiency anemia.  MCV and MCH are fairly constant for each patient, and monitoring these indices with a delta check system may provide a good detection system of instrument malfunction or patient misidentification.

# PERSONNEL

Medical Technologists and Technicians

### STEPWISE PROCEDURE

- An MCHC below 32.5 g/dL is due to anemia.  Hypochromasia should be noted when a differential is ordered.

- An MCHC above 37.5 g/dL is due to interference by lipemia, cold agglutinins, abnormal plasma proteins such as in Multiple Myeloma and abnormal RBC shapes such as target cells and spherocytes.

- Follow the protocol on the chart found on the following page.

# REPORTING RESULTS

Report results through the Laboratory Information System.

# NORMALS

32.5 to 36.5 g/dL

REFERENCES

Cornbleet J. How laboratories use RBC indices. Arch Intern Med. 1983; 143: 1490