## TITLE:    Preventative Maintenance Schedule for Coagulation

### PURPOSE

Properly functioning equipment is essential for accurate testing.  All instruments must be properly maintained, cleaned and monitored.  Temperature-regulated equipment must be checked for correct temperature each day of use.  The work area should be clean and orderly at all times.

### PERSONNEL

Medical Technologists, Medical Laboratory Technicians

### EQUIPMENT

See individual procedures

### STEPWISE PROCEDURE

DAILY

1.	Clean counters with approved disinfectant wipes or 10% Bleach solution made up daily.

2.	Clean and check CS-2500 Coagulation analyzer, perform daily maintenance.

3.	Clean and check CA-660 Coagulation analzyer, perform daily maintenance.

4.         Check temperatures on refrigerators and room temperature thermometers and record.

Ranges: Room Temperature: 15-25 o C

Small Coag. Refrigerator: 2o -8o C.

Document any deviations from the acceptable ranges and corrective actions.

WEEKLY

- Perform weekly maintenance on CS-2500

- Perform Weekly maintenance on CA-660.

MONTHLY

- Perform monthly maintenance on CS-2500.

- Clean the Coag centrifuge and record on the log in the P.M. book.

QUARTERLY

- Perform quarterly maintenance on the CA-660

- Quarterly Centrifuge Check for Platelet-Poor Plasma- See 4840-HE-0565 for details on how to perform this procedure.

- Clean refrigerator.

ANNUALLY

1.	Pipette maintenance and calibration.

2.	Annual PM on the CS-2500 and CA-660 analyzers.

3. 	Thermometer check against the NIST certified thermometer when a new thermometer is put in service and/or annually.

AS NEEDED

1.  	Preventive maintenance on the CS-2500 and CA-660 analyzer.