## TITLE:    Critical Values - Coagulation

## PRINCIPLE:

To alert the physician when test results exceed a critical limit.

### PERSONNEL

Medical Technologists and Technicians

### REAGENT PREPARATION & EQUIPMENT

See individual test procedure

SPECIMEN COLLECTION/TREATMENT:

See individual test procedure

### QUALITY CONTROL

Run per procedure for test.  It is recommended that Quality Control be run with the critical value sample to verify results are not instrument or reagent error.

### CALIBRATION

Not applicable

### STEPWISE PROCEDURE

1.	The following are critical values:

PT/INR:	In patient:  INR: Greater than or equal to 5.0

Outpatient:  INR: Greater than or equal to 4.0

PTT:	           Greater than 75 seconds

NICU Criticals:

0-3 mos: PT:  >16.0 seconds     INR: >5.0

PTT: >60.0 seconds

Fibrinogen:  <90.0mg/dL

>400.0mg/dL

Preterm PTT:

  - day:  >79.5 seconds

2-30 days:  >62.6 seconds

31 days-6 mos: >53.4 seconds

2.	Rerun and/or verify critical values.

3.	Report results through the LIS system.  Refer to the LIS Procedure Manual for complete 	instructions.

4.	If the patient is an inpatient the Medical Technologists or Technician calls the results to the nurse in charge of the patient.  Identify to the nurse the critical values.  Enter into the result comment the full name of the nurse, your initials and the date and time. (RBTO).

5.	If the patient is an outpatient, the Medical Technologist or Technician will call the critical value to the Doctor’s office.  Enter into the result comment (RBTO) the time and who took the critical value results and your initials.

### CALCULATIONS

None

### REPORTING RESULTS

See procedure

### PROCEDURAL NOTES

None