




New Lot/Shipment QC will be performed and reviewed for acceptability before patient testing using ME Control 1 and ME Control 2

Catalog #: NATMEC-BIO, Zeptometrix NATtrol Meningitis/Encephalitis (ME) Controls









**RESULT REPORTING**

Results are interfaced and will auto post.

Negative results will auto verify and finalize.

Any Positive result from the Panel is a critical value requiring critical call documentation and manual finalization.





REFERENCES

BioFire® FilmArray® ME Panel CE IVD Instruction Booklet 2021