TITLE: Pharmacy Sterility Environmental Culture

PRINCIPLE:  Provide instruction for the receipt, ordering, culturing and result interpretation of gloved fingertip sampling, aseptic media fill, and surface sampling specimens collected by pharmacy staff.

PERSONNEL:  Medical Technologist and Technicians, LCC staff

# EQUIPMENT AND SUPPLIES:

35oC CO2 incubator

Chocolate Agar Plate (CHOC)

TSB Growth Media Pouch (THIO)

Surface Sampling Paddle

STEPWISE PROCEDURE:

Pharmacy will submit inoculated media for testing. There are 3 types of testing.

- Initial x3 Finger Tip test – 3 sets of 2 CHOC plates. 3 separate orders will be placed.

- Ongoing Media Fill w/ Finger Tip test – 2 CHOC and 1 pouch of TSB Growth Media

- Monthly Surface samples – 1 paddle for each surface samples. Separate order for each surface sample paddle.

The Chocolate plates (fingertip sampling) shall be labeled with the collector’s name, date, time and an R or L to designate which hand fingertips were sampled. The TSB Broth (media fill) will be labeled with the collector’s name, date, and time. Sampling paddles will have location sampled.

Ordering in Soft system:

Patient Name: Pharmacy, Sterility

Order: Culture Environmental

Source: Pharmacy Sterility Check
Body Site: Free text the Name of the Pharmacy staff that collected the samples and R,L or R,L Thio. If paddle received free text Paddle and the sampling location written on the container.

Plating:

When specimen is plated in microbiology 2 CHOC and 1 THIO media labels will print.

- Initial x3 Finger Tip test – Label and incubate at 35C in CO2 incubator.

- Ongoing Media Fill w/ Finger Tip test – Label and incubate at room temperature.

- Monthly Surface samples – Label paddle with either label and incubate at 35C in CO2 incubator.

Reading and Reporting Culture:

- Any colony growth shall be quantified and have a basic identification based on Gram Stain and spot biochemical testing such as Staphylococcus Coagulase Negative, Diptheroids, Bacillus sp., GNR, Pseudomonas Sp. Etc.

- Examine media daily for growth and update culture accordingly

- Save media with growth for Pharmacy

- Print Final reports and place in Pharmacy folder

Initial x3 Finger Tip test – Incubate 2 CHOC plates in Co2 incubator for 48 hours then room temperature for 5 days.

At 24 hours incubation inspect for growth. Issue Prelim

~“Right Hand: No Growth to date”

~“Left Hand: No Growth to date”

After 48 Hours incubate 2 CHOC plates at room temperature for 5 additional days.

After 7 days issue Final

“Right Hand: No Growth at 7 Days”

“Left Hand: No Growth at 7 Days”

Ongoing Media Fill w/ Finger Tip test – Incubate 2 CHOC plates and TSB at room temperature for 7 days then in Co2 incubator for additional 7 days.

At 24 hours incubation inspect for growth. Issue Prelim

~“Right Hand: No Growth to date”

~“Left Hand: No Growth to date”

~“Media Fill: No Growth to date”

After 7 days incubate 2 CHOC and TSB in Co2 incubator for additional 7 days.

After 14 days issue Final

“Right Hand: No Growth at 14 Days”

“Left Hand: No Growth at 14 Days”

“Media Fill: No Growth at 14 Days”

Monthly Surface samples -Incubate in Co2 incubator for 48 hours then room temperature for 5 additional days.

At 24 hours incubation inspect for growth. Issue Prelim

~“Surface Sample: No Growth to date”

After 48 hours incubate Paddle at room temperature for 5 additional days.

After 7 days issue Final

“Surface Sample: No Growth at 7 days.”

If TSB becomes turbid issue Final

“Media Fill: Turbid- Growth Detected”

REFERENCES:

2016 The United States Pharmacopeial Convention. Nov. 2016 pg.59

© 2021 USPC - 797 PHARMACEUTICAL COMPOUNDING〈797〉—STERILE PREPARATIONS, 〈797〉 Pharmaceutical Compounding—Sterile Preparations. This proposal is based on the version of the chapter official as of May 1, 2020.

Current DocID: GUID-A4CAAA8B-6F02-4AB8-8628-09E102CBD703_6_