## TITLE:  Training of Laboratory Personnel

PRINCIPLE:  Training ensures that new and experienced personnel know their respective work processes and related procedures. Employee training focuses on the employee’s particular job, demonstration of the skills needed for the job, learning the work processes and procedures, and assessment through demonstration of competence. Training covers not only job tasks but includes quality, safety, computer systems and compliance.

Training is required:

- For newly hired, transferred, cross training or promoted personnel

- When technology or procedures change

- When an employee demonstrates repeated performance problems or unsuccessful performance on competency assessments.

Training Needs Identified:

- All phases of testing:  pre-analytical, analytical, and post analytical

- Procedures performed in each work process

- Rules and Safety that apply to work processes and procedures.

Training Materials:

- Procedure Manuals describe in detail how to perform the various testing protocols.

- Video Learning is sometimes provided by an instrument manufacturer to introduce their device and how it functions.

- Checklists are provided in each section of the laboratory. They provide a list of procedures that the trainer needs to demonstrate and review with the employee. The checklist serves as a means for recording the documents covered in the training, the training date, and the individual performing the training. The checklist is also used as a summary document of all processes and procedures covered in the training period and the initial competency assessment.

- Employees are encouraged to use a small notebook in which to take notes and record important information for future reference.

Trainers:  Our trainers are qualified to impart the knowledge and skills necessary for the job. They regularly work in the processes and perform the procedures in which they teach.  Attributes of a qualified trainer include:

- Accurate knowledge of the processes and procedures taught

- Desire to teach

- Good listening

- Good verbal skills

- Good observational skills

- Patience

- Objective

In some cases, a manufacturer representative will conduct training on the use and function of a piece of equipment or a new procedure. In these cases, we would use the train the trainer approach. Experienced lab personnel will be trained by the manufacturer and then be responsible for teaching other lab staff.

Staff Training:

Each new employee will have at least one checklist. As the items are taught and demonstrated they are signed off by the trainer. The checklists are maintained in the employee’s permanent file. In the case of any re-training, this additional material is also made part of the employee file.

Knowledge of Policies and Procedures:

The laboratory has a process to assure that employees are made aware of policy and procedure changes that affect the scope of their testing and job activities.

- All new hires read and sign off procedure manuals within the departments they are training.

- All new hires read and sign off on the laboratory general policy/procedure manual and safety manual.

- As policies and procedures are modified, they are electronically entered into the MedTraining Software (MTS training and competency). The new policy or procedure with the modifications is sent electronically to all appropriate staff. They are notified via email, log in, download the procedure, read it, and electronically sign off.

STEPWISE PROCEDURE:  TRAINING

.

- Employee training methods include the following as a minimum:

- Reading the procedure(s) and review the checklist.

- Observed demonstration of the procedure by a qualified trainer.

- Practice of the procedure, under observation of a qualified trainer.

- Assessment of test performance through proficiency samples, blind testing of specimens or testing of previously analyzed samples.

- The checklist is signed off by the trainee and trainer once the employee has demonstrated competency. The designated trainer or qualified person meeting CLIA requirements will assess the trainee for competence and sign off that the employee is fit to perform the job requirements to ensure quality testing.

- The trainee and trainer will review what was accomplished and set a plan for the next training day.

- Documentation

- New employees may have multiple training checklists reviewed and signed off by the Clinical Laboratory Technical Specialist/Lead Phlebotomist in each respective department/area once the trainee and trainer feel confident in the new skill.

- Checklists for employees performing high complexity testing are signed off by an individual meeting the requirements of technical supervisor.

- Maintain paper checklists in the laboratory.

- Store electronic copies of checklists during the first 90 days in HR

- When re-training is necessary, additional documentation is included in the employee file.

- Establish dates for 6 month and 12-month competency.

- Verification Tools

- Direct observation of patient testing, including patient identification and preparation; specimen collection and sample processing.

- Monitoring the recording and reporting of test results, including critical test result reporting and documentation.

- Review of results, quality control records, proficiency testing results and preventative maintenance records.

- Direct observation of performing instrument maintenance and necessary system/function checks.

- Assessment of test performance through proficiency samples, blind testing of specimens or testing of previously analyzed samples.

- Evaluate Critical Thinking Skills.

- Retraining

- If an employee fails to demonstrate satisfactory performance on the competency assessment, the employee will be re-educated and allowed to retake the portion of the assessment in question.

- If, after re-education and training, the employee is unable to satisfactorily pass the assessments, the individual will not be able to perform the work in question without supervision. The employee will be placed on a performance improvement plan (PIP) and HR informed.

- Retraining and reassessment of employee competency may also occur when problems are identified with employee’s performance. This process is part of the laboratory Quality Management Program and identified by Quality Assurance/Improvement form which is designed to assesses how the error occurred and what next steps.

- Errors

- When an analytical error is discovered, the process is analyzed to determine:

- Procedure was followed, but an error occurred.

- Procedure was not followed, and an error occurred.

- Unable to determine if the procedure was followed or not, and an error occurred.

- Upon error discovery, document the action taken:

- No action taken

- Discuss procedure with employee

- Procedure modified, if necessary.

- Employee must re-read the procedure and discuss to clarify.

- Employee must observe another trained employee.

- Employee must practice procedure with known specimens.

- Employee must correctly retest same specimen.

- Review problem with Clinical Laboratory Technical Specialist/Lead phlebotomist.

- Repeat original or similar exercise.

- Formal retraining instituted along with a performance improvement plan.

- Progressive discipline initiated.

- Failure to achieve competency

- The lead phlebotomist, Clinical Laboratory Technical Specialist in the department where competency is in question will meet with lab administration and the employee to draft an action plan.

- The staff member is told they will not be performing the testing in question, or if more extensive, will not be scheduled in that department.

- Action plan will have a reassessment date.

- Upon successful completion of the test/task, the action plan, training checklist the competency form will document successful completion of retraining.

REFERENCES:

- Training Verification for Laboratory Personnel:  Approved Guideline, GP21-A, Vol. 15 No. 21 NCCLS.

- ASCP Computerized Ongoing Monitoring Program to Evaluate Competency