## TITLE:  Molecular Microbiology Quality Management Statistics

### PRINCIPLE:

For quality management purposes, percentages of results that are positive shall be monitored for the Genexpert and Biofire molecular systems. Any unexplainable major increases or decreases in positivity rates may signify an increase in false positives or false negatives and must be promptly investigated.

PERSONEL:

Medical Technologists

PROCEDURE:

Monthly positivity data will be tabulated and reviewed by the Senior Medical Technologist. The chart reporting table will allow easy comparison of previous values and any significant increase or decrease in positivity rates require prompt investigation and corrective action if indicated.

Unexpected increases in positive results not attributable to seasonal variation or physician complaints of false positive results will be reviewed with the Laboratory Medical Director and the Laboratory Director. Investigation will include review of testing personnel for possible technique issues. Wipe testing of sample processing areas may be performed to rule out potential sources of environmental contamination.

REFERENCES:

College of American Pathologists, CAP Accreditation Program. Standard MIC.63252