| Prepared by: | Nancy J. Konopka, MS, MT(ASCP) |
| --- | --- |
| Supervisor Approval: |  |
| Administrative Director Approval: |  |
| Medical Director Approval: | I have reviewed this document and approve it for use. |
|  | . |

PURPOSE:

This procedure provides instructions for the preparation, staining and examination of Wright-Giemsa stained blood smears for the detection of blood parasites including, but not limited to: Plasmodium, Babesia, and Trypanosoma species, Leishmania donovani, and microfilariae. can be seen using Wright's-Giemsa stain.  In the presence of blood parasites, slides are referred to a reference laboratory for speciation.

PRINCIPLE: Depending on the life cycle stage, a number of parasites may be recovered from a blood specimen. The parasites can be seen using Wright's-Giemsa stain. The morphologic characteristics are best observed in thin films. Thick films allow a larger amount of blood to be examined, increasing the possibility of detecting light infections.

REAGENTS/SUPPLIES:

Microscope slides

Wright's-Giemsa stain

Phosphate buffer (ph ~6.8)

Automated stainer or slidemaker-stainer

Microscope

Plastic transfer pipettes

Coplin jar

SPECIMEN/SPECIMEN COLLECTION:

EDTA anticoagulated venous or capillary blood is the specimen of choice.

PROCEDURE:

QUALITY CONTROL:

The stain quality of the slide-maker stainer (SMS) and stand-alone automated stainer (AS) are monitored and documented daily as per HEM 1406P (SMS) and HEM 5530P (AS).

SAMPLE PREPARATION

| Step |  |
| --- | --- |
| 1 | Thin smear preparation Prepare several thin smears as soon as possible after specimen collection, according to the Preparation and Examination of Peripheral Smears procedure. |
| 2 3 | Thick smear preparation - Prepare four thick smears by placing two or three drops of blood on each of four glass slides. - Using the pipette tip, spread the blood on each slide in a circle over an area approximately two centimeters in diameter. - Allow drying at room temperature for 8 to 12 hours. - Place the slides in a Coplin jar and wash under cold tap water for three to five minutes to lyse RBCs. Parasites should remain adhered to the slide. Slide staining- all smears Use an automated stainer to stain thick and thin smears with Wright-Giemsa stain. |
| 4 | Examination of thick smear - Examine the thick smear for the presence of blood parasites at 1000X total magnification. Review at least 300 fields. - Record observations on Blood Parasite worksheet. - The ghosts of RBC's near the margins of the thick smear are often intact so that cell/parasite relationships (including granules and stippling) are maintained. - If parasites are noted proceed to examine the thin smear for parasite identification. - If NO parasites are noted, proceed to examine the thin smear for parasite the possible presence of parasites. |
| 5 | Examination of thin smear - Examine the thin smear for the presence of blood parasites at 1000X total magnification. Review at least 300 fields. - Parasites tend to be concentrated near the feathered edge and along the margins of the thin smear as a result of the spreading process. - Using available textbooks for reference, identify parasites by genus. It is not necessary to speciate parasites. - Record observations on Blood Parasite worksheet. |
| 7 | Pathologist review/reference laboratory confirmatory identification - After examination, refer all slides to a pathologist for review regardless of presence or absence of parasites. - In the presence of blood parasites, refer specimen and/or slides to a reference laboratory for speciation. |

SAMPLE TESTING/RESULTS REVIEW and REPORTING

| Step |  |
| --- | --- |
| 1 | Report results in LIS computer system according to standard procedure. - If no parasites are seen, report: NO ORGANISMS SEEN. - If parasitic forms are present, choose the best description using F<9> lookup. NOTE: Use “OTHER” with a detailed result comment explaining when other organisms are present such as Babesia, Trypanosoma, Leishmania, etc. - Indicate pathologist review using a specimen/result comment - Presence of blood parasites is considered an alert value. Notify the physician immediately per the Critical Value documentation procedure. |

METHOD LIMITATIONS

The absence of parasites in one set of blood slides does not rule out a parasitic infection.

REFERENCES

Diagnostic Medical Parasitology.  Garcia, L. and Buckner, D.  ASM Press. Los Angeles, CA. 1997

Clinical Microbiology Procedures Handbook, Volume II.  ASM Press. Washington, DC.  1992.

Document History

| Date of Origination and Document Control Number | 6/2003 HEM 5060.0 P | Janelle Walter, MT(ASCP) |
| --- | --- | --- |
| Revision History/ Biannual Review: | 8/21/16 HEM 5060.1 P | % parasitemia step added Nancy J. Konopka/Tracy McCartney |
| Revision History/ Biannual Review: | 7/19/17 HEM 5060.2 P | % parasitemia step removed Nancy J. Konopka/Tracy McCartney |
| Revision History/ Biannual Review: |  |  |
| Revision History/ Biannual Review: |  |  |
| Revision History/ Biannual Review: |  |  |