UPMC Pinnacle Hanover Laboratory

PROFICIENCY TESTING DISCREPANCY DOCUMENTATION

Year:  _2023_____				Survey ID:  __D-C  2023____

Date of Original Survey Evaluation:  ___11/28/2023__________

Date Report Received:  	________12/11/23_____________

Follow-Up Referred to:	_Sherilyn Solanick               _

Discrepancies:

| Analyte/ Specimen | Reported Result | Intended Response | Repeat Result | Date of Repeat |
| --- | --- | --- | --- | --- |
| D-17 | S. aureus | *see below |  |  |
|  | A. lwoffi |  |  |  |
|  | P.asaccharolyticus |  |  |  |

Investigation and Reason for Discrepancy:

D-17: reported an additional, unintended organism (Acinetobacter Iwoffii) in addition

to the two correct and intended organisms.

Follow-up & Comments:

Review of the work up notes one colony of A. lwoffi appeared on chocolate plate after the second subculture on 10/13. There were multiple instances of subculturing. Contaminants were considered on 10/16 but attempts at ID continued. Culture was set up on the second CAP specimen and the A. lwoffi was not isolated. Follow up with staff regarding awareness of contaminants as an MTS education piece.

________________________/_______	________________________/_______

Supervisor Response/Date		     Medical Director Review/Date

File with evaluation results and participant summary report in the CAP report binders.