PLEASE READ CAREFULLY:

- If you are employed by or if you perform Provider Performed Microscopy (PPM) testing at a McLaren Healthcare Practice you must complete this Lab Quiz. Indicate if you do not perform.

- The College of American Pathologists, Joint Accreditation and CMS require that this Lab Quiz be taken semiannually at hire and yearly thereafter, to perform these tests.

- Read each procedure for the test you will be performing.  Procedures are currently located on the MGL Intranet and in each PPM Clinic CLIA Binder located in the clinic laboratory.  A copy of the PPM procedures can be obtained by contacting the POC Test Manager for McLaren. (diane.hagerman@mclaren.org)

- McLaren Intranet: (McLaren Greater Lansing>Policies and Procedures>Clinical Lab>Point of Care-Offsite Procedures)

## Clinical Laboratory Point of Care

## COMPETENCY QUIZ FOR PHYSICIAN PERFORMED LABORATORY TESTING

# Physician Performed Stool Occult Blood Test Quiz I do not perform this test Please answer the following questions or check above that you do not perform this test. 1. True False The occult blood testing slides may only be used for stool. 2. True False The control area should be developed after the patient sample is read to avoid confusion. 3. True False One drop of developer must be placed on the POS/NEG control area with each test. 4. True False This test is read visually requiring color differentiation; it should not be interpreted by color impaired personnel. 5. True False I have read and understand the procedure for performing this test.

# Physician Performed Ferning Test Quiz I do not perform this test Please answer the following questions or check above that you do not perform this test. 1. True False A Fern Test detects the leakage of amniotic fluid from the membranes surrounding the fetus during pregnancy. 2. True False “Fern” patterned crystals on a microscope slide indicates the presence of amniotic fluid and is reported as positive. 3. True False Heat fixing the slide can be performed to shorten the drying time. 4. True False Do not use lubricant or antiseptic when collecting a Fern Test as these may interfere with test results. 5. True False I have read and understand the procedure for performing this test.

##### Physician Performed Wet Mounts Test Quiz I do not perform this test Please answer the following questions or check above that you do not perform this test. 1. True False This is testing for the presence of Yeast, Clue cells and Trichomonas vaginalis. 2. True False To be considered a clue cell, the squamous epithelial cells must have their entire surface border covered small rod shaped bacteria, giving it a fuzzy or shaggy appearance. 3. True False As long as the provider collects the sample, the Medical Assistant can set up and perform microscopic testing. 4. True False Yeast and red cells are similar in size and appearance, but yeast appear more refractile. # 5. True False I have read and understand the procedure for performing this test.

##### Physician Performed KOH Preps Test Quiz I do not perform this test Please answer the following questions or check above that you do not perform this test. 1. True False KOH is used to detect the presence of bacteria. 2. True False KOH will dissolve squamous cells and lyses red blood cells allowing the distinguish between yeast and RBCs. 3. True False 10% KOH is a strong alkali used to digest cellular elements and other contaminants that would otherwise obscure the presence of fungal elements (e.g. pseudohyphae and yeast). 4. True False When completing the test, leave the microscope light on and scope uncovered. 5. True False I have read and understand the procedure for performing this test.

physician performed urine microscopic quiz I do not perform this test Please answer the following questions or check above that you do not perform this test. 1. True False Epithelial cells, casts and crystals are examined on low power. 2. True False Specimen not obtained by “clean catch” method may contain elements from sources other than the urinary tract. 3. True False A positive leukoesterase, nitrite, bacteria, yeast, or >10 WBC’s are suggestive criteria for a culture. 4. True False When excessive numbers of formed elements are noted, causing quantitation to be difficult or questionable, it should be noted on the report. 5. True False I have read and understand the procedure for performing this test.

##### Physician’s Signature: _____________________________________________________	Date: _________________________

##### Physician’s Printed Name: ___________________________________________________________________________________

# ~ Administrative Use Only ~

# ________________Received for review by offsite Point of Care Coordinator and filed

# ________________Copy of test returned to Physician Practice for review and retention

##### Lab Quiz Reviewed by: _________________________________________________	 	Date: _________________________

Revised:  10/29/18