# VENTURA COUNTY MEDICAL CENTER

# SANTA PAULA HOSPITAL

#### Associated with the UCLA School of Medicine

| PROCEDURE: INDIA INK PREP |  | POLICY NO: Micro 5.6 | PAGE 1 OF 2 |
| --- | --- | --- | --- |
| DEPARTMENT: General Laboratory AFFECTS: Microbiology | EFFECTIVE DATE: 6/12/2006 | REVIEW DATES: 10/2007, 12/2008, 7/2009, 11/2010, 10/2011, 12/2013, 7/2015, 12/2015 |  |
|  |  | REVISION DATES: 12/2006 |  |
| INDIA INK PREP PRINCIPLE - Capsular material is exhibited by the appearance of a clear, well demarcated halo around a yeast cell. When seen in CSF, it is suggestive of cryptococcal cells; but identification must be confirmed by culture and biochemical testing of the isolate. - Other species and other genera also produce capsules. - The capsules of Cryptococci vary from 2-10 mcm or more in width; they tend to be small in specimens from immune-deficient patients. - Leukocytes may also appear haloed, but the halo has a fuzzy, irregular appearance at the periphery, and the cell within the halo has a much paler cell wall than does Cryptococcus neoformans. - Cryptococci often lose their ability to produce capsules when grown on artificial media. - The stain is suitable to use on specimens of body fluids, CSF, and urine. MATERIALS REQUIRED - Glass microscope slide - 22 x 22 mm glass coverslip - Sterile transfer pipette - India Ink droppers (BD) QUALITY CONTROL - Commercial QC (one positive and one negative control) - May use assayed known samples from Cap Surveys. - Frequency: With each use - Test as per patient samples PROCEDURE - Slide Preparation - Place a small drop of India ink on a glass slide. - Mix with an equal amount of centrifuged (2,000 x g for 10 min) spinal fluid sediment or a suspension of isolated yeast. Sputum or pus can be cleared with KOH and heat and then mixed with India ink. - Coverslip, and examine the slide for yeast cells with capsules. If the preparation is too dark, add a drop of sterile water on one side of the coverslip and draw across by applying blotting paper to the other side of the coverslip, forming an ink gradient. NOTE: Cryptococcal cells can be differentiated from white blood cells present in CSF by the presence of a halo and by budding in some of the yeast cells. Care must be exercised, as some strains of cryptococci can be non-encapsulated; therefore, it is important to ensure that the yeast cell is in focus when interpreting the presence or absence of a capsule. RESULTS - Reporting - If no yeast with capsules are seen, report: “No encapsulated cryptococcal-like yeast cells seen. NOTE: India ink method is less sensitive than antigen testing for the diagnosis of cryptococcal meningitis.” - If yeast with capsules are seen, report: “Encapsulated cryptococcal-like yeast cells seen.” REFERENCES - Larone, Davise, Medically Important Fungi, 4th edition, ASM Press, Washington, D.C., 2002, page 299. - Isenberg, Henry D. et al, Clinical Microbiology Procedures Handbook, 2nd edition, ASM, Washington, D.C., 2004, page 8.3.3. - Product Insert, BD India Ink Droppers, L001203, 2003/07. |  |  |  |