## Slide 1: EUCAST and CLSI
05/12/2016

## Slide 2: Website: www.eucast.org

## Slide 4: EUCAST
Formed in 1996 and revamped in 2001
EUCAST Laboratory Network
National Antimicrobial Susceptibilty Testing Committees (NACs)
Clinical Breakpoints and Epidemiological Cut Off (ECOFF)
Epidemiological Cut Off (ECOFF) use
  As a tool in the determination of clinical breakpoint
  For sensitive detection of resistance
  For surveillance of Antimicrobial resistance
Clinical breakpoints
  S ≤ Y mg/L
  R > Y mg/L
  Note:
    “-” DO NOT TEST
    “IE” Insufficient evidence

## Slide 5: EUCAST
Tools for determining breakpoints
  Dose & mode of administration
  Clinical targets
  Target organisms
  MIC distributions of target organisms
  Resistance mechanisms of clinical importance in target organism
  Pharmacokinetics of agent in target
  Pharmacodynamics of agent in relation to target organism
  Clinical outcome data for target infection

## Slide 6: EUCAST
Susceptible (S)
  a micro-organism is defined as susceptible by a level of antimicrobial activity associated with a high likelihood of therapeutic success
Intermediate (I)
  a micro-organism is defined as intermediate by a level of antimicrobial agent activity associated with uncertain therapeutic effect.
Resistant (R)
  ·a micro-organism is defined as resistant by a level of antimicrobial activity associated with a high likelihood of therapeutic failure.

## Slide 7: EUCAST
Breakpoints are determined by
  Medicines agents
  Committees (ESCMID & ECDC)
Bacteria without breakpoints
  Aerococcus species (A. sanguinicola and urinae) in consultation for Version 7 2017
  Kingella kingae – in consultation for Version 7 2017
  Mycobacterium tuberculosis
  Actinomyces
  Nocardia
Antibiotics without breakpoints
  Spiramycin
  Josamycin
  Cefoperozone-sulbactam

## Slide 8: EUCAST VS CLSI
EUCAST | CLSI
Can ask for breakpoints | 
Antibiotics Cefazolin – NO Cefalexin – Yes for UTI | Antibiotics: Cefazolin - Yes for UTI only Cefalexin – NO
Disk strength: Ampicillin 2µg Aug 2-1µg Piptaz 30-6µg Ceftriaxone 5µg Ceftazidime 10µg Nit 100µg E. faecalis | Disk strength: Ampicillin10µg Aug 20-10µg Piptaz 100-10µg Ceftriaxone 30µg Ceftazidime 30µg Nit 300µg E. faecium
MIC testing: Fixed concentration of 2 mg/L | MIC testing: 2:1 ratio
Breakpoints: MIC: S ≤ 1mg/L, R >2mg/L Zone: S ≥ 21mm, R < 18mm Generally higher to avoid wild types | Breakpoints: MIC: S ≤ 1mg/L, R >4mg/L Zone: S ≥ 21mm, R ≤ 18mm

## Slide 9: EUCAST VS CLSI
EUCAST | CLSI
Media: MH agar – Enterobactericeae, Pseud, Staph & Enterococcus MH-F agar – Fastidious organism | Media: MH agar MH with SB
Incubation Time: 16-20 hrs @ 35±1˚C for all organisms MH in O2 MH-F in CO2 | Incubation Time: 16-18 hrs or 20-24 hrs MH in O2 MH-SB in CO2
QC strains: Different | QC strains: Different
Use “QC tables” on website to compare between EUCAST and CLSI

## Slide 10: EUCAST
The 15-15-15 rule
  Use inoculum within 15 mins, apply disks within 15 mins, incubate within 15 mins.
  Always complete within 60 mins.
Reading zones
  MH agar – read zones from back of plate against dark background with illuminated light
  MH-F – read zones by removing lid and read from front of plate
  Read with unaided eye held at 30cm from eye

## Slide 11: Enterococcus
  Enterococcus & Vancomycin
    Examine with plate held up to light
    Fuzzy zone = Report Vanc as Resistant
    If fuzzy zone and ≥ 12mm zone size = may need to investigate further
  Enterococcus in urine:
    E. faecalis – Nitrofurantoin 100µg
    E. faecium – Nitrofurantoin 300µg

## Slide 12: Enterobacteriaceae
Enterobacteriaceae and Fosfomycin
  Fosfomycin is only validated for E. coli
  Ignore isolated colonies within the inhibition zone and read the outer zone edge

## Slide 13: Proteus species
Ignore swarming when reading inhibition zone diameters

## Slide 14: Staphylococcus aureus
  S. aureus & Benzylpenicillin
    Examine with plate held up to light
    Fuzzy edge zone ≥ 26mm = Susceptible
    Sharp edge zone ≥ 26mm = Resistant

## Slide 15: Stenotrophomonas maltophilia
  S. maltophilia & Cotrimoxazole
    Ignore growth within the zone
    S ≥ 16mm
    R = no sign of inhibition
    **These are for when zone sizes are greater than the Breakpoints**

## Slide 16: Streptococcus species
For haemolytic organisms, read inhibition of growth and NOT inhibition of haemolysis
Β-haemolysis is usually free from growth whereas there is often growth within areas of α-haemolysis
To better differentiate between haemolysis and growth, tilt the plate back and forth and measure the zone diameters

## Slide 18: Bacteriostatic
EUCAST: Read inhibition zone where NO growth occurs or as per guidelines
CLSI: Read inhibition zone at 80% of growth

## Slide 19: Kestral
There will be a few antibiotics disc with different concentrations. E.g.
  Pen1 and Pen10
  Amp2 and Amp10
  Aug3 and Aug30
  Nit100 and Nit300
Be careful when reading
Always extrapolate when there is a number at the end of the antibiotic name.
Don’t release the ones with the numbers at the end.