Bridgeport Hospital Lab Safety Committee

August 2022 MINUTES

| Date: 8/17/2022 Time: 11:00 Location: Zoom |  |  |  |  |
| --- | --- | --- | --- | --- |
| ATTENDANCE |  |  |  |  |
| Kathy C; Catherine E.; Jocelyn C.. Cindy R; Will J. Aziza E; Lisa K. Mario V; JR. |
| Agenda Item | Discussion |  |  |  |
| Injuries | 2 injuries-one fall resulting in minor injury and one blood exposure due to improperly sealed Blood unit segment. The tech was not wearing face protection. |  |  |  |
| Fire drill observations | List needs to be updated-CP needs to add and delete employees/ One stop testing needs to be done-Kathy will do the observations |  |  |  |
| PPE | Lab coats vs blue gowns- some employees do not like the Blue gowns due to length of gowns and overheating. It was decided to do a survey and have employees vote. Techs will have the option to wear fluid resistant lab coats or blue gowns but everyone must wear proper PPE at the bench. |  |  |  |
| Noise monitor | Everyone has completed noise monitoring. The only issue that was discovered were the TUG alerts. will see about turning down the volume. |  |  |  |
| Spill kits | All spill kits at BH have been inventoried and evaluated for effectiveness. MC need to complete their inventory. |  |  |  |
| Chemical inventory | Update Chemical inventory and let Laura know for media lab: Update with reagents from new instrumentation and removal of reagents from retired tests/instruments. Please document that it was updated at the bottom of the list. |  |  |  |
| Cutting Gloves for Micro | Micro is looking into cutting gloves to use when they need to cut tissue. The gloves in histology are too large and cumbersome. Micro is looking into alternatives. |  |  |  |
| Safety issues | No Concerns |  |  |  |
|  | Future Meetings |  |  |  |
| Date/Time 9/21/2022 |  | Event Safety Meeting |  | Location Zoom |