MILFORD CAMPUS – BRIDGEPORT HOSPITAL

TRAINING CHECKLIST

USE OF SAMPLE CUPS AND SHORT-SAMPLE CUPS ON ExL

1. Use only yellow or orange racks when using a short sample cup (SSC) or a sample cup.
2. The ExL defaults to SSC with the yellow and orange racks. If you use a sample cup, be sure to change the container type to “sample cup”.
3. Do not use the black racks for SSC or SC, as there is a greater chance of a probe crash.
4. Make sample dilutions only in sample cups, not SSCs.

I have read and understood the above training and will follow the procedure.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_