## Slide 1: BRIDGEPORT HOSPITAL (BC & MC)
ANATOMIC PATHOLOGY
QUALITY ASSURANCE MEETING
February 16, 2023
for the Month of January 2023

## Slide 2: OLD BUSINESS
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\January 19, 2023\minute meeting for month of November.docx

## Slide 3: BC & MC AP VOLUME( October 22- January 23)
Chart: Categories
| CASES | BLOCKS | SLIDES
October | 1855 | 7340 | 15141
November | 1831 | 7735 | 14268
December | 1892 | 7623 | 14435
January | 1814 | 7643 | 14795

## Slide 4: BRIDGEPORT CAMPUS
Intraoperative Diagnosis vs. Final/ Amendments & Histology):
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 AGENDA & MEETING MINUTES\February 16, 2023\ANATOMIC QA February 16 2023.docx
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Consensus Conference Daily Log\January 2023 Consensus.pdf

## Slide 5: Milford Campus
JANUARY 2023

## Slide 6: January 2023 Frozen Stats
-Frozen: 2 - Parts that Meet Threshold: 1
-Blocks: 3
-Touch Preps: 0 -% of Parts that Meets Threshold 50% -Slides: 0 Adj. % of Parts that Meets Threshold: 83
-Cases: 1
Threshold of 20 min./ block – only one case met the 20 minutes threshold
Number of discrepancies: 0
Chart: Frozen TAT 10/01/2021 to 12/31/2022
| October, 2022 | November, 2022 | December, 2022 | January, 2023
 | 0 | 100 | 100 | 50

## Slide 7: Routine Surgical Biopsies TAT Within 2 Days
70 % Benchmark
Chart: MONTHS
| 44592 | 44609 | 44648 | 44681 | 44682 | 44713 | 44743 | 44793 | 44824 | 44854 | 44885 | 44917 | 44947
 | 91 | 116 | 155 | 132 | 134 | 148 | 134 | 129 | 135 | 143 | 131 | 128 | 139
 | 0.8461 | 0.8534 | 0.935 | 0.9237 | 0.9179 | 0.92 | 0.963 | 0.938 | 0.8667 | 0.95 | 0.9084 | 0.977 | 0.92
 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7

## Slide 8: Non-Gyn Case Volume & TAT ≤ 5 Days
Chart: MONTHS
| 44489 | 44520 | 44550 | 44581 | 44612 | 44640 | 44671 | 44701 | 44732 | 44762 | 44793 | 44825 | 44855 | 44886 | 44896 | 44947
 | 4 | 6 | 2 | 6 | 8 | 2 | 7 | 3 | 6 | 0 | 6 | 8 | 1 | 5 | 3 | 9
 | 1 | 0.7 | 0.8 | 0.83 | 0.88 | 1 | 0.86 | 0.33 | 0.5 | 0 | 0.3333 | 0.625 | 1 | 1 | 1 | 1
 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9

## Slide 9: Frozen Section TAT 100% <20 minutes (single block cases)
Chart: 
| 44582 | 44613 | 44641 | 44672 | 44702 | 44733 | 44763 | 44794 | 44825 | 44855 | 44886 | 44916 | 44947
BC | 0.45 | 0.68 | 0.73 | 0.63 | 0.7 | 0.84 | 0.82 | 0.68 | 0.71 | 0.55 | 0.54 | 0.84 | 0.77
MC | 1 | 0.67 | 1 | 0.25 | 0.33 | 0 | 1 | 1 | 0.55

## Slide 10: Floaters

## Slide 11: Floaters by Month 12/31/2022-01/31/2023
Chart: 
| 44592 | 44620 | 44651 | 44681 | 44712 | 44742 | 44772 | 44803 | 44834 | 44865 | 44887 | 44916 | 44947
Benign | 5 | 1 | 3 | 2 | 3 | 4 | 2 | 2 | 2 | 2 | 2 | 6 | 2
Malignant | 1 | 1 | 1 | 2 | 1
Column1
Benign
Malignant
3 of 1814 cases (0.165%)
3 of 7643 blocks (0.039%)
3 of 14795 slides (0.020%)

## Slide 12: Type of Floater & Site of Contamination December
TISSUE | TISSUE | MAIL | MALIGNANT | PHOTO | ON | PROX | FLOATER | SAME CASE | DIFFERENT CASE
PATIENT | FLOATER | EMAIL |  | EMAIL | LEVELS | REP | ORIGIN |  | 
Rectum | Stomach | No | No | No | Yes | Yes | Grossing/embedding | Yes | No
Endocervical bx | Pancreas | No | No | No | No | Yes | Waterbath | No | Yes
Endometrium | Endometrium | No | No | No | No | Yes | Waterbath | Yes | No
Fallopian tube | Hilar cells | No | No | No | Yes | Yes | Prelab | Yes | No
Hymen | Breast | No | No | No | No | Yes | Waterbath | No | Yes
Breast | Breast | Yes | Yes | Yes | Yes | Yes | Embedding | No | Yes
Lymph Node | Breast | Yes | Yes | Yes | Yes | Yes | Embedding | No | Yes

## Slide 13: Type of Floater & Site of Contamination January 2023
TISSUE | TISSUE | MAIL | MALIGNANT | PHOTO | ON | PROX | FLOATER | SAME CASE | DIFFERENT CASE
PATIENT | FLOATER | EMAIL |  | EMAIL | LEVELS | REP | ORIGIN |  | 
Bone | Colon | No | No | No | Yes | Yes | Embedding | No | Yes
Lymph node | Gastric | No | No | No | Yes | Yes | Grossing | No | Yes
Prostate | Bladder tumor | Yes | Yes | Yes | Yes | Yes | Embedding | No | Yes

## Slide 14: Tissue Found in Processor

## Slide 15: Tissue Found in Histosmate

## Slide 16: Tissue Found Processor

## Slide 17: 69 CONTAMINANTS IN BLOCKS (01/01/2020- 01/31/2023)
Chart: 
| SAME CASE | DIFFERENT CASE | PRELAB
In Block | 17 | 35 | 17
% | 0.85 | 1.75 | 0.85

## Slide 18: Step Where Contamination Occurred
Chart: Month
| 44582 | 44613 | 44641 | 44672 | 44702 | 44733 | 44763 | 44794 | 44825 | 44855 | 44886 | 44916 | 44947
Pre-analytical (during procedure) | 1 | 1 | 1 | 2 | 1 | 1 | 1
Grossing | 3 | 2 | 1 | 1
Indeterminant Grossing vs Embedding | 2 | 1 | 2 | 1
Embedding | 1 | 2 | 2
Microtomy | 1 | 4 | 1 | 1 | 3

## Slide 19: H&E Performance Log
P:\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Quality of Slide Performance\January 2023 Daily Slide Quality.pdf

## Slide 20: Tissue Processor Verification
P:\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Tissue processor verification and monthly data logs\January 2023 Tissue processor verification and monthly data logs.pdf

## Slide 21: Internal audits : 5/ Month
P:\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 5 audit cases monthly\January 2023 audit cases.pdf

## Slide 22: Challenges and Opportunities for Improvement Anatomic Pathology (Before Final Dx)
  January 2023

## Slide 23: Histology Processing Issues
Chart: November 2022 - January 2023
| Accessioning: collection date, name mismatch, patient mismatch | Shipping: no manifest, no tape, missing samples | Grossing procedure: Error | Embedding procedure: Error | Microtomy procedure: Error | Staining procedure: Error | Recut procedure: Mislabeled, collection error | IHC procedure: Error | Special Staining procedure: Error | Slide Verification procedure: Error | Processing procedure: Error | Miscellaneous
Nov-22 | 4 | 0 | 0 | 0 | 2 | 1 | 0 | 6 | 5 | 0 | 0 | 0
Dec-22 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 1 | 0 | 0 | 2
Jan-23 | 9 | 0 | 1 | 4 | 0 | 0 | 0 | 7 | 1 | 0 | 0 | 0

## Slide 24: Histology Processing Issues
Chart: January 2021 - January 2023
| 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927
 | 0.002381 | 0.011017 | 0.036745 | 0.029345 | 0.055066 | 0.0765 | 0.078575 | 0.0146 | 0.0206 | 0.00937 | 0.0123 | 0.0244 | 0.01338 | 0.0168 | 0.016144 | 0.0046 | 0.0248 | 0.00934 | 0.00521 | 0.00627 | 0.0138 | 0.00755 | 0.00983 | 0.0074 | 0.01213

## Slide 25: CYTOLOGY SPECIMENS
SENT TO YSM FOR PROCESSING

## Slide 26
Chart: GYN Turn Around Time and Volume
| October '22 | November '22 | December '22 | January '23
GYN Volume | 121 | 157 | 148 | 130
GYN TAT | 6.03 | 3.9 | 4.13 | 4.55
GYN Goal <7 days | 7 | 7 | 7 | 7

## Slide 27
Chart: NON-GYN Turn Around Time and Volume
| October '22 | November '22 | December '22 | January '23
Non GYN Volume | 270 | 267 | 247 | 273
Non GYN TAT | 3.07 | 3.31 | 3.04 | 2.27
Non GYN Goal < 4 days | 4 | 4 | 4 | 4

## Slide 28
Chart: CYTOLOGY MISSED OPPORTUNITY RATE TO VOLUME
| 44593 | 44621 | 44673 | 44682 | 44713 | 44743 | 44774 | 44805 | 44856 | 44866 | 44896 | 44927
MISSED OPPORTUNITY RATE | 0.0083333 | 0.017978 | 0.0275 | 0.0087146 | 0.0067265 | 0.0054348 | 0.024887 | 0.03 | 0.035629 | 0.026846 | 0.028169 | 0.026379
COMBINED VOLUME | 360 | 445 | 400 | 459 | 446 | 368 | 442 | 400 | 421 | 447 | 426 | 417
Notes: Combined volume for May 459. Error rate is 0.22%

## Slide 29
Notes: The NON GYN TAT is due to staffing issues at YSM, extended leaves, vacations, and cross training in processing. May impact June.
We are up to date on QC review, April and May are with Dr. Cohen. We’ve had no discrepancies.

## Slide 30: Competency Checklist
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\COMPETENCY LOG TO UPDATE MONTHLY\Monthly Competency.xlsx

## Slide 31: Reports:
Policy and Procedures for signature Review (ongoing)
Ongoing...
PM for all other equipment
\\Ynhh.org\src\BH - Laboratory\AP\Maintenance & Service Reports\Current Instrument List.xlsx
Significant issues
  Summary of the Anatomic Pathology Quality Assurance meeting will be presented at Quality Council and Professional and Quality Committee of the Board, and at every full Board meeting, with a more in depth discussion of any significant issues (every six months).Confirm Minutes from Quality Council and Professional and Quality Committee of the Board – Laura Buhlmann.
The P&Q and Quality council- replaced by CRSQ
The exact wording from the AOC:
“A summary of the monthly AP QA meeting will be presented monthly at Quality Council and P&Q Committee of the Board and at every Board meeting with a more in depth discussion of any significant issues, for at least one year”.

## Slide 32: Non-Conforming Events
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\Irreplaceable Specimen Templates\IS Update for BH goals 2023 presentations\IS Update for BH goals month of February 2023.pptx

## Slide 33: New Business
RLs in January 2023
- RL#472564
Stones
Lab enhancement/renovation
- Plexi-glass work# 1136840
- Pathology Office Renovation
-SPOT cameras are ordered. (#233358)
- Microscopes PO# 30415485-PRO
Personnel Update
Pathology Candidate
Students (HTL, HT, PA)
Recognition
Re- assign the accessioning, embedding, grossing and floater policies to all AP staff.
The proximity report must be run and confirmed by two individuals
Come up with a safeguard when reporting detached fragments.