## Slide 1: BRIDGEPORT HOSPITAL (BC & MC)
ANATOMIC PATHOLOGY
QUALITY ASSURANCE MEETING
March 16, 2023
for the Month of February 2023

## Slide 2: OLD BUSINESS
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\January 19, 2023\minute meeting for month of November.docx

## Slide 3: BC & MC AP VOLUME( October 22- March)
Chart: 
| CASES | BLOCKS | SLIDES
October | 1855 | 7340 | 15141
November | 1831 | 7735 | 14268
December | 1892 | 7623 | 14435
January | 1814 | 7643 | 14795
February | 1890 | 7659 | 14909
March | 2043 | 8341 | 17662

## Slide 4: BRIDGEPORT CAMPUS
Intraoperative Diagnosis vs. Final/ Amendments & Histology):
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 AGENDA & MEETING MINUTES\March 12, 2023\ANATOMIC QA March 23 2023.docx
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Consensus Conference Daily Log\February 2023 Consensus.pdf

## Slide 5: Milford Campus
March

## Slide 6: Marh 2023 Frozen Stats
-Frozen: 3 - Parts that Meet Threshold: 3
-Blocks: 5
-Touch Preps: 0 -% of Parts that Meets Threshold 100% -Cases: 1
Threshold of 20 min./ block – only one case met the 20 minutes threshold
Number of discrepancies: 0
Chart: 
| October, 2022 | November, 2022 | December, 2022 | January, 2023 | Februry, 2023 | March, 2023
Total Blocks | 1 | 1 | 3 | 1 | 1 | 0
Percent | 0 | 1 | 1 | 0.5 | 1

## Slide 7: Routine Surgical Biopsies TAT Within 2 Days (FY23)
70 % Benchmark
Chart: MONTHS
| 143 | 131 | 128 | 139 | 133 | Oct-22 | Nov-22 | Dec-22 | Jan-23 | Feb-23
 | 143 | 131 | 128 | 139 | 133
 | 0.95 | 0.9084 | 0.977 | 0.92 | 0.7895
 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7

## Slide 8: Non-Gyn Case Volume & TAT ≤ 5 Days
Chart: MONTHS
| 44489 | 44520 | 44550 | 44581 | 44612 | 44640 | 44671 | 44701 | 44732 | 44762 | 44793 | 44825 | 44855 | 44886 | 44896 | 44947 | 44978
 | 4 | 6 | 2 | 6 | 8 | 2 | 7 | 3 | 6 | 0 | 6 | 8 | 1 | 5 | 3 | 9 | 2
 | 1 | 0.7 | 0.8 | 0.83 | 0.88 | 1 | 0.86 | 0.33 | 0.5 | 0 | 0.3333 | 0.625 | 1 | 1 | 1 | 1 | 1
 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9

## Slide 9: Contaminant/Floater/Extraneous
TISSUE

## Slide 10: Type of Floater & Site of Contamination January 2023
TISSUE | TISSUE | MAIL | MALIGNANT | PHOTO | ON | PROX | FLOATER | SAME CASE | DIFFERENT CASE
PATIENT | FLOATER | EMAIL |  | EMAIL | LEVELS | REP | ORIGIN |  | 
Bone | Colon | No | No | No | Yes | Yes | Embedding | No | Yes
Lymph node | Gastric | No | No | No | Yes | Yes | Grossing | No | Yes
Prostate | Bladder tumor | Yes | Yes | Yes | Yes | Yes | Embedding | No | Yes
NOT A CONTAMINANT

## Slide 11: Floaters by Month 2/28/2022-02/28/2023
Chart: 
| 44530 | 44561 | 44592 | 44620 | 44651 | 44681 | 44712 | 44742 | 44772 | 44803 | 44834 | 44865 | 44887 | 44916 | 44947 | 44985
Benign | 3 | 4 | 5 | 1 | 3 | 2 | 3 | 4 | 2 | 2 | 2 | 2 | 2 | 6 | 2 | 7
Malignant | 1 | 1 | 1 | 1 | 2
Column1
Benign
Malignant
7 of 1890 cases (0.37%)
7 of 7659 blocks (0.091%)
7 of 14909 slides (0.047%)
Benchmark: 1.5% of cases, 0.8% of blocks, 0.6% of slides. Gephardt GN, Zarbo RJ. Extraneous tissue in surgical pathology: a College of American Pathologists Q-Probes study of 275 laboratories. Arch Pathol Lab Med 1996 Nov; 120(11):1009-14.

## Slide 12: Type of Floater & Site of Contamination February 2023
TISSUE | TISSUE | MAIL | MALIGNANT | PHOTO | ON | PROX | FLOATER | SAME CASE | DIFFERENT CASE
PATIENT | FLOATER | EMAIL |  | EMAIL | LEVELS | REP | ORIGIN |  | 
Anal bx | Lymph Node | No | Yes | No | No | Yes | Microtomy | No | Yes
Endometrial bx | Colon Adenoma | No | No | No | No | Yes | Grossing | No | Yes
Esophagus | Epithelial cells | No | No | No | No | Yes | Microtomy | No | Yes
Esophagus | Small Bowel | No | No | No | Yes | Yes | Prelab | Yes | No
Toe | Placenta | No | No | No | Yes | Yes | Microtomy | No | Yes
Axillary Sentinal Lyph Node | Benign Epithelial Tissue | No | No | No | No | Yes | Emb/Tissue processor | No | Yes
Esophagus | Duodenum | No | No | No | No | Yes | Prelab | Yes | No

## Slide 13: Step Where Contamination Occurred
Chart: Month
| 44582 | 44613 | 44641 | 44672 | 44702 | 44733 | 44763 | 44794 | 44825 | 44855 | 44886 | 44916 | 44947 | 44985
Pre-analytical (during procedure) | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 2
Grossing | 3 | 2 | 1 | 1 | 1
Indeterminant Grossing vs Embedding | 2 | 1 | 2 | 1
Embedding | 1 | 1
Microtomy | 1 | 4 | 1 | 1 | 3 | 3
Indeterminant Embedding vs Tissue Processor | 1

## Slide 14: Tissue Found in Processor

## Slide 15: Tissue Found in Histosmate

## Slide 16: Tissue Found Processor

## Slide 17: Tissue Found Processor

## Slide 18: 72 CONTAMINANTS IN BLOCKS (01/01/2020- 01/31/2023)
Chart: 
| SAME CASE | DIFFERENT CASE | PRELAB
In Block | 17 | 36 | 19
% | 0.85 | 1.8 | 0.95

## Slide 19: H&E Performance Log
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Quality of Slide Performance\February 2023 Daily Slide Quality .pdf

## Slide 20: Tissue Processor Verification
\\Ynhh.org\bh\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 AGENDA & MEETING MINUTES\March 12, 2023\February 2023 Tissue processor verification.pdf

## Slide 21: Internal audits : 5/ Month
\\Ynhh.org\bh\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 AGENDA & MEETING MINUTES\March 12, 2023\February 2023 audit cases.pdf

## Slide 22: Challenges and Opportunities for Improvement Anatomic Pathology (Before Final Dx)
  January 2023

## Slide 23: Histology Processing Issues
Chart: December 2022 - February 2023
| Accessioning: collection date, name mismatch, patient mismatch | Shipping: no manifest, no tape, missing samples | Grossing procedure: Error | Embedding procedure: Error | Microtomy procedure: Error | Staining procedure: Error | Recut procedure: Mislabeled, collection error | IHC procedure: Error | Special Staining procedure: Error | Slide Verification procedure: Error | Processing procedure: Error | Miscellaneous
Dec-22 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 1 | 0 | 0 | 2
Jan-23 | 9 | 0 | 1 | 4 | 0 | 0 | 0 | 7 | 1 | 0 | 0 | 0
Feb-23 | 8 | 0 | 2 | 2 | 4 | 0 | 1 | 0 | 0 | 0 | 1 | 1

## Slide 24: Histology Processing Issues
Chart: January 2021 - February 2023
| 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958
 | 0.002381 | 0.011017 | 0.036745 | 0.029345 | 0.055066 | 0.0765 | 0.078575 | 0.0146 | 0.0206 | 0.00937 | 0.0123 | 0.0244 | 0.01338 | 0.0168 | 0.016144 | 0.0046 | 0.0248 | 0.00934 | 0.00521 | 0.00627 | 0.0138 | 0.00755 | 0.00983 | 0.0074 | 0.01213 | 0.01

## Slide 25: CYTOLOGY SPECIMENS
SENT TO YSM FOR PROCESSING

## Slide 26
Chart: GYN Turn Around Time and Volume
| October '22 | November '22 | December '22 | January '23 | February '23
GYN Volume | 121 | 157 | 148 | 130 | 151
GYN TAT | 6.03 | 3.9 | 4.13 | 4.55 | 5.6
GYN Goal <7 days | 7 | 7 | 7 | 7 | 7

## Slide 27
Chart: NON-GYN Turn Around Time and Volume
| October '22 | November '22 | December '22 | January '23 | February '23
Non GYN Volume | 270 | 267 | 247 | 273 | 281
Non GYN TAT | 3.07 | 3.31 | 3.04 | 2.27 | 2.37
Non GYN Goal < 4 days | 4 | 4 | 4 | 4 | 4

## Slide 28
Chart: CYTOLOGY MISSED OPPORTUNITY RATE TO VOLUME
| 44621 | 44673 | 44682 | 44713 | 44743 | 44774 | 44805 | 44856 | 44866 | 44896 | 44927 | 44958
MISSED OPPORTUNITY RATE | 0.017978 | 0.0275 | 0.0087146 | 0.0067265 | 0.0054348 | 0.024887 | 0.03 | 0.035629 | 0.026846 | 0.028169 | 0.026379 | 0.031185
COMBINED VOLUME | 445 | 400 | 459 | 446 | 368 | 442 | 400 | 421 | 447 | 426 | 417 | 481
Notes: Combined volume for May 459. Error rate is 0.22%

## Slide 29
Notes: The NON GYN TAT is due to staffing issues at YSM, extended leaves, vacations, and cross training in processing. May impact June.
We are up to date on QC review, April and May are with Dr. Cohen. We’ve had no discrepancies.

## Slide 30: Competency Checklist
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\COMPETENCY LOG TO UPDATE MONTHLY\Monthly Competency.xlsx

## Slide 31: Reports:
Policy and Procedures for signature Review (ongoing)
Ongoing...
PM for all other equipment
\\Ynhh.org\src\BH - Laboratory\AP\Maintenance & Service Reports\Current Instrument List.xlsx
Significant issues
  Summary of the Anatomic Pathology Quality Assurance meeting will be presented at Quality Council and Professional and Quality Committee of the Board, and at every full Board meeting, with a more in depth discussion of any significant issues (every six months).Confirm Minutes from Quality Council and Professional and Quality Committee of the Board – Laura Buhlmann.
The P&Q and Quality council- replaced by CRSQ
The exact wording from the AOC:
“A summary of the monthly AP QA meeting will be presented monthly at Quality Council and P&Q Committee of the Board and at every Board meeting with a more in depth discussion of any significant issues, for at least one year”.

## Slide 32: Non-Conforming Events
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\Irreplaceable Specimen Templates\IS Update for BH goals 2023 presentations\IS Update for BH goals month of February 2023.pptx

## Slide 33: New Business
RLs in February 2023
- MARCH -479708
Stones
Lab enhancement/renovation
- Plexi-glass work# 1136840
- Pathology Office Renovation
-SPOT cameras are ordered. (#233358)
- Microscopes PO# 30415485-PRO
Personnel Update
Pathology Candidate
Students (HTL, HT, PA)
Recognition