## Slide 1: BRIDGEPORT HOSPITAL (BC & MC)
ANATOMIC PATHOLOGY
QUALITY ASSURANCE MEETING
May 11, 2023
for the Month of March 2023

## Slide 2: OLD BUSINESS
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 AGENDA & MEETING MINUTES\March 12, 2023\minutes for month of February held on March 23.docx

## Slide 3: BC & MC AP VOLUME( October 22- April 2023
Chart: 
| CASES | BLOCKS | SLIDES
October | 1855 | 7340 | 15141
November | 1831 | 7735 | 14268
December | 1892 | 7623 | 14435
January | 1814 | 7643 | 14795
February | 1890 | 7659 | 14909
March | 2048 | 8341 | 17612
April | 1907 | 7627 | 15574

## Slide 4: BRIDGEPORT CAMPUS
Intraoperative Diagnosis vs. Final/ Amendments & Histology):
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 AGENDA & MEETING MINUTES\May 18, 2023\ANATOMIC QA May 11 2023 (002).docx
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Consensus Conference Daily Log\April 2023 Consensus.pdf

## Slide 5: Milford Campus
APRIL

## Slide 6: April 2023 Frozen Stats
-Frozen:3 - Parts that Meet Threshold: 3
-Blocks: 3
-Touch Preps: 0 -% of Parts that Meets Threshold: 100% -Cases: 1
Threshold of 20 min./ block – only one case met the 20 minutes threshold
Number of discrepancies: 0
Chart: 
| October, 2022 | November, 2022 | December, 2022 | January, 2023 | Februry, 2023 | March, 2023 | April, 2023
Total Blocks | 1 | 1 | 3 | 3 | 5 | 0 | 3
Percent Total Blocks | 0 | 1 | 1 | 0.5 | 1 | 0 | 1

## Slide 7: Routine Surgical Biopsies TAT Within 2 Days (FY23)
70 % Benchmark
Chart: MONTHS
| 143 | 131 | 128 | 139 | 133 | 121 | 95 | Oct-22 | Nov-22 | Dec-22 | Jan-23 | Feb-23 | Mar-23 | Apr-23
 | 143 | 131 | 128 | 139 | 133 | 121 | 95
 | 0.95 | 0.9084 | 0.977 | 0.92 | 0.7895 | 0.7469 | 0.76
 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7

## Slide 8: Non-Gyn Case Volume & TAT ≤ 5 Days
Chart: MONTHS
| 44671 | 44701 | 44732 | 44762 | 44793 | 44825 | 44855 | 44886 | 44896 | 44947 | 44978 | 45007 | 45039
 | 7 | 3 | 6 | 0 | 6 | 8 | 1 | 5 | 3 | 9 | 2 | 9 | 3
 | 0.86 | 0.33 | 0.5 | 0 | 0.3333 | 0.625 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Benchmark | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9

## Slide 9: Contaminant/Floater/Extraneous
TISSUE

## Slide 10: Floaters by Month 2/28/2022-02/28/2023
Chart: 
| 44681 | 44712 | 44742 | 44772 | 44803 | 44834 | 44865 | 44887 | 44916 | 44947 | 44985 | 45006 | 45037
Benign | 2 | 3 | 4 | 2 | 2 | 2 | 2 | 2 | 6 | 2 | 7 | 2 | 2
Malignant | 1 | 1 | 2
Column1
Benign
Malignant
2 of 1907 cases (0.105%)
2 of 7627 blocks (0.026%)
2 of 15574 slides (0.013%)
Benchmark: 1.5% of cases, 0.8% of blocks, 0.6% of slides. Gephardt GN, Zarbo RJ. Extraneous tissue in surgical pathology: a College of American Pathologists Q-Probes study of 275 laboratories. Arch Pathol Lab Med 1996 Nov; 120(11):1009-14.

## Slide 11: Type of Floater & Site of Contamination February 2023
TISSUE | TISSUE | MAIL | MALIGNANT | PHOTO | ON | PROX | FLOATER | SAME CASE | DIFFERENT CASE
PATIENT | FLOATER | EMAIL |  | EMAIL | LEVELS | REP | ORIGIN |  | 
Femoral Neck | Sinus Contents | No | No | No | Yes | Yes | Embedding | No | Yes
Hernia Sac | Foveolar Epithelium | No | No | No | Yes | Yes | Grossing | No | Yes

## Slide 12: Tissue Found (Processor)

## Slide 13: Tissue Found (Processor)

## Slide 14: 76 CONTAMINANTS IN BLOCKS (01/01/2020- 04/30/2023)
Chart: 
| SAME CASE | DIFFERENT CASE | PRELAB
In Block | 18 | 39 | 19
% | 0.9 | 1.95 | 0.95

## Slide 15: H&E Performance Log
P:\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Quality of Slide Performance\March 2023 Daily performance Log.pdf

## Slide 16: Tissue Processor Verification
P:\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 Tissue processor verification and monthly data logs\March 2023 Tissue prpocessor verification.pdf

## Slide 17: Internal audits : 5/ Month
P:\Laboratory\AP\! AP QA\AP QA Meetings\2023\2023 5 audit cases monthly\March 2023 audit cases.pdf

## Slide 18: Challenges and Opportunities for Improvement Anatomic Pathology (Before Final Dx)
  March 2023

## Slide 19: Histology Processing Issues
Chart: February 2023 - April 2023
| Accessioning: collection date, name mismatch, patient mismatch | Shipping: no manifest, no tape, missing samples | Grossing procedure: Error | Embedding procedure: Error | Microtomy procedure: Error | Staining procedure: Error | Recut procedure: Mislabeled, collection error | IHC procedure: Error | Special Staining procedure: Error | Slide Verification procedure: Error | Processing procedure: Error | Miscellaneous
Feb-23 | 8 | 0 | 2 | 2 | 4 | 0 | 1 | 0 | 0 | 0 | 1 | 1
Mar-23 | 15 | 0 | 2 | 0 | 1 | 1 | 0 | 5 | 0 | 0 | 22 | 0
Apr-23 | 17 | 0 | 7 | 1 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 1

## Slide 20: Histology Processing Issues
Chart: January 2021 - April 2023
| 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017
 | 0.002381 | 0.011017 | 0.036745 | 0.029345 | 0.055066 | 0.0765 | 0.078575 | 0.0146 | 0.0206 | 0.00937 | 0.0123 | 0.0244 | 0.01338 | 0.0168 | 0.016144 | 0.0046 | 0.0248 | 0.00934 | 0.00521 | 0.00627 | 0.0138 | 0.00755 | 0.00983 | 0.0074 | 0.01213 | 0.01 | 0.0234 | 0.0241

## Slide 21: CYTOLOGY SPECIMENS
SENT TO YSM FOR PROCESSING

## Slide 22
Chart: GYN Turn Around Time and Volume
| October '22 | November '22 | December '22 | January '23 | February '23 | March '23 | April '23
GYN Volume | 121 | 157 | 148 | 130 | 151 | 150 | 162
GYN TAT | 6.03 | 3.9 | 4.13 | 4.55 | 5.6 | 2.63 | 3.64
GYN Goal <7 days | 7 | 7 | 7 | 7 | 7 | 7 | 7

## Slide 23
Chart: NON-GYN Turn Around Time and Volume
| October '22 | November '22 | December '22 | January '23 | February '23 | March '23 | April '23
Non GYN Volume | 270 | 267 | 247 | 273 | 281 | 356 | 279
Non GYN TAT | 3.07 | 3.31 | 3.04 | 2.27 | 2.37 | 2.46 | 2.32
Non GYN Goal < 4 days | 4 | 4 | 4 | 4 | 4 | 4 | 4

## Slide 24
Chart: CYTOLOGY MISSED OPPORTUNITY RATE TO VOLUME
| 44682 | 44713 | 44743 | 44774 | 44805 | 44856 | 44866 | 44896 | 44927 | 44958 | 44986 | 45039
 | 0.0087146 | 0.0067265 | 0.0054348 | 0.024887 | 0.03 | 0.035629 | 0.026846 | 0.028169 | 0.026379 | 0.031185 | 0.016313 | 0.024845
 | 459 | 446 | 368 | 442 | 400 | 421 | 447 | 426 | 417 | 481 | 613 | 483
Notes: Combined volume for May 459. Error rate is 0.22%

## Slide 25
Notes: The NON GYN TAT is due to staffing issues at YSM, extended leaves, vacations, and cross training in processing. May impact June.
We are up to date on QC review, April and May are with Dr. Cohen. We’ve had no discrepancies.

## Slide 26: Competency Checklist
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\COMPETENCY LOG TO UPDATE MONTHLY\Monthly Competency.xlsx

## Slide 27: Reports:
Policy and Procedures for signature Review (ongoing)
Ongoing...
PM for all other equipment
\\Ynhh.org\src\BH - Laboratory\AP\Maintenance & Service Reports\Current Instrument List.xlsx
Significant issues
  Summary of the Anatomic Pathology Quality Assurance meeting will be presented at Quality Council and Professional and Quality Committee of the Board, and at every full Board meeting, with a more in depth discussion of any significant issues (every six months).Confirm Minutes from Quality Council and Professional and Quality Committee of the Board – Laura Buhlmann.
The P&Q and Quality council- replaced by CRSQ
The exact wording from the AOC:
“A summary of the monthly AP QA meeting will be presented monthly at Quality Council and P&Q Committee of the Board and at every Board meeting with a more in depth discussion of any significant issues, for at least one year”.

## Slide 28: Non-Conforming Events
\\Ynhh.org\src\BH - Laboratory\AP\! AP QA\AP QA Meetings\Irreplaceable Specimen Templates\IS Update for BH goals 2023 presentations\IS Update for BH goals month of March [Autosaved].pptx

## Slide 29: New Business
RLs in April 2023
RCA
Stones------------RITM0104218
Lab enhancement/renovation
- Plexi-glass work# 1136840-
- Pathology Office Renovation
-SPOT cameras are ordered. (#233358)
- Microscopes PO# 30415485-PRO
Personnel Update
Pathology Candidate
Students (HTL, HT, PA)
Recognition

## Slide 30
Action | Date started | Date to be Completed | Responsible Party/Comments
Event and Event Rewind will be shared with all staff in the Pathology department and system-wide in regards to how HRO behaviors would have prevented this incident. Specifics about which CHAMP behaviors (attention to detail; 200% accountability) would have prevented the event and education about skill-based errors shared with all staff. (Immediate Mitigation) | 2/14/23 | 4/15/23 completed | J. Clerveau; T. Lee
Created bins for GI, Prostate, Breast, Other to clearly separate sample types prior to accessioning. (Immediate mitigation) | 2/28/23 | 3/2/23 completed | J. Clerveau
​Policy updated that if non-GI tract biopsy cases must be accessioned back-to-back, the case will be flagged throughout the specimen processing process for additional awareness. | 3/22/23 | TBD 4/21/2023 completed | J. Clerveau; C. Minerowicz, MD
Feasibility of implementing a breast inking policy for all breast biopsies to standardize across the system. | 4/4/23 | 6/1/23 Discussed at 4/25 pathology meeting. In progress | C. Minerowicz, MD; J. Gibson, MD; P. Cohen, MD; Krishnamurthi MD; Listed as ON HOLD in CAP; pending feasibility
Perform training and competency of all histotechnologists to ensure single case scanning and cleaning of work station between cases are being followed according to policy. Bi-weekly audits, including live and video surveillance, of a minimum of three patients in a row will be performed and documented over a three month period by the histology supervisor or designee. After the three month period, on-going auditing will resume as previously done. | 3/22/23 | 6/30/23 Make appointment before May 3 | J. Clerveau; C. Minerowicz MD, T. Lee
Implementation of a policy for embedding technologists to alternate the colors of the cassettes for breast and prostate biopsies while embedding when possible to prevent the same specimen type from being embedded back to back . (Immediate Mitigation)​ | 4/21/2023 | 4/21/2023 completed | J. Clerveau

## Slide 31
Action | Date started | Date to be Completed | Responsible Party/Comments
​Plan completed for space consideration and financial cost to purchase more forceps with the goal to implement a single use forceps policy to standardize across the system. | 4/5/23 | 5/1/23 | V. Fraser; J. Clerveau; T. Lee; M. Hills
Safety coach implementation to ensure 200% accountability throughout the laboratory. | 3/22/23 | 3/29/23 | T. Lee; J. Clerveau; J. Bigelow
Determine feasibility of a HAT alert when an embedder scans a new case number to assist the embedder in reminding them to clean their work area. | 3/22/23 | 6/1/23 In progress .. | J. Clerveau; Not included in Listed as ON HOLD in CAP; pending feasibility
Policy updated: 1. Assigned scribe (pathologist) to ensure that all cases and outcomes discussed at Clinical Consensus Conference (CCC) are written on the CCC Log. 2. Implementation of a formally documented double-check for proximity reports where a clinically significant floater or contaminant is suspected. Policy updated to reflect new practice. (Immediate Mitigation) | 3/22/23 | 4/5/23 completed | J. Clerveau; C. Minerowicz MD
Implementation of an internal (LIS) automated electronic notification process across BH and YM when a clinically significant floater or contaminant is identified. | 3/22/23 | 6/1/23 SYSTEM | J. Gibson, MD; V. Fraser; P. Gershkovich, MD
Policy for escalation of DNA testing formalized and implemented to ensure DNA testing occurs when needed. | 3/22/23 | 6/1/23 | J. Gibson, MD; C. Minerowicz MD, V. Fraser