## Slide 1
Laboratory Medicine – January 2024
February 29, 2024

## Slide 2: Bridgeport and Milford Campuses Turnaround Time Goals
Mean determined from median TAT across the Yale New Haven Health System delivery networks
  Bridgeport and Milford Campuses – Bridgeport Hospital, Greenwich Hospital, Lawrence Memorial Hospital, Westerly Hospital, St. Raphael and York Street Campus – Yale New Haven Hospital and Shoreline Medical Center
Standard Deviation calculated
2 SD Range established and represents the upper and lower limits
  If data set within control range, no corrective actions are necessary

## Slide 3: Bridgeport Campus – Gen 5 Troponin TAT

## Slide 4: Bridgeport Campus – Basic Metabolic Panel (BMP) ED TAT

## Slide 5: Chemistry

## Slide 6: Chemistry

## Slide 7: Chemistry

## Slide 8: Bridgeport Campus – Complete Blood Count (CBC) ED TAT

## Slide 9: Bridgeport Campus – PTINR ED TAT

## Slide 10: Bridgeport Campus – D-dimer ED TAT

## Slide 11: Aspect of Care

## Slide 12: Aspect of Care

## Slide 13: Aspect of Care

## Slide 14: Aspect of Care

## Slide 15: Bridgeport Campus – Type and Screen ED TAT

## Slide 16: QA Report: Department Pathology
2/14/2024
Bridgeport Hospital and Milford Campus
Edward Snyder MD, Christine Minerowicz MD, Lisa Krause, Melissa Morales, Teodorico Lee, Laura Buhlmann
Laboratory Blood Bank

## Slide 17
Bridgeport Hospital Transfusion Reactions FY24 |  |  |  |  |  |  |  |  |  |  |  | 
Months | Total | Allergic | Febrile | Anaphy | TACO | TRALI | TAD | Hemolytic Intravascular | Hemolytic Extravascular | Delayed Serologic | Septic | Underlying Disease
 | BH | BH | BH | BH | BH | BH | BH | BH | BH | BH | BH | BH
Oct | 6 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1
Nov | 4 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Dec | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jan | 7 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1
Feb | 0 |  |  |  |  |  |  |  |  |  |  | 
Mar | 0 |  |  |  |  |  |  |  |  |  |  | 
Apr | 0 |  |  |  |  |  |  |  |  |  |  | 
May | 0 |  |  |  |  |  |  |  |  |  |  | 
Jun | 0 |  |  |  |  |  |  |  |  |  |  | 
Jul | 0 |  |  |  |  |  |  |  |  |  |  | 
Aug | 0 |  |  |  |  |  |  |  |  |  |  | 
Sep | 0 |  |  |  |  |  |  |  |  |  |  | 
Total | 18 | 1 | 9 | 0 | 0 | 0 | 1 | 1 | 1 | 2 | 0 | 3
Notes: Make pie chart

## Slide 18
Chart: Bridgeport Hospital Transfusion Reactions FY24 OCT - JAN
| Allergic | Febrile | Anaphy | TACO | TRALI | TAD | Hemolytic Intravascular | Hemolytic Extravascular | Delayed Serologic | Septic | Underlying Disease
 | 1 | 9 | 0 | 0 | 0 | 1 | 1 | 1 | 2 | 0 | 4

## Slide 19
Bridgeport Hospital
Chart: RBC Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 409 | 450 | 503 | 419 | 466
Discarded | 4 | 4 | 3 | 2 | 1

## Slide 20
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank
Bridgeport Hospital Blood Bank - FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
RBC Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total | Mean ± SD | Total Amount
Transfused | 450 | 503 | 419 | 466 |  |  |  |  |  |  |  |  | 1838 | 460 ± 35 | $487,989.00
Discarded | 4 | 3 | 2 | 1 |  |  |  |  |  |  |  |  | 10 | 3 ± 1 | $1,858.50
Expired* | 0 | 1 | 0 | 0 |  |  |  |  |  |  |  |  | 1 | 0.3 ± 1 | $0.00
Wasted** | 4 | 2 | 2 | 1 |  |  |  |  |  |  |  |  | 9 | 2 ± 1 | $1,858.50
% Discarded | 0.88% | 0.59% | 0.48% | 0.21% |  |  |  |  |  |  |  |  |  |  | 
Total | 454 | 506 | 421 | 467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1848 | 462 ± 35 | $490,644.00
Notes: Add percent discarded for all tables. Discarded divided by total. Add line after wasted.

## Slide 21
Bridgeport Hospital
Chart: FFP Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 51 | 35 | 43 | 26 | 56
Discarded | 22 | 7 | 24 | 22 | 18

## Slide 22
Bridgeport Hospital Blood Bank - FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
FFP Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total | Mean ± SD | Total Amount
Transfused | 35 | 43 | 26 | 56 |  |  |  |  |  |  |  |  | 160 | 40 ± 13 | $6,222.40
Discarded | 7 | 24 | 22 | 18 |  |  |  |  |  |  |  |  | 71 | 18 ± 8 | $2,761.19
Expired* | 0 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 0 | 0 ± 0 | $0.00
Wasted** | 7 | 24 | 26 | 18 |  |  |  |  |  |  |  |  | 75 | 19 ± 9 | $2,916.75
% Discarded | 17% | 36% | 46% | 24% |  |  |  |  |  |  |  |  |  |  | 
Total | 42 | 67 | 48 | 74 |  |  |  |  |  |  |  |  | 231 | 57 ± 15 | $8,983.59
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank
Notes: Add mean and sd for the total line

## Slide 23
Bridgeport Hospital
Chart: Cryo Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 12 | 5 | 9 | 7 | 0
Discarded | 1 | 4 | 1 | 0 | 1

## Slide 24
Bridgeport Hospital Blood Bank - FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Cryo |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total | Mean ± SD | Total Amount
Transfused | 5 | 9 | 7 | 0 |  |  |  |  |  |  |  |  | 21 | 5 ± 4 | $6,961.50
Discarded | 4 | 1 | 0 | 1 |  |  |  |  |  |  |  |  | 6 | 2 ± 2 | $1,989.00
Expired | 2 | 1 | 0 | 0 |  |  |  |  |  |  |  |  | 3 | 1 ± 1 | $994.50
Wasted | 2 | 0 | 0 | 1 |  |  |  |  |  |  |  |  | 3 | 1 ± 1 | $994.50
% Discarded | 44% | 10% | 0% | 100% |  |  |  |  |  |  |  |  |  |  | 
Total | 9 | 10 | 7 | 1 |  |  |  |  |  |  |  |  | 27 | 7 ± 4 | $8,950.50
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank

## Slide 25
Bridgeport Hospital
Chart: Platelet Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 46 | 42 | 55 | 39 | 42
Discarded | 36 | 51 | 41 | 42 | 59

## Slide 26
Bridgeport Hospital Blood Bank |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
BH Platelet Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | April | May | June | July | Aug | Sept | Total | Mean ± SD | Total Amount
Total | 93 | 96 | 81 | 101 |  |  |  |  |  |  |  |  | 371 | 92 ± 9 | $249,805.43
Transfused | 42 | 55 | 39 | 42 |  |  |  |  |  |  |  |  | 178 | 45 ± 7 | $119,852.74
Discarded | 51 | 41 | 42 | 59 |  |  |  |  |  |  |  |  | 193 | 48 ± 8 | $129,952.69
Expired | 51 | 41 | 42 | 59 |  |  |  |  |  |  |  |  | 193 | 48 ± 8 | $129,952.69
Wasted | 0 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 0 | 0±0 | $0.00
% Discarded | 55% | 43% | 52% | 58% |  |  |  |  |  |  |  |  |  |  | 
Discarded/Day | 1.65 | 1.37 | 1.40 | 1.97 |  |  |  |  |  |  |  |  |  |  | $450.21
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank
Notes: Discard per day delete the entire row

## Slide 27
Milford Hospital Transfusion Reactions FY24 |  |  |  |  |  |  |  |  |  |  |  | 
Months | Total | Allergic | Febrile | Anaphy | TACO | TRALI | TAD | Hemolytic Intravascular | Hemolytic extravascular | Delayed Serological | Septic | Underlying Disease
 | MC | MC | MC | MC | MC | MC | MC | MC | MC | MC | MC | MC
Oct | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nov | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dec | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jan | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Feb | 0 |  |  |  |  |  |  |  |  |  |  | 
Mar | 0 |  |  |  |  |  |  |  |  |  |  | 
Apr | 0 |  |  |  |  |  |  |  |  |  |  | 
May | 0 |  |  |  |  |  |  |  |  |  |  | 
Jun | 0 |  |  |  |  |  |  |  |  |  |  | 
Jul | 0 |  |  |  |  |  |  |  |  |  |  | 
Aug | 0 |  |  |  |  |  |  |  |  |  |  | 
Sep | 0 |  |  |  |  |  |  |  |  |  |  | 
Total | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes: Make pie chart

## Slide 28
Chart: Milford Hospital Transfusion Reactions FY24 OCT - JAN
| Allergic | Febrile | Anaphy | TACO | TRALI | TAD | Hemolytic Intravascular | Hemolytic Extravascular | Delayed Serologic | Septic | Underlying Disease
 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 29
Milford Hospital
Chart: RBC Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 84 | 82 | 45 | 54 | 79
Discarded | 1 | 0 | 2 | 0 | 1

## Slide 30
Milford Hospital Blood Bank FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
RBC Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total | Mean ± SD | Total Amount
Transfused | 82 | 45 | 54 | 79 |  |  |  |  |  |  |  |  | 260 | 65 ± 19 | $69,030.00
Discarded | 0 | 2 | 0 | 1 |  |  |  |  |  |  |  |  | 3 | 1 ± 1 | $796.50
Expired | 0 | 1 | 0 | 0 |  |  |  |  |  |  |  |  | 1 | 0.3 ± 1 | $265.50
Wasted | 0 | 1 | 0 | 1 |  |  |  |  |  |  |  |  | 2 | 1 ± 1 | $531.00
% Discarded | 0% | 4% | 0% | 1% |  |  |  |  |  |  |  |  |  |  | 
Total | 82 | 47 | 54 | 80 |  |  |  |  |  |  |  |  | 263 | 65 ± 18 | $69,826.50
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank

## Slide 31
Milford Hospital
Chart: FFP Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 2 | 4 | 0 | 0 | 0
Discarded | 8 | 7 | 8 | 6 | 6

## Slide 32
Milford Hospital Blood Bank FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
FFP Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total | Mean ± SD | Total Amount
Transfused | 4 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 4 | 1±2 | $155.56
Discarded | 7 | 8 | 6 | 6 |  |  |  |  |  |  |  |  | 27 | 7±1 | $1,050.03
Expired | 0 | 8 | 6 | 6 |  |  |  |  |  |  |  |  | 20 | 5±4 | $777.80
Wasted | 7 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 7 | 2±4 | $272.23
% Discarded | 64% | 100% | 100% | 100% |  |  |  |  |  |  |  |  |  |  | 
Total | 11 | 8 | 6 | 6 |  |  |  |  |  |  |  |  | 31 | 8 ± 2 | $1,205.59
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank

## Slide 33
Milford Hospital
Chart: Cryo Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 0 | 1 | 0 | 0 | 0
Discarded | 0 | 0 | 0 | 0 | 0

## Slide 34
Milford Hospital Blood Bank FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Cryo Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total | Mean ± SD | Total Amount
Transfused | 1 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 1 | 0±1 | $331.50
Discarded | 0 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 0 | 0±0 | $0.00
Expired | 0 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 0 | 0±0 | $0.00
Wasted | 0 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 0 | 0±0 | $0.00
% Discarded | 0% | 0% | 0% | 0% |  |  |  |  |  |  |  |  |  |  | 
Total | 1 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 1 | 0±1 | $331.50
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank

## Slide 35
Milford Hospital
Chart: Platelet Utilization FY24
| X̅/Month FY23 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Transfused | 4 | 3 | 2 | 1 | 1
Discarded | 15 | 16 | 17 | 8 | 0
WCP*
WCP* = Wastage Control Program

## Slide 36
WCP*
WCP* = Wastage Control Program
Milford Hospital Blood Bank FY24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Platelet Utilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Mean ± SD | Total | Total Amount
Total | 19 | 19 | 9 | 1 |  |  |  |  |  |  |  |  | 12 ± 9 | 48 | $32,319.84
Transfused | 3 | 2 | 1 | 1 |  |  |  |  |  |  |  |  | 2 ± 1 | 7 | $4,713.31
Discarded | 16 | 17 | 8 | 0 |  |  |  |  |  |  |  |  | 10 ± 8 | 41 | $27,606.53
Expired | 16 | 17 | 8 | 0 |  |  |  |  |  |  |  |  | 10 ± 8 | 41 | $27,606.53
Wasted | 0 | 0 | 0 | 0 |  |  |  |  |  |  |  |  | 0 ± 0 | 0 | $0.00
% Discarded | 84.21% | 89.47% | 88.89% | 0.00% |  |  |  |  |  |  |  |  |  |  | 
Discarded/Day | 0.5161 | 0.5484 | 0.2581 | 0.0000 |  |  |  |  |  |  |  |  |  |  | $890.53
Discarded = Expired + Wasted
*Expired – Unit reached expiration date on shelf during storage
** Wasted – Returned unit(s) discarded following, and due to, clinical issues encountered by the clinical team after product released by the blood bank
Notes: Delete discarded per day.

## Slide 37: Bridgeport Campus FY 2023 – 2024 POCT QA Performance Report Summary

## Slide 38: C-RSQ Report Out
Bridgeport Hospital
Teodorico Lee MPH
Christine Minerowicz M.D.
Edward Snyder M.D.
Laura Buhlmann M.S.
Melissa Morales B.A.
Department of Laboratory Medicine
Committee of Regulatory, Safety, & Quality
January 2024

## Slide 39
SMART Aim | Increase the critical result notification compliance with our 30-minute goal to 95% for inpatient & ED patients & 60 minutes for Outpatients at Bridgeport Hospital by September 2024 Note: The 30/60-minute time period is from the moment the critical value is final verified to the moment the communication log in Epic is completed.
Key drivers & Interventions | Decrease the time from result verification to communication log completion. Increase performance of correct workflow (verify result first and then notify provider). Timely communication of outpatient critical values
Interventions | Standardize critical call list workflow Provided re-education and tips and tricks for the correct workflow. Identified a process to streamline outpatient critical calls (work with specific practices with known notification issues).
NPSG.02.03.01 EP3 Evaluate the timeliness of reporting the critical results of tests and diagnostic procedures
Note: There is an additional system project to standardize critical result notification workflow.
Will allow reports and metrics to be standardized as well
We are currently at 95.4% compliance for inpatients as a department & 97.5% for outpatients
Notes: Accomplishments
July 2022 had a 94.9% compliance (highest in the12 month period of July 2022-June2023).
Department of Laboratory Medicine averages approximately 1500 critical calls per month.

## Slide 40: Critical Call Percent Compliance Inpatient within 30 minutes 2/1/2023-1/31/2024 BH & MCBH=94% BH=94.0% MCBH=93.8%
Chart: Bridgeport Hospital Critical Call Percent Compliance Threshold 95%
Chart: Milford Campus Critical Call Percent Compliance Threshold 95%
Bridgeport Campus
95.0% compliance January
Milford Campus
97.5% compliance January

## Slide 41: Critical Call Percent Compliance Outpatient within 60 minutes* *New QM 1/2024
Bridgeport Campus 95%
Milford Campus 100%

## Slide 42: C-RSQ Report Out
Bridgeport Hospital
Laboratory Blood Bank
Committee of Regulatory, Safety, & Quality
FY24 Jan
Edward Snyder MD
Christine Minerowicz MD
Lisa Krause
Melissa Morales B.A.
Teodorico Lee MPH
Laura Buhlmann M.S.

## Slide 43
PI.01.01.01 EP6 The hospital collects data on the following: The use of blood and blood components. (See also LD.03.07.01, EP 2)
Chart: Total Products Transfused - BH
| Feb - FY23 | Mar - FY23 | Apr - FY23 | May - FY23 | Jun - FY23 | Jul - FY23 | Aug - FY23 | Sep - FY23 | Oct - FY24 | Nov - FY24 | Dec - FY24 | Jan - FY24
Total Products | 504 | 500 | 542 | 666 | 539 | 477 | 555 | 479 | 555 | 610 | 514 | 589

## Slide 44
PI.01.01.01 EP6 The hospital collects data on the following: The use of blood and blood components. (See also LD.03.07.01, EP 2)
 | Total Products | LRC | FFP | CRYO Reduced Plasma | Thawed Plasma | Total Plasma | SDP | PR PLT | Total Platelets | CRYO
Feb - FY23 | 504 | 380 | 32 | 0 | 4 | 36 | 1 | 67 | 68 | 20
Mar - FY23 | 500 | 417 | 27 | 0 | 0 | 27 | 0 | 24 | 24 | 1
Apr - FY23 | 542 | 435 | 41 | 0 | 2 | 43 | 0 | 32 | 32 | 12
May - FY23 | 666 | 437 | 139 | 0 | 4 | 143 | 0 | 53 | 53 | 10
Jun - FY23 | 539 | 414 | 43 | 0 | 0 | 43 | 0 | 48 | 48 | 16
Jul - FY23 | 477 | 377 | 31 | 0 | 6 | 37 | 0 | 32 | 32 | 10
Aug - FY23 | 555 | 420 | 45 | 0 | 3 | 48 | 0 | 62 | 62 | 0
Sep - FY23 | 479 | 332 | 58 | 0 | 9 | 67 | 0 | 42 | 42 | 7
Oct - FY24 | 555 | 450 | 28 | 0 | 7 | 35 | 1 | 41 | 42 | 5
Nov - FY24 | 610 | 503 | 35 | 0 | 8 | 43 | 1 | 54 | 55 | 9
Dec - FY24 | 514 | 419 | 26 | 0 | 23 | 49 | 0 | 39 | 39 | 7
Jan - FY24 | 589 | 466 | 44 | 0 | 12 | 56 | 0 | 42 | 42 | 0
Chart: Transfused Blood Products By Component - BH
| Feb - FY23 | Mar - FY23 | Apr - FY23 | May - FY23 | Jun - FY23 | Jul - FY23 | Aug - FY23 | Sep - FY23 | Oct - FY24 | Nov - FY24 | Dec - FY24 | Jan - FY24
LRC | 380 | 417 | 435 | 437 | 414 | 377 | 420 | 332 | 450 | 503 | 419 | 466
FFP | 32 | 27 | 41 | 139 | 43 | 31 | 45 | 58 | 28 | 35 | 26 | 44
CRYO Reduced Plasma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thawed Plasma | 4 | 0 | 2 | 4 | 0 | 6 | 3 | 9 | 7 | 8 | 23 | 12
Total Plasma | 36 | 27 | 43 | 143 | 43 | 37 | 48 | 67 | 35 | 43 | 49 | 56
SDP | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
PR PLT | 67 | 24 | 32 | 53 | 48 | 32 | 62 | 42 | 41 | 54 | 39 | 42
Total Platelets | 68 | 24 | 32 | 53 | 48 | 32 | 62 | 42 | 42 | 55 | 39 | 42
CRYO | 20 | 1 | 12 | 10 | 16 | 10 | 0 | 7 | 5 | 9 | 7 | 0

## Slide 45: PI.01.01.01 EP7 The hospital collects data on the following: All reported and confirmed transfusion reactions. (See also LD.03.07.01, EP 2; LD.03.09.01, EP 3)
 | Allergic | Febrile | Anaphylactic | TACO | TRALI | TAD | Septic | Hemolytic Intravascular | Hemolytic Extravascular | Delayed Serologic | Underlying Disease | Total
Feb- FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 2
Mar-Fy23 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Apr-FY23 | 1 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
May - FY23 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4
Jun - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2
July - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aug - FY23 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Sep - FY23 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Oct - FY24 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 6
Nov - FY24 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4
Dec - FY24 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Jan - FY24 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 7
Chart: Total Transfusions Reaction - BH
| Feb- FY23 | Mar-Fy23 | Apr-FY23 | May - FY23 | Jun - FY23 | July - FY23 | Aug - FY23 | Sep - FY23 | Oct - FY24 | Nov - FY24 | Dec - FY24 | Jan - FY24
Allergic
Febrile
Anaphylactic
TACO
TRALI
Hemolytic Extravascular
Underlying Disease
Total | 2 | 1 | 4 | 4 | 2 | 0 | 2 | 2 | 6 | 4 | 1 | 7

## Slide 46: PI.01.01.01 EP6 The hospital collects data on the following: The use of blood and blood components. (See also LD.03.07.01, EP 2)
Chart: Total Products Transfused - MC
| Feb- FY23 | Mar-FY23 | Apr-FY23 | May - FY23 | Jun-FY23 | July - FY23 | Aug - FY23 | Sep - FY23 | Oct - FY24 | Nov - FY24 | Dec - FY24 | Jan - FY24
LRC
FFP
CRYO Reduced Plasma
Thawed Plasma
SDP
PR PLT
CRYO
Total Products | 95 | 83 | 121 | 91 | 121 | 51 | 56 | 56 | 90 | 47 | 55 | 80
Total Plasma
Total Platelets

## Slide 47
PI.01.01.01 EP6 The hospital collects data on the following: The use of blood and blood components. (See also LD.03.07.01, EP 2)
 | Total Products | LRC | FFP | CRYO Reduced Plasma | Thawed Plasma | Total Plasma | SDP | PR PLT | Total Platelets | CRYO
Feb- FY23 | 95 | 90 | 1 | 0 | 0 | 1 | 0 | 4 | 4 | 0
Mar-FY23 | 83 | 76 | 2 | 0 | 0 | 2 | 0 | 4 | 4 | 1
Apr-FY23 | 121 | 114 | 1 | 0 | 0 | 1 | 0 | 6 | 6 | 0
May - FY23 | 91 | 87 | 1 | 0 | 0 | 1 | 0 | 3 | 3 | 0
Jun-FY23 | 121 | 113 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0
July - FY23 | 51 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aug - FY23 | 56 | 53 | 1 | 0 | 0 | 1 | 0 | 2 | 2 | 0
Sep - FY23 | 56 | 55 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
Oct - FY24 | 90 | 82 | 4 | 0 | 0 | 4 | 0 | 3 | 3 | 1
Nov - FY24 | 47 | 45 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0
Dec - FY24 | 55 | 54 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
Jan - FY24 | 80 | 79 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
Chart: Transfused Blood Products By Component - MC
| Feb- FY23 | Mar-FY23 | Apr-FY23 | May - FY23 | Jun-FY23 | July - FY23 | Aug - FY23 | Sep - FY23 | Oct - FY24 | Nov - FY24 | Dec - FY24 | Jan - FY24
LRC | 90 | 76 | 114 | 87 | 113 | 51 | 53 | 55 | 82 | 45 | 54 | 79
FFP | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0
CRYO Reduced Plasma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thawed Plasma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Plasma | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 4 | 0 | 0 | 0
SDP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PR PLT | 4 | 4 | 6 | 3 | 8 | 0 | 2 | 1 | 3 | 2 | 1 | 1
Total Platelets | 4 | 4 | 6 | 3 | 8 | 0 | 2 | 1 | 3 | 2 | 1 | 1
CRYO | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0

## Slide 48: PI.01.01.01 EP7 The hospital collects data on the following: All reported and confirmed transfusion reactions. (See also LD.03.07.01, EP 2; LD.03.09.01, EP 3)
Chart: Total Transfusions Reaction - MC
| Feb- FY23 | Mar-FY23 | Apr-FY23 | May - FY23 | Jun - FY23 | July - FY23 | Aug - FY23 | Sep - FY23 | Oct - FY24 | Nov - FY24 | Dec - FY24 | Jan - FY24
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
 | Allergic | Febrile | Anaphylactic | TACO | TRALI | TAD | Septic | Hemolytic Intravascular | Hemolytic Extravascular | Delayed Serologic | Underlying Diesease | Total
Feb- FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mar-FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Apr-FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
May - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jun - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
July - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aug - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sep - FY23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Oct - FY24 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Nov - FY24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dec - FY24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jan - FY24 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1

## Slide 49: Performance Improvement Plan
Lab Outreach Pre-Analytical Quality Indicator Monthly Review
January 2024

## Slide 50: Average Wait Times
Section | Lab Outreach/Phlebotomy
Phase | Pre-Analytical
Title | Average Wait Times
Objective | Calculate the average times from patient check-in/registration to the point of specimen collection for each DN. This metric ensures patient satisfaction and monitors phlebotomists' productivity in each draw station location.
Method | Report from Helix – YNHHS Lab Blood Draw Wait Times report
Definitions | The YNHHS Lab Blood Draw Wait Times report will be pulled monthly across all draw stations.
Expected Actions | To assess each draw station patient, wait-times vs the total number. A summary report will be prepared for the Director. Feedback will be provided to the draw stations.
Benchmarks | Overall rate for patient wait time goal for 15 minutes.

## Slide 51
Summary:
October: Overall goal for the month was met. In October, BH draw stations averaged 5 minutes wait-time overall.
November: Overall goal for the month was met. In November, BH draw stations averaged 5 minutes wait-time overall. All locations were able to maintain an average of 10 minutes wait-time. BH One Stop one of the busiest locations has a wait time of 17 minutes.
December: Overall goal for the month was met. In December, BH draw stations averaged 5 minutes wait-time overall. Majority of locations were able to maintain wait times less than 10 minutes. BH One Stop had its lowest average wait time since March.
January: Overall goal reached for the month. January metrics are BH draw station average 5 minutes overall. One Stop location wait-time was the only location outside of the 15-minute wait time goal.

## Slide 52: Butterfly Needle Usage Rate
Section | Lab Outreach/Phlebotomy
Phase | Pre-Analytical
Title | Butterfly Needle Usage Rate
Objective | Monitors the butterfly needle usage in the outpatient draw stations. Studies have shown that decreased butterfly needle usage results in less sample hemolysis, decreased costs, and less needlestick exposures.
Method | McKesson Supply Report or Infor Supply Report and Helix Reports – Collection Metrics monthly.
Definitions | We will be measuring the rate of butterfly needle usage vs total encounters.
Expected Actions | To assess each draw station butterfly usage rate. A summary report will be prepared for the Director. Feedback will be provided to the draw stations regarding butterfly usage rates.
Benchmarks | Overall rate for 20% butterfly needle usage rate.

## Slide 53
Summary
October: Overall goal met for the month. Across the BH locations 24 boxes of butterfly needles were ordered, this month there was a significant increase in blood draws therefore the percentage of usage remained at 11% as the previous month.
November: Overall goal for the month was met. Across the BH locations 20 boxes of butterfly needles were ordered, 4 boxes less than the previous month resulting in a 10% butterfly usage rate.
December: Overall goal for the month was met. Across the BH locations 16 boxes of butterfly needles were ordered, 4 boxes less than the previous month resulting in 8% butterfly usage rate.
January : Overall goal reached for the month. Across all the BH locations 24 boxes of butterfly needles were ordered over the course of the month resulting in the butterfly usage rate of 11%.
 | Oct | Nov | Dec | Jan
Number of Butterfly Needles | 1200 | 1000 | 800 | 1200
Total Number of Patient Draws | 10601 | 10275 | 9960 | 10584
ALL DRAW STATIONS | 11% | 10% | 8% | 11%

## Slide 54: Cancel/Redraw Rates
Section | Lab Outreach/Phlebotomy
Phase | Pre-Analytical
Title | Cancel/Redraw Rates
Objective | Monitors the cancel/redraw rates in the draw stations by measuring the number of cancel/redraws to overall samples collected as a percentage rate.
Method | Report on Helix – Redraw Rejection Cancellation and Lab Outreach Collection Metrics reports monthly.
Definitions | This metric will identify any collection procedure noncompliance and identify any areas that phlebotomists need retraining in. The redraw rates will be pulled monthly and compared to the 2022 metrics.
Expected Actions | To assess draw station locations, cancel/redraw rates. A summary report will be prepared for the Director to be discussed monthly. Feedback will be provided to the draw stations for improvements.
Benchmarks | Overall redraw rate goal of 5%.

## Slide 55
Summary:
October: Overall goal for the month was met. Across all the BH draw stations the cancel/redraw rate is at 2.2% the lowest it has been all year. This is a 0.6% decrease from the previous month.
November: Overall goal for the month was met. Across all the BH draw stations the cancel/redraw rate is 3.0%.
December: Overall goal for the month was met. Across all the BH draw stations the cancel/redraw rate is 2.8%.
January : Overall goal reached for the month. Majority of locations had a cancellation rate of 4% or less. The overall cancel redraw rate for January was 2.5%.
 | Oct | Nov | Dec | Jan
BH BOSTON POST RD DRAW STATION | 1.1% | 1.9% | 2.1% | 1.2%
BH DRAW STATION SILVER LANE TRUMBULL | 2.5% | 2.7% | 5.5% | 0.8%
BH DRAW STATION STRATFORD | 1.2% | 2.5% | 2.1% | 1.4%
BH DRAW STATION WHITE PLAINS TRUMBULL | 3.6% | 4.3% | 6.1% | 3.5%
BH ENDOCRINOLOGY DRAW STATION QUARRY ROAD | 0.9% | 0.8% | 1.5% | 0.0%
BH FAM MED DRAW STATION QUARRY ROAD | 3.1% | 4.9% | 3.7% | 4.8%
BH HUNTINGTON MED TEST CTR | 3.7% | 2.4% | 2.3% | 2.0%
BH INT MED DRAW STATION QUARRY ROAD | 4.4% | 5.7% | 2.8% | 3.5%
BH KINGS HWY FRFLD DRAW STATION | 1.8% | 2.1% | 2.5% | 1.8%
BH MILFORD DRAW STATION | 1.1% | 1.4% | 4.3% | 2.7%
BH ONE STOP TESTING CTR | 4.9% | 5.6% | 4.1% | 4.8%
BH PK AVE DRAW STATION | 1.7% | 2.5% | 3.4% | 2.5%
BH SHELTON DRAW STATION | 2.6% | 1.8% | 1.9% | 3.6%
BH SOUTHPORT TESTING CENTER | 0.3% | 0.0% | 0.3% | 1.6%
BH TRUMBULL TECH DR DRAW STATION | 2.5% | 6.4% | 1.5% | 3.4%
BH WESTPORT RIVERSIDE DRAW STATION | 0.3% | 2.3% | 0.4% | 2.0%
ALL DRAW STATION AVERAGE | 2.2% | 3.0% | 2.8% | 2.5%

## Slide 56: Centrifuge Compliance
Section | Lab Outreach/Phlebotomy
Phase | Pre-Analytical
Title | Centrifuge Compliance
Objective | Ensures centrifuges in the draw station are functioning as intended which will result in better quality samples and decrease processing errors and specimen rejections.
Method | Auditing centrifuges and record service reports. BioMed (TriMedx) service reports will save in DN specific folders.
Definitions | Every month each DN will be audited on the number of compliant centrifuges and be given a compliance percentage. For example, if all 32 centrifuges in the YNH area are serviced before the due date then they will be at 100% compliance every month.
Expected Actions | The team will also be keeping centrifuge records up-to-date for compliance across all Delivery Networks. A summary report will be prepared for the Director.
Benchmarks | Overall centrifuge compliance goal of 100%.

## Slide 57
Summary
October: Overall goal met for the month. All centrifuges are up-to-date.
November: Overall goal met for the month. All centrifuges are up-to-date.
December: Overall goal met for the month. All centrifuges are up-to-date.
January : Overall goal for the month was met. All centrifuges are up-to-date with inspections.
 | Oct | Nov | Dec | Jan
Number of Compliant Centrifuges | 20 | 20 | 20 | 20
Total Number of Centrifuges | 20 | 20 | 20 | 20
ALL DRAW STATIONS | 100% | 100% | 100% | 100%

## Slide 58: Patient Satisfactory Survey
Section | Lab Outreach/Phlebotomy
Phase | Pre-Analytical
Title | Patient Satisfactory Survey
Objective | Achieving high levels of satisfaction is directly dependent on the high-quality patient care provided by phlebotomists in draw stations. In order to find out the pain-points of patients, whether there’s any room for improvement, and what measures can be implemented to enhance services.
Method | Key Survey Reports and Press Ganey surveys scores
Definitions | The Key Survey report will be pulled monthly.
Expected Actions | To assess each draw station the patient experience surveys or scores. A summary report will be prepared for the Director. Feedback will be provided to the draw stations to make improvements to help increase patient satisfaction.
Benchmarks | Overall patient satisfaction rate 90%.

## Slide 59
Summary
October: Overall goal for the month was met. Across BH draw station locations 97% of patients were likely to recommend our facilities to a friend, 99% of patients felt our facilities were neat and clean, and 96% of patients felt they were treated with respect during their visit.
November: Overall goal for the month was met. Across BH draw station locations 97% of patients were likely to recommend our facilities to a friend, 98% of patients felt our facilities were neat and clean and 97% of patients felt they were treated with respect during their visit.
December: Overall goal for the month was met. Across BH draw station locations 96% of patients were likely to recommend our facilities to a friend, 98% of patients felt our facilities were neat and clean and 98% of patients felt they were treated with respect during their visit.
January : Overall goal met for the month. January patient satisfaction rate was 96%. Across a portion of the draw station locations 96% of patients were likely to recommend our facilities to a friend, 98% of patients felt our facilities were neat and clean, and 96% of patients felt they were treated with respect during their visit.

## Slide 60: Transcription Accuracy Rate
Section | Lab Outreach/Phlebotomy
Phase | Pre-Analytical
Title | Transcription accuracy rate
Objective | Monitors the accuracy of the phlebotomist's transcriptions into EPIC from paper requisitions.
Method | Report run by Lab Billing department daily.
Definitions | Report is run by Lab Billing, and they randomly select up to 5 transcribed requisitions from each DN daily. The areas evaluated for accuracy will be the provider's name, tests ordered, scanning of req into EPIC and charges. Lab Billing will track the requisitions selected and errors in a separate spreadsheet on the YNH :/L shared drive.
Expected Actions | To assess each draw station transcription accuracy. A summary report will be prepared for the Director. Feedback will be provided to the draw stations.
Benchmarks | Overall rate for 90% transcription accuracy.

## Slide 61
Summary
October: Overall goal for the month was met. For the month of October, the # of providers transcribed 110/110, sum of tests transcribed correctly 389/390 and # of requisitions scanned in EPIC 109/109.
November: Overall goal for the month was met. For the month of November, the # of providers transcribed 104/104, sum of tests transcribed correctly 354/354 and # of requisitions scanned in EPIC 104/104.
December: Overall goal for the month was met. For the month of December, the # providers transcribed 97/97, sum of tests transcribed correctly 304/306 and # of requisitions scanned in EPIC 95/95.
January : Overall goal reached for the month. For the month of January the # of providers transcribed correctly 104/104, sum of tests transcribed correctly 328/328 and # of requisitions scanned in EPIC 104/104.
 | Oct | Nov | Dec | Jan
ALL DRAW STATION AVERAGE | 100% | 100% | 100% | 100%

## Slide 62: FY 2024 QA
Microbiology and Central Processing
February 2024

## Slide 63: Microbiology Quality Measures 2024
Chart: Microbiology Quality Assurance FY 2024
| MRSA Comm Log (Positive MRSA PCR'S Phoned) | RVPCR Nasopharynx Source | Stool Pathogens PCR Performed within 3 days of patient admission
2023 OCT | 0.97222 | 0.91667 | 1
2023 NOV | 1 | 0.95745 | 1
2023 DEC | 1 | 0.93233 | 0.98077
2024 JAN | 1 | 0.92655 | 0.95556
Expected Threshold | 1 | 1 | 1

## Slide 64: Microbiology Test Volumes
Chart: Micro Total Volumes
| MRSA | MRSA Positive | RVP | Stool | Stool Admitted | Errors
October | 445 | 36 | 195 | 138 | 40 | 0
November | 372 | 52 | 235 | 126 | 45 | 1
December | 399 | 48 | 227 | 144 | 52 | 1
January | 471 | 49 | 177 | 138 | 45 | 0

## Slide 65: Blood Culture Bottle Volumes – Above Optimal volume
Chart: Number of Bottles Above Optimal Volume
| Total | ED | Inpatient | Outpatient
Total Number of Bottles Drawn | 120 | 72 | 48 | 0
Number of Bottles Above Optimal Volume | 0 | 0 | 0 | 0

## Slide 66: Blood Culture Bottle Volumes – Below Optimal volume
Chart: Number of Bottles Below Optimal Volume
| Total | ED | Inpatient | Outpatient
Total Number of Bottles Drawn | 120 | 72 | 48 | 0
Number of Bottles Below Optimal Volume | 7 | 7 | 0 | 0

## Slide 67: FY 2024 Blood Culture Volume Above Optimal Range
Chart: Monthly Blood Culture Volume Above Optimal Range
| October | November | December | January
ED | 0.081081 | 0.051282 | 0.0375 | 0
Inpatient | 0.21429 | 0.19231 | 0.15625 | 0
Outpatient | 0.5 | 0 | 0 | 0
Total | 0.1087 | 0.080357 | 0.071429 | 0

## Slide 68: FY 2024 Blood Culture Volume Below Optimal Range
Chart: Monthly Blood Culture Volume Below Optimal Range
| October | November | December | January
ED | 0.31081 | 0.089744 | 0.2375 | 0.097222
Inpatient | 0.071429 | 0 | 0.0625 | 0
Outpatient | 0 | 0 | 0 | 0
Total | 0.26087 | 0.0625 | 0.1875 | 0.058333

## Slide 69: Micro Molecular Statistics
Date | Tests | Sample size | Positive Count | % Positivity | Lower Limit | Upper Limit | Environment Monitoring | Epidemiological Trends | Evaluation Notes
Jan-24 | C. difficile Assay | 200 | 33 | 16.5% | 14% | 26% | Negative | None | None
Jan-24 | Group A Strep PCR | 808 | 149 | 18.4% | 2% | 26% | Negative | None | None
Jan-24 | Group A Strep PCR | 808 | 149 | 18.4% | 2% | 26% | Negative | None | None
Jan-24 | Influenza A/B RNA, NAAT | 174 | 29 | 16.7% | 0% | 19% | Negative | None | None
Jan-24 | Influenza/RSV by RT-PCR | 2,461 | 438 | 17.8% | 0% | 19% | Negative | None | None
Jan-24 | MRSA Colonization Status | 423 | 49 | 11.6% | 5% | 18% | Negative | None | None
Jan-24 | MRSA/SAUR Blood PCR | 29 | 6 | 20.7% | 15% | 51% | Negative | None | None
Jan-24 | MTB w/rflx Rifampin PCR | 5 | 0 | 0.0% | 0% | 77% | Negative | None | None
Jan-24 | Resp Virus PCR Panel | 180 | 28 | 15.6% | 2% | 51% | Negative | None | None
Jan-24 | Respiratory Virus PCR Panel | 184 | 11 | 6.0% | 0% | 32% | Negative | None | None
Jan-24 | SARS CoV-2 (COVID-19) RNA | 3,382 | 527 | 15.6% | 0% | 20% | Negative | None | None
Jan-24 | Stool Pathogens PCR | 109 | 10 | 9.2% | 0% | 21% | Negative | None | None

## Slide 70: BH & MC Blood Culture contamination rate

## Slide 71: Blood Contamination rate—BH

## Slide 72: Blood Culture Contamination Rate—BH ED

## Slide 73: Blood Culture Contamination Rate—all other units

## Slide 74: Blood Culture Contamination Rate—MC

## Slide 75: Blood Culture Contamination Rate—MC ED

## Slide 76: Blood Culture Contamination Rate—all other units

## Slide 77: Blood Culture Contamination Rate DN’s Comparison

## Slide 78: Quest TAT
The TAT calculations include
accessions that have been through the "test in question" process, or tests that have been
corrected, repeated, reflexed, confirmed, or added on after the original order.
Chart: FY 2024 QuestTests TAT
| October | November | December | January | February | March | April | May | June | July | August | September
On time tests | 2281 | 2226 | 2094 | 2100
Late tests | 609 | 575 | 396 | 376
Total Quest tests performed | 2890 | 2801 | 2490 | 2476

## Slide 79: Quest Rejected Tests
Chart: FY 2024 Tests Not Performed By Quest
| October | November | December | January | February | March | April | May | June | July | August | September
Inappropriate transport for test requested | 0 | 1 | 0 | 1
PH out of limits | 0 | 1 | 0 | 0
Specimen improperly collected/handled/stored by client | 1 | 4 | 2 | 2
Specimen is too hemolyzed to perform test | 2 | 3 | 2 | 3
Specimen is too Lypemic to perform test | 0 | 0 | 0 | 0
Specimen QNS after other tests completed | 0 | 5 | 0 | 1
Specimen rec'd too old to perform test | 0 | 0 | 0 | 0
Specimen received QNS | 0 | 1 | 0 | 1
Results inconclusive due to interfering substances | 0 | 0 | 0 | 0
Shared specimen problem | 0 | 0 | 0 | 0
Specimen not rec'd at Chantilly Lab | 0 | 1 | 0 | 0
Specimen too old for addon test | 0 | 0 | 0 | 0

## Slide 80: Mayo Rejected Tests
Chart: FY 2024 Tests Rejected by Mayo
| October | November | December | January
Inappropriate transport for test requested | 0 | 0 | 0 | 0
PH out of limits | 0 | 0 | 0 | 0
Specimen improperly collected/handled/stored by client | 0 | 0 | 0 | 0
Specimen is too hemolyzed to perform test | 0 | 0 | 0 | 0
Specimen is too Lypemic to perform test | 0 | 0 | 0 | 0
Specimen QNS after other tests completed | 0 | 0 | 0 | 0
Specimen rec'd too old to perform test | 0 | 0 | 0 | 0
Specimen received QNS | 0 | 1 | 0 | 1
Results inconclusive due to interfering substances | 0 | 0 | 0 | 0
Shared specimen problem | 0 | 0 | 0 | 0
Specimen not rec'd at Mayo Lab | 0 | 0 | 1 | 0
Specimen too old for addon test | 0 | 0 | 0 | 0

## Slide 81: FY2024 Draw Station Errors
Chart: FY 2024 Draw Station Errors
| October | November | December | January
No Specimen Received | 16 | 7 | 4 | 0
Incorrect Order | 99 | 132 | 74 | 101
Wrong Tube/Container | 4 | 7 | 4 | 2
Unlabeled/Mislabeled Specimen | 0 | 7 | 0 | 0
Unacceptable Requisition/ Specimen | 12 | 5 | 0 | 0
QNS | 0 | 3 | 0 | 0
Sample Not On Packing List | 2 | 3 | 2 | 0
TOTAL | 136 | 164 | 90 | 103
Specimen put in for Redraw | 3 | 2 | 6 | 6

## Slide 82: Bridgeport Campus – COVID-19 Cepheid

## Slide 83: Cost Per Billable

## Slide 84: MCBH Critical Result Calls & Documentation

## Slide 85: MCBH Critical Result Calls & Documentation

## Slide 86: Lab General
BH CL07D0099572/CAP1191901
MCBH CL07D0097265/CAP 1189901

## Slide 87: Bridgeport Proficiency Performance Testing Target 98% & Accreditation Overview

## Slide 88: Lab General BH Corrected Reports Target <2.7/10,000 results

## Slide 89: BH Non-Conforming Events** (Department of Clinical Pathology only)

## Slide 90: MCBH Proficiency Testing Target 98% & Accreditation Overview

## Slide 91: MCBH Corrected Reports Target <2.7/10,000 results

## Slide 92: Laboratory General

## Slide 93: Laboratory General

## Slide 94: Laboratory General

## Slide 95: Laboratory General BH & MCBH Events Calendar Completion 88% Benchmark 100%
Overdue competencies/training on per diem and staff on FMLA.

## Slide 96: SAFER Monthly Events January 2024

## Slide 97: Milford Campus – Gen 5 Troponin TAT

## Slide 98: Milford Campus – Basic Metabolic Panel (BMP) ED TAT

## Slide 99: Milford Campus – Complete Blood Count (CBC) ED TAT

## Slide 100: Milford Campus – PTINR ED TAT

## Slide 101: Milford Campus – D-dimer ED TAT

## Slide 102: Milford Campus – Type and Screen ED TAT

## Slide 103: Milford Campus – COVID Cepheid PCR TAT

## Slide 104: Milford Campus Molecular Dashboard