 Bridgeport Hospital Lab Safety Committee 
September  2025 Meeting Minutes
	Date: 9/30/2025
Time: 11:00 am
Location: Microsoft Teams
Recorder: Kathy
	[image: image1.png]YaleNewHavenHealth
Bridgeport Hospital





	ATTENDANCE

	
	
	Kathy Castillo
	Lauren Hetzel
	
	

	
	
	JR
	Marcela Bertola-Rumeli
	
	

	
	
	Laura Buhlmann
	Aziza Ezzaki
	
	

	
	
	Ann Parisi
	
	
	

	
	
	Discussion
	Outcome/Follow-up

	Injuries
	
	Finger cut from contaminated scalpel blade in Histology
Employee in Histology had formalin reading > 2.0 STEL limit. Retesting performed/ Hood was inspected and was in proper working condition, Airflow checked and was fine video review of workflow- proper grossing technique was observed but formalin containers were too close to the employee.
	Will use blade remover in the future
Waiting on re-test results. Follow-up next meeting.

	Annual CHP review action plan weekly audit
	
	   Compliance audits in Hematology and Chemistry are 100%
 P:\Laboratory\!CAP Regulatory\Safety\! 2025 action plan
Reminder: It is the responsibility of each department to complete a random safety audit weekly- Need audits from Histology, Blood Bank and CP/Send outs
	No eye splashes reported 


	Monthly Safety Audit
	
	August Monthly safety audit completed- need covered trash cans in Chemistry
September Audit- Histology has an instrument that needs to be discarded.

BB is responsible for the October safety Audit at BH. The checklist can be found: P:\Laboratory\!CAP Regulatory\Safety\! Monthly Audit Checklists. Once completed please scan and put it in the above folder.
	Ann to order
Marcela to make arrangements.

Monthly audits can be viewed on the P-drive

P:\Laboratory\!CAP Regulatory\Safety\! Monthly Audit Checklists

	Noise Meter
	
	Please complete the annual Noise assessment in your respective departments. See Kathy for the Noise Meter.
Blood Bank, CP/Send outs, and Chemistry need to be performed
	Complete by 10/26/2025
MC, Hematology and AP completed.

	Spill Kits
	
	  Please check the inventory and evaluate for effectiveness ASAP. New Filters for the N95 masks ae ordered.
Chemistry, Hematology, Microbiology(2025) completed
	2025 BB ,CP, MC, and AP need to be completed
2024  CP and micro need to be documented.

	Ergonomic Review
	
	Performed on 9/9/2025
	Bruce will write up report and recommendations by the middle of October

	Risk Assessments
	
	Please review your Risk assessments in Media Lab and let Laura know if they need to be updated or if they are okay to approve. 
	Needs to be done ASAP

	Reagents in Micro
	
	Discussed getting tarps to put over the reagents stored in Micro to protect from potential water leaks.
	

	Chemicals
	
	Please make sure that chemicals in secondary containers are properly labeled.
	

	Future Meetings

	Date/Time
10/23/2025
2:00pm 
	Event
Safety Meeting
	Location 

Microsoft Teams




YNHHS SAFETY AUDIT SCHEDULE FOR BH
Fill out 1 checklist for the entire Lab.

For any issues, notate which Lab section in the corrective action area.

	MONTH
	RESONSIBLE DEPARTMENT

	APRIL
	HEMATOLOGY

	MAY
	CP

	JUNE
	CHEMISTRY

	JULY
	EVENING SHIFT

	AUGUST
	Hematology

	SEPTEMBER
	AP

	OCTOBER
	Blood Bank

	NOVEMBER
	CP

	DECEMBER
	CHEMISTRY


2

