## Sheet1
Employee Name |  | Completion Date |  | □ | Six Month
|  |  |  | □ | Annual
Assessment Categories
| 1. Direct Observation | 4. Direct Observation of instrument maintenance / function checks
| 2. Monitoring the recording / reporting of test results ( follow up list reviewed twice daily for all techs) | 5. Blind testing / proficiency testing
| 3. Review of test records, worksheets, QC, PM | 6. Evaluation of problem solving skills (written quiz- MTS online competency assessment)
Section | Skills / Tasks / Knowledge | Assessment Categories | Evaluator / Date Evaluated | Competent | Needs Improvement | Remedial Training
Hematology
| Read and follows procedure manual | 3, 6
| Operating Hematology analyzer in open mode | 1
| Reporting and notification of critical values | 2, 6
| Performs and documents quality controls | 1, 3
| Performs and documents preventative maintenance and troubleshooting of analyzer | 4
| Performing CBC on hematology analyzer | 1, 5
| Performs Sed Rate | 1
| Prepare slide and perform manual differential | 1, 5
Coagulation
| Read and follows procedure manual | 3, 6
| Reporting and notification of critical values | 2
| Performs and documents quality controls | 2, 6
| Performs PT on coagulation analyzer | 1, 5
Urinalysis
| Read and follows procedure manual | 3, 6
| Performs and documents quality controls/patient results | 1, 3
| Reporting and notification of critical values | 2, 6
| Performs and documents preventative maintenance and troubleshooting of analyzer | 4
| Performs urinalysis macro (dipstick) and micro exam | 1, 5
| Problem solves: understands when reflex testing is needed for urine microscopic and urine cultures | 2, 6
| 1. Direct Observation | 4. Direct Observation of instrument maintenance / function checks
| 2. Monitoring the recording / reporting of test results ( follow up list reviewed twice daily for all techs) | 5. Blind testing / proficiency testing
| 3. Review of test records, worksheets, QC, PM | 6. Evaluation of problem solving skills (written quiz- MTS online competency assessment)
Section | Skills / Tasks / Knowledge | Assessment Categories | Evaluator / Date Evaluated | Competent | Needs Improvement | Remedial Training
Chemistry | VITROS 5600/3400
| Read and follows procedure manual | 3, 6
| Reporting and notification of critical values | 2, 6
| Performs and documents quality controls | 1, 3
| Performs and documents preventative maintenance and troubleshooting of chemistry analyzer | 4
| Performs testing for at least one analyte on chemistry analyzer | 1, 5
| Performs testing on ISTAT | 1, 5
Blood Gases | Read and follows procedure manual | 3, 6
| Reporting and notification of critical values | 2, 6
| Performs and documents quality controls | 1, 3
| Performs and documents preventative maintenance and troubleshooting of blood gas analyzer | 4
| Performs blood gas | 1, 5
Blood Banking | Read and follows procedure manual | 3, 6
| Performs and documents quality controls( Tube & Echo) | 3
| Perform an Emergency Release of blood | 1, 6
| Performs and documents preventative maintenance of equipment | 3
| Performs at least one Type and Screen | 1
| 1. Direct Observation | 4. Direct Observation of instrument maintenance / function checks
| 2. Monitoring the recording / reporting of test results ( follow up list reviewed twice daily for all techs) | 5. Blind testing / proficiency testing
| 3. Review of test records, worksheets, QC, PM | 6. Evaluation of problem solving skills (written quiz- MTS online competency assessment)
Section | Skills / Tasks / Knowledge | Assessment Categories | Evaluator / Date Evaluated | Competent | Needs Improvement | Remedial Training
cont. | Performs antibody screening | 1, 2, 5
| Performs compatibility testing | 1, 2, 5
| Performs antibody ID | 1, 2, 5
| Performs antigen typing | 1, 2, 5
| Performs fetal screen | 1, 2, 5
| Problem solves: Understands steps to take when have incompatible crossmatch, positive antibody screen, transfusion reaction | 2, 6
Microbiology
| Read and follows procedure manual | 3, 6
| Performs and documents quality control (media and reagents) | 2,6
| Performs and documents preventative maintenance and troubleshooting of the analyzer | 4
| Performs gram stain | 1, 5
| Performs set up of cultures | 1
| Performs interpretation of cultures | 1,5,6
| Reporting and notification of critical values | 2, 6
| Problem solves: Understands which specimens need to be reported to CDPHE | 2, 6
Molecular- Biofire/ Cepheid
| Read and follows procedure manual | 3, 6
| Reporting and notification of critical values | 2, 6
| Perform and documents quality controls | 2,3
| Perform and document preventative maintenance and troubleshooting of analyzer | 4
| Performs at least one Cepheid test | 1, 5
| Performs at least one Biofire test | 1, 5
| 1. Direct Observation | 4. Direct Observation of instrument maintenance / function checks
| 2. Monitoring the recording / reporting of test results ( follow up list reviewed twice daily for all techs) | 5. Blind testing / proficiency testing
| 3. Review of test records, worksheets, QC, PM | 6. Evaluation of problem solving skills (written quiz- MTS online competency assessment)
Section | Skills / Tasks / Knowledge | Assessment Categories | Evaluator / Date Evaluated | Competent | Needs Improvement | Remedial Training
Manual Cell Count- Body Fluids
| Read and follows procedure manual | 3, 6
| Perform and documents quality controls | 1,3,5
| Perform manual cell count | 1, 5
| Performs manual differential on Cytospin slide | 3
Kit Tests
Giardia / Crypto | Read and follows procedure manual | 3, 6
| Perform and document quality controls | 3
| Perform test | 1, 5
Pregnancy | Read and follows procedure manual | 3, 6
| Perform and document quality controls | 3
| Perform test | 1, 5
Amnisure | Read and follows procedure manual | 3, 6
| Perform and document quality controls | 3
| Perform test | 1, 5
Drug Screen/ Medtox | Read and follows procedure manual | 3, 6
| Perform and document quality controls | 3
| Perform test | 1, 5
Mono | Read and follows procedure manual | 3, 6
| Perform and document quality controls | 3
| Perform test | 1, 5
COVID- ALERE | Read and follows procedure manual | 3,6
| Perform and document quality controls | 3
| Perform test | 1,5
Review documentation supporting the findings of compliance, and corrective action of findings of "needs improvement and remedial training".
| * I feel competent in the tasks / competencies attached | YES/ NO
|  | * | I feel I need additional training with the following:
Testing Personnel Signature ______________________________________________________________ |  |  | Date: _____________
| * I have reviewed the attached competency assessment and feel that the employee is competent to work in these areas. | YES/NO
|  | * | I feel the employee needs additional training in the following:
Laboratory Director (designee) Signature___________________________________________________ |  |  | Date: _____________