# INITIAL TRAINING CHECKLIST

# Complete Blood Counts using the Sysmex XN-330

Name and Title: _________________________________________     Date: ____/____/____

A check in each box indicates the employee understands and demonstrates ability to complete performance criteria.

GENERAL

- Know location of procedure

- Gather all the necessary equipment.

- Adhere to Universal Precautions throughout entire procedure.

QUALITY CONTROL

- Understands whole blood control storage and handling requirements.

- Understand concept and requirements of Quality Control

- Perform 3 levels of QC each day of patient testing.

- Evaluate QC results and perform any required troubleshooting steps.

=

Patient Testing

- Confirm patient identification.

- Understand sample requirements.

- Always perform testing using own name or code.

- Understand how to prepare patients.

- Understands how to obtain and test samples.

- Understand Patient Results

  - Notify the provider immediately of any critical result.

  - Repeat any flagged or critical results.

  - Prepare blood smears when required.

  - Send out blood smear and patient samples as needed.

MAINTENANCE

- Understand how to perform a shutdown of the analyzer at the end of the shift.

- Understand how to perform weekly cleaning.

- Understand how to change reagent packs.

Employee:________________________________ Trainer:___________________________________

Name: _____________________________________ Employee Number: ______________

- Complete Blood Counts may be performed on EDTA tubes that are not full.

  - True

  - False

- Patient testing may be performed if 2 of 3 levels of QC fail.

- True

- False

- Quality Control materials must

  - be performed every day before patient testing

  - be discarded 15 days after opening

  - must be warmed for 15 minutes and mixed well before using

  - must be returned to the refrigerator as soon as possible

  - all of the above

- Three levels of QC must be run;

- Twice a day

- Every day of patient testing

- Before every patient test

- After every patient test

- EDTA tubes must be well mixed after collection to prevent clot formation.

- True

- False

- New lots of QC must be tested upon receipt - before the old lot expires.

- True

- False

- The cuvette holder should be cleaned (mark all that apply):

  - after each patient is tested

  - whenever the holder looks dirty

  - whenever an error message is obtained

  - at the end of each day’s testing

- The patient printout has the flag Atypical Lymphs. What steps do you take?

  - Repeat test to verify flag

  - IMake a smear and send both out to the reference lab.

  - Consult provider and check patient history

  - All of the above

# SCORE: ________%

# ____________________________________		________________________________________

TRAINEE (EMPLOYEE) SIGNATURE			TRAINER SIGNATURE