KPNW Clinitek UA: Training Checklist

- Review the importance of labeling the urine specimen with a patient label (2 identifiers).

- Review test system components: Analyzer, Strips, QC materials.

  - Power Cord

  - Data Cable

  - Barcode Scanner

  - Power button

- Review QC frequency (Daily, New Lot, Questionable results)

- Review cleaning/maintenance documentation, procedure and frequency.

- Reviewed the importance of the following during patient/QC testing:

- Labeling open date on strip can and QC open and expiration date on QC bottles.

- Entering lot # and expiration information in Clinitek

- Importance of pressing “Start” BEFORE dipping urine or applying QC.

  - START, Dip Strip, Blot (side of strip), Set (on test table)

- Wiping test table with Kimwipe after test is performed

- Perform both Positive and Negative levels of QC.

- Perform and Document Daily and Weekly Maintenance.

- Review how to document patient results in Cerner (LIS) or KPHC (HIS).

- Lab Staff Only: Review Cerner/KPHC downtime process.