KPNW Rapid Strep Training Checklist

- Review the importance of labeling the test vial with a patient label

- Review test kit contents, and location of lot number and expiration date on box.

- Review importance of the appearance of the control band, clear background and the color change of the extraction liquid from pink to yellow.

- Review QC frequency (each new box)

- Review the importance of setting a timer and reading the test result at 5 minutes.

- Perform both Positive and Negative levels of QC

- Document QC results on QC Log

- Review how to document patient results in Cerner (LIS) or KPHC (HIS)

- Review policy to order a back up throat culture on all patients under age 16 with a negative RST result. (Laboratory-LIS will automatically reflex)

- Lab Staff Only: Review the process for ‘Corrected Reports’ in Cerner. This includes supervisor notification.