KPNW Urine Pregnancy (UCG): Training Checklist

- Review the importance of labeling the test cartridge with a patient label.

- Review test kit contents, and location of lot number and expiration date on box.

- Review importance of the appearance of the control band, this must be present to ensure a valid test result.

- Review QC frequency (Each new lot/shipment, no less than Monthly (30days), Recommended: weekly)

- Review the importance of setting a timer and reading the test result at 3-4 minutes.

- Perform both Positive and Negative levels of QC

- Document QC results on QC Log

- Review how to document patient results in Cerner (LIS) or KPHC (HIS)

- Lab Staff Only: Review the process for ‘Corrected Reports’ in Cerner. This includes supervisor notification.

- Remind: Never test on self or others without a valid order- this is subject to disciplinary action up to possible termination.