## Slide 1: Critical Values Training
ACCU-CHEK Inform II

## Slide 2
Upon taking this course you should be able to:
Assess critical values within the VA-BHHCS
Take the appropriate steps in handling critical values
Report and document critical values within the Computerized Patient Reporting System (CPRS)
Course Objective

## Slide 3
Increase compliance within the BHHCS, with regards to critical value handling and reporting, in order to provide the best clinical practices to our veterans.
Goal of Training:

## Slide 4
Critical whole blood glucose (WBG) values are defined by BHHCS as:
<40mg/dL or >400mg/dL
Critical Values

## Slide 5
Handling Critical Values
Verify acceptance of the value obtained and the comments
selected by touching the “check box”.
Repeat the test IMMEDIATELY!

## Slide 6
3. Verify acceptance of the value obtained and the comments
selected by touching the “check box”.
Repeating the Test
4. Notify the patient’s provider of the final critical value, and
complete the Critical Lab Value or CLV in CPRS.

## Slide 7
CPRS Documentation:
Document that the value was repeated.
Input the final WBG value into the appropriate field.
Document that the value was communicated to the provider; the
provider’s first and last name must be provided.
4. Acknowledge that the provider “read back” the critical value.
The final step of critical value handling and documentation is the completion
of the “CLV”:

## Slide 8
Upon completion of this course you should be able to:
Assess critical values within the VA-BHHCS
Take the appropriate steps in handling critical values
Report and document critical values within both the glucometer and the facility’s Computerized Patient Reporting System (CPRS)
Conclusion