1. Gloves should always be worn when performing this test.

2. A first morning voided sample is best due to the greatest concentration of hCG.

3. Pregnancy test results are considered presumptively diagnostic of early detection of hCG.

4. Questionable results should be confirmed by laboratory testing.

5. A positive result is indicated by colored lines appearing in the TEST & Control region.

6. An invalid result is indicated by NO colored lines appearing in the CONTROL region.

7. Patient results are to be entered into patient’s CPRS record as soon as possible.

8. Supplies can be obtained from the Clinical Lab at Overton Brooks VAMC.

9. Read the Sure-Vue Urine Pregnancy procedure available on the hospital P&LMS SharePoint.

10. Two levels of liquid control material must be performed and documented on the UPT Control

Log each month and glucose meter.

11. Proficiency test must be performed and rotated among trained staff.

12. Testing personnel must complete Training and Competency.

13. All results must be completed and documentation for all patient test using the glucose meter.

14. All documentation includes Patient ID, Patient’s Result, Internal Control, Lot # and Expiration, and Testing Person. Also, the result can be documented on the spreadsheet on the PC S: Drive→ Women’s Health→ CBOC Lab Logs.

*Acknowledging that I am responsible for the information listed above, aware that questions can be sent to ATC for answers, and I am fully competent to preform testing*