Holyoke Medical Center

575 Beech Street

Policy: 401.ADM.4.03

Holyoke, MA 01040

Laboratory

Category 3

Proficiency Testing

## Purpose

To define the system used in the laboratory to meet CAP and CLIA regulations.

## Principle

It is the policy of the Laboratory to subscribe to proficiency surveys as mandated by CLIA-'88 and the College of American Pathologists (CAP) to evaluate the effectiveness of procedures.

## Procedure

- On an annual basis the laboratory manager will circulate the CAP SURVEY book and the Wisconsin State Laboratory of Hygiene(WSLH) book to all departmental supervisors who will determine, in conjunction with the pathologist who oversees the department, which surveys are appropriate to cover all testing for their area.

- The laboratory manager will order the surveys for the year. (See order form which follows this policy for current year.)

- Surveys will be delivered to the appropriate department by the pathology secretary.

- Test will be assigned to technologists by the department supervisor.

- All proficiency materials will be treated the same as patient samples.

- The technologist or supervisor will complete the answer form (per department policy); testing technologist will sign the attestation statement.  For high complexity testing, the laboratory director may sign or delegate a designee meeting the qualifications of a technical supervisor or section director.  For moderate complexity testing, the laboratory director may sign or delegate a designee meeting the qualifications of a technical consultant.  The supervisor will ensure the response is mailed, or submitted on line, within the time frame indicated for the survey.

- In order to resolve problems all survey material and a photocopy of responses submitted will be maintained until the results are received from CAP or WSLH.

- Technologist's participation in proficiency testing will be documented by the supervisor as addressed in the Personnel Assessment policy.

- All unacceptable survey results should prompt a timely evaluation as to the specific reason(s) for the unacceptable result, and an action plan should be developed to reduce the likelihood of recurrence.  Survey results should be reviewed for any trends that may indicate problems.  All documentation of the evaluation and the corrective action will be reviewed and signed by the pathologist and supervisor, and all proficiency survey results and records will be maintained within the individual laboratory department.

- For all PT challenges that were intended to be graded but were not, each department must have documentation of how the PT results were assessed.  The “Actions Laboratories Should Take when a PT Result is not Graded” (Addendum A) lists some of the error codes and the action required.  The information was taken from a March 2010 Participant Summary.

## Procedure Notes

All tests for which there is no external proficiency program will have one patient sample split twice a year with tests run by two technologists and the results compared.

(In January and July)

There will be no inter-laboratory communication about proficiency testing samples before submission of data to the proficiency-testing provider.  Proficiency testing specimens cannot be referred to another laboratory.

The Centers for Medicare and Medicaid Services (CMS) has directed the CAP and all CMS approved Proficiency Testing (PT) providers to change primary and secondary instrument reporting.  PT specimens cannot be run on multiple analyzers at the same time.  One instrument should be designated as the primary instrument.  If multiple instruments are used for testing, proficiency test samples can be rotated among the other instruments, but all samples for one analyte within a shipment must be tested with the same instrument.  If CAP PT is not reported for a secondary instrument, biannual correlation studies must be performed.  Refer to PT kit instructions for specific reporting information.

References:

- College of American Pathologists, Secondary Instrument Reporting, 2/12/2014.

- College of American Pathologists, All Common Checklist, 4/21/2014.

- College of American Pathologists, All Common Checklist, 7/28/15, COM.01400.

- College of American Pathologists, Laboratory General Checklist, 7/28/15, GEN.53625, GEN.53400.

| Approved By: |  |  |  |
| --- | --- | --- | --- |
|  | John J. Szczepanek, MT (ASCP) |  | Date |
| Approved By: |  |  |  |
|  | Medical Director: Thomas Gould, M.D. |  | Date |

Prepared By:  Joan M. Poutré

Adopted or Date initiated: 05/1993

Revised and effective date: 02/1995, 02/1997, 04/1997, 03/1999, 02/2000, 02/2001, 02/2003, 02/2005, 01/2007, 4/2010, 11/2010

Reviewed:

| Date | Lab Manager/Designee | Date | Lab Manager/Designee |
| --- | --- | --- | --- |

| Revision History |  |  |  |
| --- | --- | --- | --- |
| Version | Summary of Changes | Author | Date |
| 13 | Notes – paragraph 3 concerning primary and secondary analyzers | glik | 12/23/14 |
| 14 | #6 attestation signatures | glik | 9/24/15 |

Addendum A: