Laboratory Emergency Preparedness Disaster Plan

## Purpose

To develop an Emergency Disaster Preparedness Plan that allows for the continuation of laboratory services in the face of internal or external emergency situations. The laboratory disaster plan provides for expansion of services in the event of an external disaster resulting in an extreme influx of patients and the decrease of on-site testing in case of an internal disaster, i.e. laboratory unable to operate due to damage.

Policy

It is the policy of the Holyoke Medical Center Laboratory to have in place an Emergency Disaster Preparedness Plan designed to manage the consequences of natural disasters or other emergencies both external and internal to the Medical Center that may disrupt the laboratory's ability to provide services.

## Definitions

- Instrument Downtime – This refers to when STAT results will be delayed by more than a half hour due to all correlating instruments experiencing an unplanned downtime (excludes periodic maintenance).  Note: All effected testing will be sent to a reference lab during this downtime, including routine labs if the issue persists for more than 24 hours.

- Casualty - This refers to any person injured due to a disaster, either internal or external.

- Triage - This is a process of sorting casualties immediately after their arrival at the Medical Center.

- External Disaster - This refers to any event which occurs outside of the Medical Center which results in injury to a number of persons. External disaster may include anything from a large automobile accident to an airplane crash, or covering such events as tornadoes, fires, explosions, floods, etc.

- Internal Disaster - This refers to any event which occurs inside the Medical Center which either results in injury to a number of persons at the time of the disaster, or which necessitates total or partial evacuation of the Center or any interruption of vital hospital services. An internal disaster may include such events as fire, explosion, bomb threats, flooding, and tornadoes.

Code Definitions

With the exception of Code B and Code 333 (drill non-lab only), all employees must return to the laboratory.  A “Code B” does not warrant an immediate return to the laboratory.  Also refer to the “Red Folder”, Emergency Preparedness Procedures posted throughout the Hospital.

Fire Alarm (Code 333) - Whenever the fire alarm system activates, telecommunications must immediately announce the location of the fire three times over the public address system.

Code Yellow activates an alert or cautionary stage, which serves to inform medical center employees that an emergency situation is imminent. The Code Yellow requires each employee to remain in or return to their work area and await further instructions.

Code Orange officially activates the hospital's External Disaster Plan. The Code Orange announcement will be repeated three times over the public address system.

Code Black officially activates the hospital's Internal Disaster Plan.  A Code Black announcement will be repeated three times over the public address system including the exact disaster location.

Code B:  Infant Security Alarm System which, when activated, staff to a possible infant abduction. Refer to the policy Infant Security Alarm: Response To in the Administrative Policy Manual or the Code B card in red Emergency Preparedness Procedures book displayed in each laboratory area. The Laboratory’s response to a Code B situation is as follows:

- Secure all exterior exits in the immediate area.

- Laboratory personnel, as directed by the Manager in charge, are to secure the stairwell      right outside of the Blood Bank by standing at the entrance to the stairwell on the first      floor.  The door located outside of the Microbiology Department must also be secured by standing at the entrance of the door.

- Be alert. Look for anyone carrying an infant, and/or a large bundle/bag that could conceal an infant.

- If seen, detain (if it can be done safely) and immediately call Security.

- Remain on alert until Code B is canceled.

Code “Gray”:  Lockdown is to limit access to the Emergency Department and/or the Medical Center.

Designated Areas Used During a Code

Command Post- The Main Conference Room (now known as the Fran Como Conference Room) area has been designated as the Command Post for all types of "codes". Pre-designated personnel, Team Leaders will coordinate or direct disaster response activities from this location.

Triage Area- Areas in which casualties will receive an assessment of their condition, a treatment priority assignment and a destination of the area within or outside the hospital to which they are to be sent. The Emergency Department waiting area will be utilized for this purpose.

Central Labor Pool- A Central Labor Pool will be established in the cafeteria of the medical center under the direction of the President or his designee. All volunteers and hospital personnel without specific assignments within their respective departments will report to the Central Labor Pool.

## Procedure

A.   ACTIVATING THE PLAN (Receiving/Delivering of Information)

- During normal business hours, the laboratory person first learning that the Medical           Center’s Disaster Plan is in effect will immediately contact the Laboratory Manager and the Medical Director and provide him/her with all available information.

- After normal business hours, the laboratory person first learning that the Instrument Downtime/Medical Center Disaster Plan is in effect will immediately notify all staff currently working and contact the Medical Director, the Laboratory Manager, (and the Blood Bank Supervisor if needed).

- The Laboratory Disaster Plan is activated when the Laboratory Manager, Medical Director, or his/her designee based on the information available, decides that the situation will overtax or threaten the routine capabilities of the laboratory.

- GENERAL INSTRUCTIONS

The following general instructions apply to ALL DEPARTMENTS and are in addition to any specific responsibilities assigned within this plan.

- All breaks and meals are immediately canceled until rescheduled by the Laboratory and/or senior departmental staff member, as workloads permit.

- Personnel completing their shift are not to leave until the alert is over OR until given permission by their supervisor. This applies to full alerts, standby alerts and drills.

- ALL PERSONNEL shall immediately report to their department for assignment as required per code type.

- The senior person present in each department shall obtain the disaster manual and make assignments as appropriate to the situation.

- It is the responsibility of the senior person present in each department to ensure that their department is adequately staffed to meet the situation. Call lists with the current phone numbers of all departmental staff must be kept in each department office, each department head's home and in the home of a designated employee.

- If the Laboratory Manager is not on the Medical Center’s grounds, the senior person in the department shall notify him/her immediately, as well, as the Medical Director (and the Blood Bank supervisor if needed). The need to call in additional staff using the laboratory "Disaster Call List" will be made by the Laboratory Manager in conjunction with the Command Post Team Leader.

*** The following steps of this section are not needed for an Instrument Downtime***

- The Laboratory shall determine how much staff can be spared and then send one person from the laboratory to the Central Labor Pool with a listing of the names and job titles of all available staff who could report to the Central Labor Pool for disaster duties, if needed. These persons shall remain in the Central Labor Pool area for assignment or until released by the Team Leader assigned to that area.

- Print the AVAILABILITY DURING DISASTER list from the Access database.

(Access>Lab>Public>LABSTAFF.mdb>Reports)

- Mark lab personnel on site as “AVAILABLE  to POOL” or “AVAILABLE IN

“DEPARTMENT”.  This is dependent on the type of disaster and the quantity of patients.

- Mark other personnel as “CALL” and start calling if it is a “REAL” disaster.

- List on site clerical personnel as “CALL” or start calling if it is a “REAL” disaster

- Take a copy of the list to the Command Post with the RC Blood availability List.

- Requests for additional staff from the Pool should be made by dialing extension 5284 or 5285 or by sending a written message to the Command Post.

- Telephone use and paging is restricted to essential business during a disaster alert.

- Use of all elevators will be restricted to disaster functions.

- Full Alerts- During a full alert, all portions of this plan will be put into effect immediately.

- Standby Alerts- If the initial announcement is for a standby alert, all staff will report to their department, disaster supplies shall be put into place and all departments shall report available staff to the Command Post Leader. Staff may then return to their normal work until a FULL ALERT is called, the alert is canceled or other instructions are issued.

- Recalled staff shall enter the hospital through the Personnel/Human Resources door. All personnel should have their identification badge with them at all times. In a disaster situation, it may be needed to identify you as a hospital employee.

C.  INSTRUMENT DOWNTIME

  - Adhere to bullets 1-6 of General Instructions.

  - Call the courier service to have a courier on standby.

  - Call the House Supervisor and Emergency Department Manager/Charge Nurse to notify them of the potential significant delay.

  - Call Baystate Medical Center to let them know we will be sending our affected labs.

  - Fill out appropriate Baystate Reference Lab Paperwork.

NOTE: Only send the testing affected and perform all other testing in house.

  - Pour off a portion of original sample into a secondary tube and label it appropriately.

  - Hold primary tube for further testing not affected by Instrument Downtime.

  - Call for further support from oncoming shift if needed and if the downtime exceeds 1 hour.

  - Print and enter results not affected by the instrument downtime using department specific downtime procedures.

  - Enter results into LIS as they return from Baystate Reference Labs using department specific downtime procedures.

D.  INTERNAL DISASTER (If the laboratory is evacuated)

- The Phlebotomy Department shall operate out of an area designated by the Command Center Leader.

- The senior person shall contact the Laboratory Manager or senior person on duty at Baystate Medical Center to alert them of the situation.

- Routine and STAT work will be sent to Baystate Medical Center.

- The senior person present shall determine which equipment must be moved to a safe location and in what order it should be moved.

- The Blood Bank Supervisor, in conjunction with the Command Center Leader will determine the necessity of relocating the Blood Supply. If this is deemed appropriate, the supply shall be moved to the Baystate Medical Center Blood Bank with the assistance of the Materials Management Department.

- Personnel not required for testing shall be sent to the Central Labor Pool in the   Cafeteria.

E. EXTERNAL DISASTER

- Two Phlebotomists shall report immediately to the Emergency Department "Proper" with Phlebotomy Trays.

- Upon arrival in the Emergency Department the Phlebotomists will "draw" patients in order of priority as directed by the Registered nurse in charge of each specified area.  The charge nurse will be identified by a bright red name tag stating R.N. Coordinator.  The specified areas are The Emergency Room "Proper" where all Red Priority patients will be seen and the other area where second category patients are located.

- Patients will be identified by the numerical number initially given at triage and all patients will be issued a Blood Bank wristband for proper identification.

- The pneumatic tube system will be used to deliver most specimens and a "runner" from the Labor Pool will be utilized to deliver other specimens as needed.

- All initial equipment and supplies will be provided by Laboratory personnel with additional supplies coming from the open stock in the Emergency Department.  Should additional supplies be needed, a "runner" from the Labor Pool will be utilized.

6.	Blood Bank personnel will be contacted using the call chain and may be placed on standby or be asked to report to work as the situation demands. Please refer to the Blood Bank Disaster Plan, Policy 410.PRM1.1.01, for further instructions regarding Blood Bank.

7.  	The senior member of the Lab staff, in conjunction with the Disaster Command   Post, will determine the staffing requirements and assign extra personnel to the Central Labor Pool.

APPROVAL

|  |  | Date |
| --- | --- | --- |
| Approved By: | Jon W. Gronbach M.A., M.L.S. (ASCP) |  |
| Replaces: |  |  |
| Approved By: | Dr. Thomas Buck, Medical Director |  |

REVISION HISTORY

| VERSION | CHANGES | AUTHOR | DATE |
| --- | --- | --- | --- |
| 06 | Document new format | TEMPLB | 01/04/2021 |
| 07 | Included instrument downtime | GRONBJ | 09/2021 |