RHJ VAMC

POCT Competency Assessment  DCA VANTAGE A1C

oSemiannual  oAnnual      (Waived Testing)

Date________________________

| SKILLS OBSERVED AND EVALUATED | Met | Unmet | INDIVIDUAL INFORMATION |
| --- | --- | --- | --- |
| 1. Patient test performance: 1a.Observe routine patient test performance; including patient ID and specimen collection. |  |  | OPERATOR NAME (printed): |
| 1b. Observe proper handling of DCA cartridge |  |  | OPERATOR SIGNATURE: |
| 1c. Observe proper insertion of sample to cartridge. |  |  | OPERATOR I.D |
| 2. Review Records of QC & PT: During the year, Operator has demonstrated competency for QC and Proficiency Testing performance. | * |  | *Quality Control and Proficiency Testing records are reviewed by POCT Coordinator throughout the year. |
| 4 Maintenance: Demonstrates ability to perform weekly maintenance. (Superusers Only). |  |  |  |
| 5. Evaluation of Problem Solving Skills: 5a.States the location of the DCA procedures and attests they have read it in the current year. |  |  | One or more of the skills parameters 1-6 must be met in order to continue use of I-Stat. |
| 5b. States corrective actions to take if Quality Control fails or Error Codes are displayed. |  |  |  |
| Written Assessment: Score- | Pass | Fail | See attached. |
| OBSERVER NAME: ______________________ SIGNATURE:__________________________ OBSERVER COMMENTS: |  |  |  |