## Slide 1: GMP Lite 2021 Quick Quality Review for the AHC BB
February 2021

## Slide 2: Definition of Quality
“The degree of excellence.”
Is the primary goal of blood centers and transfusion services, in all aspects of care and services.
Is everyone’s job - all the time.
Notes: Dictionaries define quality as “the degree of excellence.”
Quality, in all aspects of care and services, is the primary goal of blood centers and transfusion services.
Quality, safety, and effectiveness must be built into a product.
Quality cannot be inspected or tested into a product.
Each step in the process must be controlled to meet quality standards.
AABB: Quality programs encompass quality control (QC), quality assurance (QA), and quality improvement into a broad-based program that ensures application of quality principles throughout the operational areas of an organization.
Textbook calls this program Quality Management, which includes Quality System, Quality Assurance, and Quality Control.

## Slide 3: QC v. QA: Example
QC Activity
  Microhematocrit centrifuge daily QC performed and in range.
QA Activity
  All donors who donate have microhematocrit levels within range and information is documented on the donor card.
Notes: If the microhct result is missing from the card, and we distribute the product, this is a FDA Reportable Event.

## Slide 4: Total Process Control
Process – a set of interrelated resources and activities that transforms inputs into outputs. Example: Flowchart
Process control – the set of activities that ensures that a given process will keep operating in a state that is continuously able to meet process goals without compromising the process itself.

## Slide 5: Purpose of Quality Assurance
Prevent rather than correct errors.
Evaluate the process through “root cause analysis” to uncover cause of error.
Eliminate “weak links” in the chain.
Notes: FDA wants a QA unit to ensure:
a decrease in errors
the credibility of test results
the implementation of effective manufacturing process and system controls
product safety and quality

## Slide 6
Blood is a Drug
Regulated like a Pharmacy

## Slide 7: FDA ORGANIZATIONS
CDER – Center for Drug Evaluation and Research – regulates drugs
CDRH – Center for Device and Radiological Health – regulates medical devices
CBER – Center for Biologic Evaluation and Research – regulates biologics
Advisory Committees (i.e., BPAC) – scientific/industry input

## Slide 8: FDA INSPECTIONS
FDA Inspections
  Unannounced and only required for licensed facility
  Form 482 – Notice of Inspection
  Form 483 – Inspectional Observations
    Opportunity for voluntary correction
    Regulatory/Administrative sanctions – jeopardize licensure
      Warning letter – continued pattern of noncompliance
      License suspension – prevent interstate commerce
      License revocation – lengthy process
    Legal/Judicial sanctions
      Seizure – condemn product, take physical possession
      Consent degree – mutual agreement between facility and court
      Injunction – court ordered prohibiting operations
      Prosecution – criminal action against firm/individuals

## Slide 9: AABB QUALITY ESSENTIALS
Developed by AABB in 1997
Response to FDA 1993 Draft Guidelines for Quality Assurance in Blood Establishments (Final Guidance 1995, now 21 CFR 211 & 606)
Consistent with ISO 9000 Standards
First appeared in Tech Manual (1999 13th Ed)
AABB Standards (1997 18th Ed.)

## Slide 10: Requirements for Quality in Today’s Blood Center and Transfusion Services = Quality System Essentials

## Slide 11: QSE # 1: Organization
Facility Management
  Organized to promote effective quality management system
  Organizational structure must clearly define responsibilities for the provision of blood, blood components, products, and services
  Clearly identifies responsibilities of key personnel
Quality Plan
Notes: AABB Quality System Essentials (QSEs) were developed to be consistent with ISO standards and FDA Guidelines for Quality Assurance in Blood Establishments. QSEs are compatible with ISO 9000 standards.
There are Ten QSEs.
The institution must develop a quality plan.

## Slide 12: QSE # 2: Resources
Must have appropriate education, training, and experience to ensure competent performance of assigned duties - job descriptions
Training program
Competency program
Notes: Training program should include facility-specific requirements, safety, blood-borne pathogens, security, cGMP training, technical training.
Competency evaluations are done to ensure staff are maintaining necessary skills. Done at 6 months from hire, then annually.
Competency program could include, written evaluations, direct observation of test procedures, review of work records or reports, computer records and/or QC/QA records, testing of unknown samples, and evaluation of the employee’s problem-solving skills.
Competency must also be assess 6 months after new procedures or tests are introduced, annually thereafter.

## Slide 13: CLIA Job Descriptions
CLIA Role | High Complexity Testing | Moderate Complexity Testing | Lab Role
CLIA Lab Director | x | x | Path Lab Medical Director
Technical Supervisor/Technical Consultant | x |  | Blood Bank Medical Director
General Supervisor | x | x | All MT II Can complete observed competency
Lab Personnel - Testing | x | x | MT II MT I
Lab Personnel – Lab |  | X | LA II

## Slide 14: CLIA Competency
The CMS defines a well-structured competency assessment program to be inclusive of six (6) evaluation types. These can be found in the CMS's Clinical Laboratory Improvement Amendments (CLIA) and include:
  Direct observation of routine patient testing
  Monitoring the recording and reporting of test results
  Review of intermediate test results, records, and proficiency testing results
  Direct observation of instrument maintenance and function checks
  Assessment of test performance through testing previously analyzed specimens, internal blind testing samples or external proficiency testing samples
  Assessment of problem solving skills

## Slide 15: CLIA Competency Timing
New Lab Professional
  Initial Competency
  6 month Competency
  12 month Competency
After one year as a Lab Professional in the current lab role
  Annual Competency

## Slide 16: QSE # 3: Equipment
Validation, calibration, and PM must be established for any equipment used in provision of blood, components, and services.
Establish QC and PM schedules
Installation of new equipment coordinated through QA
Notes: Installing new equipment requires a plan for installation, calibration and validation.
Must have a list of all critical equipment. Must keep track of preventative maintenance (PM), repairs, and calibrations.

## Slide 17: QSE # 4: Supplier and Customer Issues
Products used in the collection, testing, processing, holding and distribution of blood that have the potential to affect the quality of blood must be purchased from suppliers who meet requirements.
  Supplier Qualification
  Agreement Review
  Prior to use, incoming supplies and critical materials must be inspected and tested to ensure they are satisfactory for their intended use.
  Customer’s Needs Addressed
Notes: Must have a list of suppliers of critical materials or services. This is essential to be in control of the quality of suppliers’ products or services. Must have clearly defined functional requirements or expectations. Documented failures of suppliers to meet these expectations should result in immediate action to correct the problem. Reviewing this documentation will alert management to trends, if any, or will prove the stability of a supplier.
Agreements should be reviewed to ensure that all parties’ expectations are defined and in agreement.
Any supplies used in the collection, preservation, testing, and storage of blood and blood components meet or exceed FDA regulations. Documentation of receipt allows us to trace supplies from the time we took control of it. Inspecting supplies allows us to determine if it meets our acceptance requirements. Can include reagents, equipment, blood and blood components.

## Slide 18: QSE # 4: Process Control
Process Control
  Each facility must have a method in place to ensure that process steps are accomplished as expected and are performed in a manner consistent with defined procedures.
Notes: Most encompassing QSE, relates to the functions of the laboratory. Divided into three parts.

## Slide 19: QSE # 6: Documents and Records
Documents (policies, process description, and procedures) must be identified, approved, implemented, and retained.
Document Types
  Level I: Policies - “What to do”
  Level II: Processes - “How it happens”
  Level III: Procedures (SOPs) - “How to do it”
  Level IV: Forms, Records, Supporting Documents, Data
Notes: This QSE is closely related to Process Control. Must have a well developed plan to control forms. Traceability and retrievability are key elements of control.
Level I: Quality policy manual or quality program. States the facility’s quality policy.
Level II: Overall processes to give an idea of the flow of information. Quality SOPs.
Level III: SOPs
Level IV: Blank forms, paper or electronic. Completed forms become records.

## Slide 20: QSE # 7: Deviation, Non-Conformance and Adverse Events
Must have a process in place to capture and assess incidents, errors, and accidents (occurrences).
Occurrences
  Types
  Reporting
  Investigation and Corrective Action
FDA Reportable Events
  Document to FDA as Blood Product Deviation
  Significant Root Cause Analysis should be performed and implementation of applicable Corrective Actions.
Deviations are
Not punitive.
These area areas of improvement and quality for the blood bank
Notes: Occurrence Management Program.
FDA Reportable events (distributed products):
post donation information
donor screening
donor deferral

## Slide 21: QSE # 8: Assessments
Internal
  Audits
  Competency assessment
External
  AABB Inspection
  CAP Inspection
  FDA Inspection

## Slide 22: QSE # 9: Process Improvement
Done when an inappropriate practice is identified from an audit or assessment
Response to Internal and External Complaints
Occurrence trends showing areas which are in need of improvement

## Slide 23: QSE # 10: Facilities and Safety
Safe workplace
  Adequate environmental controls
  Emergency procedures
    Disaster preparedness
    Chemical safety
    Biologic safety
    General safety
    Radiation safety
Notes: Multiple federal, state, and local agencies have regulation addressed in this QSE.
Annual Standards are published that specifically define elements under each QSE that must be followed by blood establishments.

## Slide 24: GMP Lite 2020 Summary
Review of Quality
Define FDA and AABB terms
Review of QSE
  10 QSE
  Highlight CLIA requirements