Date:	_3/23/23

Affected SOPs: _ Multiple SOPs

Description:

The use of Echo and Neo instruments was discontinued in July 2022.  Currently, many SOPs refer to Echo and Neo.  The team should not refer to any Echo steps in current SOPs until this can be updated to remove Echo and Neo from our SOP pool.

Many steps refer to our Vision SOPs and replace any steps referred to testing by Echo or Neo.

Summary of Changes:

Multiple SOPs refer to the use of the Echo or Neo analyzer.

Any SOP that refers to the Echo or Neo cannot be followed as written.

In most cases, in any SOP which refers to the use of Echo or Neo should be disregarded, and the team should follow the current SOP for the use of the Vision or other current manual testing SOPs.

Implementation of Change

The team will receive training via MTS.

SOPs will be updated and implemented with the removal no later than September 2023.

Jayanna Slayten	3/23/23

BB Supervisor						Approved By:  BB Medical Director

Jayanna Slayten, MS, MT(ASCP)SBBcm