Instructions for Use: The date of each activity must be entered in the table. Add the initials of the operator in the box to document completion of the task(s).

| FACILITY |  | INSTRUMENT serial number And Instrument Name |  | MONTH/YEAR |  |
| --- | --- | --- | --- | --- | --- |

| Daily Maintenance DATE | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Daily Probe Maintenance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Perform Liquid System Monitoring (empty waste and re-fill saline) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Rotate Diluent and Reagent RBC(24 Hrs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Verify Health Check Report (Status OK) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Run Daily QC ABORH, ABO3CELL, DONOR RETYPE, ABORH2, 3CELL, Weak D, Weak D2 and Buffered Gel Card |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No Testing Performed on the Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Daily Quality Control Peer Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Weekly MAINTENANCE | Week 1 |  | Week 2 |  | Week 3 |  | Week 4 |  | Week 5 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operator notation: | Operator | Date | Operator | Date | Operator | Date | Operator | Date | Operator | Date |
| 1. Liquid System Decontamination and Pump Test |  |  |  |  |  |  |  |  |  |  |
| 2. Perform Archive Backup |  |  |  |  |  |  |  |  |  |  |
| 3. Weekly Instrument Cleaning |  |  |  |  |  |  |  |  |  |  |

| Monthly / Periodic MAINTENANCE | Operator | Date |
| --- | --- | --- |
| Monthly Instrument Cleaning |  |  |