## Sheet1
Employee Name_____________________________ |  |  |  | Job Title________________ |  |  |  Initial □ 6-month ■ 12-month □ Annual |  |  |  |  | Employee Name_____________________________ |  |  |  | Job Title________________ |  |  |  Initial  6-month  12-month ■ Annual |  |  |  |  | Employee Name_____________________________ |  |  |  | Job Title________________ |  |  |  Initial  6-month  12-month ■ Annual
Element | List Applicable Test Systems | ABL | EXL | FFN | miniVidas | BHB Meter | iStat | HIV | Osmometer | Centaur CP |  | Element | List Applicable Test Systems | [10 empty] | Element | List Applicable Test Systems
|  | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials |  |  | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials |  |  | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials
1 | Observe Patient ID/Prep | [10 empty] | 1 | Observe Patient ID/Prep | [10 empty] | 1 | Observe Patient ID/Prep
1 | Observe Specimen Collection | NA | NA | NA | NA | NA | NA | NA | NA | NA |  | 1 | Observe Specimen Collection | [10 empty] | 1 | Observe Specimen Collection
1 | Observe Handling/Processing | [10 empty] | 1 | Observe Handling/Processing | [10 empty] | 1 | Observe Handling/Processing
1 | Observe Testing | [10 empty] | 1 | Observe Testing | [10 empty] | 1 | Observe Testing
2 | Reporting Criticals |  |  | NA | NA | NA |  | NA | NA | NA |  | 2 | Reporting Criticals | [10 empty] | 2 | Reporting Criticals
2 | Reporting Normals | [10 empty] | 2 | Reporting Normals | [10 empty] | 2 | Reporting Normals
3 | Review Intermediate Test Results | [10 empty] | 3 | Review Intermediate Test Results | [10 empty] | 3 | Review Intermediate Test Results
3 | Review Quality Control | [10 empty] | 3 | Review Quality Control | [10 empty] | 3 | Review Quality Control
3 | Review Preventative Maintenance | [10 empty] | 3 | Review Preventative Maintenance | [10 empty] | 3 | Review Preventative Maintenance
3 | Review Proficiency Testing | [10 empty] | 3 | Review Proficiency Testing | [10 empty] | 3 | Review Proficiency Testing
4 | Observe Instrument Maintenance | [6 empty] | NA |  |  |  | 4 | Observe Instrument Maintenance | [10 empty] | 4 | Observe Instrument Maintenance
5 | Assess Proficiency Testing | [10 empty] | 5 | Assess Proficiency Testing | [10 empty] | 5 | Assess Proficiency Testing
| Assess Previously Analyzed Specimens | [11 empty] | Assess Previously Analyzed Specimens | [11 empty] | Assess Previously Analyzed Specimens
6 | Evaluate Problem Solving | MTS | MTS | MTS | MTS | MTS | MTS | MTS | MTS | MTS |  | 6 | Evaluate Problem Solving | [10 empty] | 6 | Evaluate Problem Solving
Proven Competent Yes/No | [11 empty] | Proven Competent Yes/No | [11 empty] | Proven Competent Yes/No
I have had the opportunity to review and ask questions about policies and procedures related to equipment and testing above. | [6 empty] | Employee Signature ______________________________ Date _______________ |  |  |  |  | I have had the opportunity to review and ask questions about policies and procedures related to equipment and testing above. | [6 empty] | Employee Signature ______________________________ Date _______________ |  |  |  |  | I have had the opportunity to review and ask questions about policies and procedures related to equipment and testing above. | [6 empty] | Employee Signature ______________________________ Date _______________
This employee is deemed to be competent to perform unsupervised patient testing in the above test systems. | [6 empty] | Director/Designee Signature ________________________ Date _______________ |  |  |  |  | This employee is deemed to be competent to perform unsupervised patient testing in the above test systems. | [6 empty] | Director/Designee Signature ________________________ Date _______________ |  |  |  |  | This employee is deemed to be competent to perform unsupervised patient testing in the above test systems. | [6 empty] | Director/Designee Signature ________________________ Date _______________
| Improvement Plan: This employee needs additional training and is restricted from performing patient testing unsupervised. Action Plan and timeline for follow-up are listed below. | [11 empty] | Improvement Plan: This employee needs additional training and is restricted from performing patient testing unsupervised. Action Plan and timeline for follow-up are listed below. | [11 empty] | Improvement Plan: This employee needs additional training and is restricted from performing patient testing unsupervised. Action Plan and timeline for follow-up are listed below.
| Failed Test System | Required Completion Date | Procedure Discussed | Practiced with Known | Direct Observation of Testing | Other Actions as Described | Proven Competent Yes/No | [5 empty] | Failed Test System | Required Completion Date | Procedure Discussed | Practiced with Known | Direct Observation of Testing | Other Actions as Described | Proven Competent Yes/No | [5 empty] | Failed Test System | Required Completion Date | Procedure Discussed | Practiced with Known | Direct Observation of Testing | Other Actions as Described | Proven Competent Yes/No
|  | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | [6 empty] | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | [6 empty] | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials | Date & Initials
| Employee Signature______________________________ Date_______________ |  |  |  | Director/Designee Signature______________________________ Date_______________ | [7 empty] | Employee Signature______________________________ Date_______________ |  |  |  | Director/Designee Signature______________________________ Date_______________ | [7 empty] | Employee Signature______________________________ Date_______________ |  |  |  | Director/Designee Signature______________________________ Date_______________