## Slide 1: Tarrant County Public Health North Texas Regional Laboratory 2020 TNI Ethics and Data Integrity Requirements and Training

## Slide 2: Training Objectives
Be familiar with TNI related regulations
Define Ethics
Why is Ethical Behavior Important
Define Laboratory Fraud and Improper Laboratory Practice
Identify what constitutes unethical behavior and the penalties that accompany such behavior
Consequences of Improper Practices
Identify the employees’ responsibility
Identify the employers’ responsibility
Examples of Improper Practices

## Slide 3: 2016 TNI Standard
What does the 2016 TNI Standard say about Data Integrity and Ethics in the Laboratory?

## Slide 4
2016 TNI Standard
Vol 1 Mod 2: 4.2.8.1
Data Integrity Policy
The laboratory shall establish and maintain data integrity procedures. These procedures shall be defined in detail within the quality manual. There are four required elements within a data integrity system. These are 1) data integrity training, 2) signed data integrity documentation for all laboratory employees, 3) periodic, in-depth monitoring of data integrity, and 4) data integrity procedure documentation. The data integrity procedures shall be signed and dated by top management….
Management shall annual review data integrity procedures and update as needed.

## Slide 5
2016 TNI Standard
Vol 1 Mod 2: 4.2.8.1 a
Data Integrity System
Laboratory management shall provide a procedure for confidential reporting of data integrity issues in their laboratory. A primary element of the procedure is to assure confidentiality and a receptive environment in which all employees may privately discuss ethical issues or report items of ethical concern.

## Slide 6
2016 TNI Standard
Vol 1 Mod 2: 4.2.8.1 b
Data Integrity System
In instances of ethical concern, the procedure shall include a process whereby laboratory management is to be informed of the need for any further detail investigation.

## Slide 7
2016 TNI Standard
Vol 1 Mod 2: 4.14 Internal Audits
The laboratory shall periodically, and in accordance with a predetermined schedule and procedure, conduct internal audits of its activities to verify that its operations continue to comply with the requirements of the management system and thin International Standard…
…the laboratory shall take timely corrective action and shall notify customers in writing if investigations show that the laboratory results may have been affected.
…audit findings and corrective actions that arise from them shall be recorded.
…Follow-up audit activities shall verify and record the implementation and effectiveness of the corrective action taken.

## Slide 8
2016 TNI Standard
Vol 1 Mod 2: 5.2.7 Data Integrity Training
Data integrity training shall be provided as a formal part of new employee orientation and shall also be provided on an annual basis for all current employees. Employees are required to understand that any infractions of the laboratory data integrity procedures will result in a detailed investigation that could lead to very serious consequences including immediate termination, debarment or civil/criminal prosecution. The initial data integrity training and the annual refresher training shall have a signature attendance sheet or other form of documentation that demonstrates all staff have participated and understand their obligations related to data integrity.

## Slide 9
2016 TNI Standard
Vol 1 Mod 2: 5.2.7 Data Integrity Training
Data integrity training requires emphasis on the importance of proper written narration on the part of the analyst with respect to those cases where analytical data may be useful, but are in one sense or another partially deficient. The topics covered in such training shall be documented in writing and provided to all trainees.

## Slide 10
2016 TNI Standard
Vol 1 Mod 2: 5.2.7 Data Integrity Training
At a minimum, the following topics and activities shall be included:
organizational mission and its relationship to the critical need for honesty and full disclosure in all analytical reporting, how and when to report data integrity issues, and record keeping;
training, including discussion regarding all data integrity procedures;
data integrity training documentation;
in-depth data monitoring and data integrity procedure documentation;
specific examples of breaches of ethical behavior include improper data manipulations, adjustments of instrument time clocks, and inappropriate changes in concentrations
of standards.

## Slide 11
2016 TNI Standard
Vol 1 Mod 2: 5.2.7
Data Integrity Training
The data integrity procedures may also include written ethics agreements, examples of improper practices, requirements for external ethics program training, and any external resources available to employees.

## Slide 12: What does TCPH/NTRL say about Data Integrity and Ethics in our Quality Policy Statement?
The objective of the quality system and the commitment of management is to consistently provide our customers with data of known and documented quality that meets their requirements. Our policy is to use good professional practices, to maintain quality, to uphold the highest quality of service, and to comply with the TNI Standard. The laboratory ensures that personnel are free from any commercial, financial, and other undue pressures, which might adversely affect the quality of work. This policy is implemented and enforced through the unequivocal commitment of management, at all levels, to the Quality Assurance (QA) principles and practices outlined in the Quality Manual. However, the primary responsibility for quality rests with each individual within the laboratory organization. Every laboratory employee must ensure that the generation and reporting of quality analytical data is a fundamental priority. Every laboratory employee is required to familiarize themselves with the quality documentation and to implement the policies and procedures in their work. All employees are trained annually on ethical principles and procedures surrounding the data
that is generated. The laboratory maintains a strict policy of client confidentiality.

## Slide 13
Laboratory Management
acknowledges their support of
these policies and procedures by:
1) upholding the spirit and intent of the organization’s
data integrity and ethics procedures, and
2) effectively implementing the specific requirements of
the procedures.

## Slide 14: Important Terms To Know and Understand:
Ethics
Data Integrity
Laboratory Integrity
Improper Practice
Laboratory Fraud
Laboratory Deficiency
Data Monitoring

## Slide 15: Ethics Defined
A system of moral principles governing the appropriate
conduct for a person or group.
Doing the right thing.
Being honest and straightforward; not lying or cheating.
Having a personal and professional code of conduct that
you live by.

## Slide 16: Why Act Ethically
Your personal reputation and the reputation of our lab depends upon it
Decisions we make as laboratory professionals affect the environment and the lives of others
Acting ethically can enrich your work life as well as your home life
The penalties for misconduct for you and the lab can be substantial

## Slide 17
Data Integrity Defined
A highly ethical approach to testing
Data of known and documented quality
Authentic data

## Slide 18: Why is a Data Integrity Policy/Procedure needed?
Innocently incompetent
  Tech does not know they are compromising
  data integrity, i.e. improper training
Consciously competent
  Tech knows required procedures, but does
  not think it will affect results, i.e. taking
  short-cuts on incubation times

## Slide 19: Causes/Factors Related to Data Integrity Issues Production pressure Conflicts of interest Lack of awareness Lack of communication Misinterpretation of method requirements Personality and attitude Financial stability

## Slide 20
  Inadequate training and/or education
  Poor workload management
  Inadequate documentation and document control
  Unclear roles/responsibilities
  Inadequate procedures for addressing ethical dilemmas
  Inadequate oversight
  Unethical behavior: the consciously competent analyst
Root Causes Related
to Data Integrity Problems

## Slide 21
Laboratory Integrity Defined
The laboratory’s meeting general standards of
objectivity, data quality, and ethical behavior,
thus reporting accurate, complete, and valid
information.

## Slide 22
Laboratory Deficiency Defined
A deviation from acceptable procedures or practices; a defect in an item; non-conformance with a specification.

## Slide 23
Laboratory Fraud Defined
The deliberate falsification and reporting of
analytical and quality assurance results that failed
method requirements and/or contractual
requirements to make them appear to have passed
these established parameters.

## Slide 24
Improper Practice Defined
A scientifically unsound or technically unjustified omission, manipulation, or alteration of procedures
or data that bypasses the required quality control
parameters, making the results appear acceptable.

## Slide 25: What makes an Improper Practice Fraud?
Fraud is purposeful and intentional.
Fraud is not a mistake.
Fraud is an intentional misrepresentation of lab
data to HIDE known or potential problems.
Fraud makes data look better than it really is, with the intent to deceive.
Sometimes the difference between fraud, improper practice and an honest mistake is simply lack of proper documentation.

## Slide 26: Why Talk about Improper Practices and Fraud?
Requirement of TNI accreditation
The EPA Office of Inspector General (OIG) has shown
increased interest in the investigation of laboratory
misconduct.
The number of fraud cases investigated by OIG
continues to increase each year

## Slide 27: Possible Regulations/Statutes Used for Fraud Prosecution
False Claims – 18 USC 287
False Statements – 18 USC 1001
Mail Fraud - 18 USC 1341
Wire Fraud - 18 USC 1343
Conspiracy to Defraud - 18 USC 371
Concealment of Felony (Misprision) - 18 USC 4
Obstruction of Justice - 18 USC 1505

## Slide 28
What are the Possible
Legal Actions in Fraud Cases?
Suspension/Termination
Disbarment
Civil Prosecution
Criminal Prosecution

## Slide 29: What are the Penalties for Conviction of Fraud?
Mail Fraud, Wire Fraud, Conspiracy, and
Obstruction of Justice: Up to 5 years prison
and/or $500,000 fine.
Concealment of a Felony: Up to 3 years prison
and/or $500,000 fine.

## Slide 30: Examples Prosecuted Cases of Unethical/Inappropriate Actions
Case 1: August 2013; Jackson, MS
On August 26, 2013, Tennie White, the owner and operator of an environmental laboratory located in Jackson, Mississippi, was sentenced to forty (40) months in prison with three years of supervised release thereafter, a $1,000.00 fine and a $100.00 special assessment, by U.S. District Judge Henry T. Wingate, in connection with her conviction for faking laboratory testing results and lying to federal investigators. White was hired to perform laboratory testing of a client’s industrial process waste water samples and then to use those results to complete monthly discharge monitoring reports for submission. Trial evidence was presented that White created a discharge monitoring report (“DMR”) for each of the months October, November and December 2008 that falsely represented that laboratory testing had been performed on samples when no such testing had been done.

## Slide 31: Examples Prosecuted Cases of Unethical/Inappropriate Actions
Case 2: April 2011; Douglassville, PA
Blue Marsh Laboratories, Inc., and its president, laboratory director and owner Michael McKenna, were charged with 84 counts of fraud and false statements in connection with environmental laboratory testing. The indictment alleges that defendants Blue Marsh and McKenna caused environmental test reports to be prepared and mailed to customers which falsely stated that the proper EPA methods for analysis were being performed when, as the defendants knew, the EPA Methods for testing and analysis were not being followed and the results were false, inaccurate and unreliable. If convicted of the charges, the defendant McKenna faces a substantial term of imprisonment, a $22,000,000 fine, 3 years supervised release, mandatory restitution, and a $8,400 special victims/witness assessment.

## Slide 32: OIG – Areas of Concern
Data manipulation
Failure to follow SOPs/reference methods
Falsifying existing data
Improper calibration
Inadequate training
Inappropriate collection process
Incomplete record keeping
Mislabeled samples
No demonstration of competency
Overwriting files: peak shaving, juicing/peak enhancing, deleting
No requirements for collector
Reporting data for samples not analyzed
Retention times not assured
Sample integrity unknown
Selective use of QC data
Sequencing analysis
Spiking samples after preparation
Time travel( changing times and dates
Source: EPA OIG expert panel

## Slide 33
Types of Improper Practices
 Fabrication of data or other information
 Misrepresentation of QC sample results
 Improper date/time setting
 Improper calibration and verification
 Unwarranted sample dilution
 Deletion of non-compliant data
 Improper alteration of analytical conditions
 Unwarranted manipulation of computer software
 Concealment of known problem

## Slide 34
Improper Practice:
Fabrication of data or other information
Creating information that is not true
Creating data for an analysis that was not performed
Creating information for a sample that was not collected
Claiming ownership for work performed by external analysts,
equipment, and /or facilities
Cutting and pasting reports and support data
  Examples:
  Subcontracting PT samples
  Creating Chain of Custodies without sample
  possession
  Filling in logbooks for audits
  “Reappearing” QC results
  Recording autoclave conditions before starting
  the process

## Slide 35
Improper Practice:
Misrepresentation of QC Results
Improper processing or reporting QC of samples
Examples:
  Documenting QC results not performed
  Failing to prepare blanks, spikes, PT samples or standards in the same manner as samples

## Slide 36
Improper Practice:
Improper Date/Time Setting
Altering the recorded times that samples were collected, extracted, or analyzed
Examples:
  Resetting instrument clocks to make it appear that a sample was analyzed within holding time
  Altering dates/times on printouts and/or screen printing to make analyses appear to meet regulations

## Slide 37
Improper Practice:
Improper Calibration/Verification
Any technically unsound deviation from proper calibration techniques
Examples:
  Recording results for pH meter calibrations that are not performed
  Performing multiple calibration runs or QC analyses until they pass without any corrective action taken
  Representing previous initial calibration data as current
  Recording as acceptable QC results that did not meet specified ranges or reactions.

## Slide 38
Improper Practice:
Data File Substitution/Modification
Substituting previously generated analyses
for a non-compliant calibration, QC runs or
sample runs
Examples:
  Reusing historical initial calibration data and representing it as current
  Changing sample IDs in the data files

## Slide 39
Improper Practice:
Unwarranted Sample Dilution
Diluting samples or blanks without explanation,
often to the point of eliminating target analyte
responses
Example:
  Diluting a sample to reduce coliform counts or diluting samples to make chlorine residuals acceptable for testing.

## Slide 40
Improper Practice:
Deletion of Non-Compliant Data
Deleting non-compliant analytical results for calibrations, QC samples or blanks
Failing to record non-compliant data for these samples
Examples:
  Deleting common laboratory contaminant results from method blanks
  Recording only those results that work in the
  laboratory QC log.

## Slide 41
Improper Practice:
Improper Alteration of Analytical Conditions
Changing analytical or instrument conditions for standards or QC samples from those specified in the method or SOP
Example:
  Failing to run samples and standards under the same conditions

## Slide 42
Improper Practice:
Concealment of a Known Problem
Concealing a known sample problem or QC failure
Concealing an unethical or improper practice
Examples:
  Failure to discuss and document QC failures
  Failure to reject unacceptable samples, i.e. short volumes, high chlorine residuals
  Failure to report and resolve equipment malfunction issues

## Slide 43
Importance of the
Quality System
  An effective Quality System is critical to a laboratory’s timely detection, correction, and deterrence of improper practices
  An ineffective Quality System can allow shortcuts and improper practices to occur and to go unnoticed

## Slide 44
Quality System Vulnerabilities
Any aspect of a Quality System that allows improper practices to occur and to go undetected
Weaknesses in the following areas:
  Management commitment to data integrity
  Resources
  Qualifications and training
  Supervision and oversight
  Preventive and corrective actions
  Document control

## Slide 45: Quality Systems, Data Integrity, and Internal/External Audits
A good quality system will include internal self-audits as well as external regulatory audits
During any auditing process, all components of the quality system will be reviewed for accuracy, completeness, and compliance with the methods of testing listed and the policies/procedures documented.

## Slide 46
It is a warning sign.
An observation that indicates the potential for, or leads one to suspect, system vulnerabilities or improper practices.
What is a Red Flag during an Internal or External Audit?

## Slide 47
Examples of Red Flags During an Audit That May Indicate Data Integrity and/or Ethics Problems

## Slide 48
Lack of a data integrity policy or statement for the laboratory
Lack of a no-fault mechanism for reporting problems
Emphasis on production over quality
Red Flag #1:
Management’s Commitment to Data Integrity

## Slide 49
Inadequate backup for personnel and equipment
Poor coordination for accepting work
Excessive overtime
Red Flag #2:
Available Resources

## Slide 50
Lack of technical depth
High staff turnover
Gaps in training records
Red Flag #3:
Qualifications and Training

## Slide 51
QA staff lacks direct access to senior management
Unclear roles and responsibilities
QA staff performing competing responsibilities
Inadequate internal assessments
Lack of data assessments
Red Flag #4:
Supervision and Oversight

## Slide 52
Incomplete assessment files
Repeat assessment findings
Inadequate procedures for handling complaints
Corrective action fails to address root cause
Lack of documented follow-up to corrective action and monitoring of effectiveness after implementation
Red Flag #5:
Preventive and Corrective Action

## Slide 53
Lack of record verification in archiving procedures
Inadequate archiving procedures to ensure data retrieval
Red Flag #6:
Document Control

## Slide 54
Records not readily accessible
Discrepancies between method and SOP
Referenced methods out of date
Presence of pencils or whiteout
Extremely clean, neat logbooks
Uncontrolled records
Logbook entries all aligned
Red Flag #7:
Document/Record Review

## Slide 55
Detection Tools
To Ensure Data Integrity
  Record reviews
  Process demonstrations
  Interviews
  Data monitoring

## Slide 56
What is Data Monitoring?
An in-depth review and reconstruction of data from raw/source data through final reporting, includes random audits of all QC, accession logs, test reports, and equipment logs associated with a sample submission.

## Slide 57
Data Monitoring
One Approach – Paper Review
  Links analyst to data
  Tracks samples to client report
  Answers key questions regarding systems and operations
  Identifies red flags for further probing

## Slide 58
Reconstruct the Data
Trace and verify dates, times, sample
custody, analysts, instrument.
Look at logbooks, preparation logs, analytical
sequences.
Request supporting data or additional packages
if needed.
Trace all raw data to reported result.
Focus on QC samples.
Proper written narration when analytical data
has been changed is necessary for the
reconstruction process, i.e. line through
data change without obscuring original
data, date, initial, and give a reason
for the change.

## Slide 59
Circumstances
that require follow-up
  A suspected problem was reported.
  You observe a pattern of improper practices that raises concerns about data integrity or otherwise suspect deliberate wrong-doing.
? ? ?

## Slide 60
Responding to Improper Practices
  There may be a number of explanations for an observation.
  Gather objective evidence and seek advice.
  Encourage open dialog about your
  observations.

## Slide 61
Elements of a Data Integrity Plan
Ethics statement
Analyst training
Policies and procedures
Open communication
Monitoring

## Slide 62
Ethics Statement
The TCPH/NTRL Ethics and Data Integrity Guidelines serve as the required Ethics Statement for our laboratory. All staff are required to read and sign before beginning any support or testing responsibilities in Water Bacteriology.
It establishes our Code of Conduct and includes:
  A zero tolerance policy; for self and others
  Expectation of highest ethical standards
  Required reporting of suspected problems
  Signature of each employee
“A cadet will not lie, cheat, or steal;
nor tolerate those who do.”

## Slide 63
New Employee Orientation Includes Documented Training on:
Importance of environmental data
Importance of proper practice
Acceptable and unacceptable practices
Consequences

## Slide 64: Data Integrity and Ethics Refresher Training Is Required Annually
Annual review of policy and procedures
Re-enforce key components of Quality Plan
Updates with any new information or regulations
Review of any internal issues when applicable

## Slide 65
TCPH/NTRL
Policies and Procedures
TCPH/NTRL Data Integrity and Ethics Policies and Procedures are found in Appendix A of the Quality Manual. Lab personnel are required to review the QM annually.
Topics covered include:
  Consequences of improper practices
  Confidential reporting procedures
  Potential data integrity issues, i.e.
    Report narratives/qualified data
    QC failures
    Instrument/Support Equipment Issues

## Slide 66
Discrete
Secure
Can be anonymous
No penalty
Prompt action
Open door policy
Examples:
        Talk with a supervisor, manager, or the TCPH compliance officer
        Leave a typed description of issue in a sealed envelope in a supervisor's or manager's inbox.
Confidential Reporting of Ethics or Data Integrity Issues

## Slide 67: Open Communication
TCPH Laboratory has an “open door” policy. There is unrestricted access for staff to management personnel at all levels.
Any issues related to the quality of the testing performed in the lab can be addressed by any staff member through completing a QA Action Report for follow-up by Lab Coordinator, consulting with a member of management openly or in private or submitting the issue anonymously.

## Slide 68: TCPH/NTRL Responsibilities
Continuously monitor data on a periodic but random basis-data audits
Provide clear guidance and policies for ethical behavior-code of conduct statement signed yearly
Provide ongoing training to employees
Perform confidential investigations if a problem is detected
Notify clients and reissue reports if data is negatively impacted
Eliminate undue pressure on analysts-quality ahead of Turnaround Time (TAT)
Provide mechanism for confidential reporting of abuse without recrimination-whistle blower policy

## Slide 69: TCPH/NTRL Employee Responsibilities
Uphold the ethics policy and practices as demonstrated in their daily conduct
Seek help when the proper course of action is unclear or unknown to them
Remain alert and sensitive to situations that could result in actions by any employee that are improper, illegal, unethical, or otherwise in violation of the ethics policy and practices
Counsel fellow employees when it appears that they are in danger of violating the ethics policy and practices
Report violations of the ethics policy and practices to
their supervisor or manager.

## Slide 70: An Ounce of PREVENTION:
If you miss a holding time or make a mistake, be honest about it. Covering it up can take it from an honest mistake to fraud.
Don’t be clever, be smart; in the long run, it takes less effort to just follow the policy than to find clever ways to circumvent it.
QC is used to determine sample, equipment, or method issues, not how good you are at your job.
Follow the method/SOP as written (or request revisions of the SOP if the change is allowed by TNI/TCEQ regulations).

## Slide 71: An Ounce of PREVENTION:
DOCUMENT, DOCUMENT, DOCUMENT!!- An “outsider” should be able to re-create the entire analytical process, including data review decisions and data correction narratives.
Talk with your Supervisor, QA Coordinator, or Lab Manager if you have doubts or questions.
Whatever the problem, it is not worth losing your job or going to jail!

## Slide 72: To Be Clear…..
It is OK to make a mistake
---It is NOT OK to hide that mistake
  It is OK to have QC out of limits
  ---It is NOT OK to hide QC that is out of
  limits or make it appear to be within
  limits when it is not.
There are potentially severe consequences for
scientific misconduct that can affect you and your lab.
Good communication can be key to prevention of these problems

## Slide 73
Finally…….
The bottom line on data integrity and ethics is that you as an individual and as an employee of TCPH/NTRL must take ownership of all aspects of data quality and ethical behavior to ensure that all reporting is accurate, complete, and valid.

## Slide 74: Acknowledgements
Oregon Technical Advisory Committee (OTAC)
Association of Public Health Laboratories
Minnesota Department of Health
US EPA Office of Inspector General