Identified as a Category  ___

Task as defined by the

U.S Department of Labor.

| Adopted: 5/26/2009 |  | Approved by: |
| --- | --- | --- |
| Reviewed/Revised |  | Medical Director Date |
| Reviewed/Revised |  | Proofread by: |
| Reviewed/Revised |  | Technical Director Date |
| Reviewed/Revised |  | Prepared by: Date |
| Reviewed/Revised |  |  |
| Reviewed/Revised |  |  |

Supersedes: bhGL9resultedit 3/3/2006				        Page  1 of 4

bhGL9resultedit

Procedure:  Editing Accepted Results  (Non-Microbiology)

Responsibility:  Result Entry Technical Staff

Purpose:  Correct a result, notify the clinician of the correction, and ensure the corrected result is displayed prominently. The correction must be performed to replace the original result.  Appending a comment to note the value of the new result is not acceptable.

Three steps: Notification, Replacement, and Documentation

Steps (Notification)

- The Physician, Physician's Office or Nursing Unit must be immediately notified of the corrected result.

- The technician performing the data correction is responsible to call the appropriate area of care to alert the clinician of the change.

- This notification will be documented with the result.

Steps (Sunquest – to replace the result)

- To ensure that an incorrect result is replaced.

- Function [MEM] or [OEM]

- [MEM] always use worksheet mode.

- Results have already been accepted so you must use M-Accn.# at the accession number entry prompt.

- You must enter the corrected result as if you were “typing over” the original value.   DO NOT USE THE HYPEHN TO APPEND THE CORRECTED RESULT.

- Enter the correct numeric value or appropriate coded comment (e.g. WRONG to note  RESULTS DO NOT BELONG TO THIS PATIENT ) DO NOT USE THE HYPEHN TO APPEND THE CORRECTED RESULT.                           –see example A,B

Example A

The initial CL value = 100 was incorrect, the correct value = 110.

From step 6: enter 110 for the CL value = 110

Note:	 1.	The Sunquest correction statement is automatically invoked

2.	The anion gap will get recalculated based on the new CL value

Example B

A Glucose value of 256 was reported and you become aware that specimen does not belong to the patient.

Steps (Sunquest – documenting the action)

- To ensure proper documentation.

- Function [MEM] or [OEM]

- [MEM] always use worksheet mode.

- Results have already been accepted so you must use M-Accn.# at the accession number entry prompt.

- APPEND THE DOCUMENTATION FOR THE CORRECTED RESULT.

- Follow standard “appending a free text comment” procedure (the hyphen, semicolon (-;)).

- Enter in who was notified, when notified, and by whom

- See example C.

Example C