Chemistry Policies and Procedures

Hopi Health Care Center Laboratory

Polacca, Arizona

| SUBJECT: Provider-Performed Microscopy Test (PPM) Procedures |  |  |
| --- | --- | --- |
| Original Effective Date: April 17, 2019 | Latest Revision: April 17, 2019 | Due for Review: April 17, 2021 |
| The last date of adopted, reviewed or revised supersedes all previous versions. |  |  |

PURPOSE:

This document outlines policies and procedures pertaining to the tests described. In an effort to be concise, some information from the manufacturer’s recommended procedure may be excluded. It is recommended that operators familiarize themselves with the manufacturer’s product information that accompanies each package and their manual, if one exists.

SCOPE:

- Level of Personnel: All MD’s, NP’s and certified Nurse Midwives who have successfully completed training and maintained annual competency.

- Testing Site: All sites approved and on file with the Pathology Services POCT Division

- Approved Tests:

  - See Page 5 for Vaginal Wet Prep

  - See Page 7 for 10% KOH with or without Swartz Enhancement

  - See Page 9 for Fern Test

POLICY AND PROCEDURE STATEMENT:

Provider-performed microscopy (PPM) is a testing modality that requires the use of a microscope and is performed by physicians and/or non-physician practitioners during the patient’s visit. Microscopic observation of clinical specimens allows for rapid detection of the presence of bacterial, fungal, and parasitic organisms.

Examination of vaginal secretions, skin, hair, and nails with a 10% KOH (Potassium Hydroxide) or KOH w/Swartzenhanced solution is utilized as an aid in diagnosis and classification of various yeast and fungal infections. As a strong alkali, 10% KOH digests the keratin surrounding the fungi so that the hyphae and spores can be seen.

Wet mount preparations are used to detect the presence of bacterial, fungal, or parasitic organisms, and other cellular elements indicative of pathological conditions (i.e. clue cells and polymorphonuclear leukocytes).

Examination of vaginal secretions for the presence of amniotic fluid is known as the fern test. In conjunction with patient history and vaginal fluid pH, the fern test is used to determine if the amniotic sac had ruptured. Due to the protein and sodium chloride content, amniotic fluid crystallizes to form a fern pattern when allowed to air-dry on a microscope slide.

PROFICIENCY TESTING:

The American Proficiency Institute (API) sends unknown samples to the laboratory for analysis at least twice a year. Results are submitted to the PT agency within 10 days of survey receipt. If a site fails 2 out of 3 events or two consecutive events according to federal law, it may be required to discontinue testing.

- All Survey results are to be handled and reported in the same manner as clinical results following the directions on the survey package insert. The samples are not to be analyzed in duplicate unless clinical specimens are analyzed in duplicate. Actions or decisions must be documented.

- The PT picture slide(s) will be assigned to specific individuals. Successful participation may be used as demonstrating successful competency for that year.

- Upon receiving the survey: The Lab Point of Care coordinator or designee will contact the assigned medical provider(s) regarding the survey and the timeline for submitting the results.

- The departments must be available within the period identified by POCT.

- The Key operators must make sure of the following:

- Instruments (if applicable) are in good working order.

- Once results are obtained, they should be given to the POCT Coordinators who will send them to the PT provider via electronic entry on the PT provider’s website.

- When PT results are received, they will be promptly evaluated by the Laboratory Director or a qualified designee, the review will be documented and the results of the evaluation will be shared with the Testing Personnel.

  - Scores of 100% minimally requires documentation of review by the Director or designee.

  - Scores between 100% and 80% requires a comprehensive investigation and remedial action documented of unsuccessful challenges.

  - Scores less than 80% requires a comprehensive investigation and documentation of remedial action of unsuccessful challenges. Scores of less than 80 percent may jeopardize a site’s ability to continue to perform testing.

  - Should a site fail proficiency, they will be required to immediately perform a comprehensive investigation and document remedial action. Operator re-training may be required.

  - In order to avoid cessation of testing, a site failing a challenge will be expected to develop and implement a more aggressive plan for performance improvement.

- IMPORTANT REMINDERS:

  - There will be no communication with any other laboratory regarding the samples or results prior to the cut-off date for the submission of results.

  - PT samples will not be sent to any other laboratory, even if the laboratory is temporarily unable to test them.  Promptly notify the PT provider of any inability to test the PT samples so that the laboratory will not receive a zero score for not participating.

  - All documentation pertaining to the PT participation are retained.  This includes:

    - how the PT samples were handled, prepared, processed and tested,

    - information and instructions sent with the samples,

    - all work sheets, instrument tapes and logs related to testing the samples,

    - copies of the attestation form signed by the Testing Personnel and the Laboratory Director, AND

    - the result submission forms

REGULATORY REQUIREMENTS:

All test results must be maintained in patient electronic health record with all required information:

- Patient’s name

- Medical Record Number

- Patient’s gender

- Patient’s age or date of birth

- Date & time test collected, performed and reported

- Ordering Physician

- Responsible physician (if not 6)

- Reference or Target Range

- Test Performed

- Test units

Additional information that must be retained for two years:

- Testing personnel records

- Product information (i.e. serial number, lot numbers, expiration dates, etc.) and any remedial action

- Microscope maintenance sheets and reference ranges

Other

- Universal precautions must be observed when handling any patient specimen.

- A physician’s order or policy statement detailing standard of care is required prior to performing test.

- The Hospital Hand Hygiene policy must be adhered to at all times

COMPETENCY ASSESSMENT:

All operators must read the procedure manual. Competency assessment is done bi-annually during the first year for new employees, and annually thereafter for all other employees.

Competency is assessed using the six applicable methods listed below:

- Direct observation of routine patient test performance including patient identification and preparation, specimen collection, handling, processing and testing.

- Monitoring the recording and reporting of test results, including reporting of critical results (manual and LIS reporting).

- Review of intermediate test results or worksheets, quality control records, proficiency testing results, and maintenance records.

- Direct observation of performance of instrument maintenance and function checks.

- Assessment of test performance through testing previously analyzed specimens, blind testing samples, or previously tested proficiency samples.

- Evaluation of problem-solving skills.

THE MICROSCOPE:

Achieving an accurate result with microscopic techniques requires an understanding of the operating characteristics and limitations of the equipment used. Therefore, it is recommended that the manufacturers’ instructions are read prior to using the microscope.

- Objective Lenses: Used to magnify the specimen a defined amount ( e.g. 10X, 40X, 100X)

- Stage: Horizontal platform on which the specimen slide is placed

- Condenser:

  - Mounted under the stage to concentrate and focus light from the Tungsten bulb

  - Raising or lowing it adjusts the amount of contrast and resolution

  - Contains an aperture diaphragm, which can be opened or closed to control the amount of light striking the specimen

- Coarse and Fine Adjustment Knobs: Used to bring the slide into focus by moving the stage toward or away from the objectives. The coarse adjustment moves the stage in large increments and the fine adjustment causes subtle movement.

- Collector Lens: Better microscopes have a field diaphragm on the collector lens. The adjustment of this diaphragm increases or decreases the circle of light in the viewing field

- Tungsten Bulb: A built-in light source that can be changed by the operator when it burns out. The light intensity can be controlled with the dimmer.

How to use the Microscope:

- Place a properly labeled specimen slide (i.e. 2 patient identifiers) on the stage (2).

- Lower the condenser and turn the lamp to low. Open both the aperture diaphragm (3) and the field diaphragm (5).

- With the 10X objective in place and while observing from the side of the slide and not through the eyepiece, use the coarse adjustment knob (4) to slowly raise the stage until the slide comes close to the objective.

- Next, look through the eyepiece and use the coarse and/or fine adjustment until the image is sharpest.

- Close the field diaphragm (5) almost completely and raise the condenser until the edges of the diaphragm are sharply focused (the condenser is usually at its highest position). Then, open the field diaphragm slowly, stopping just as it disappears from view.

- Open and close the aperture diaphragm to optimize contrast. Contrast is increased by closing the aperature. If more light is needed, turn up the lamp.

The high (40X) objective:

- Focus and center the specimen with the 10X objective, and rotate the nosepiece slowly to bring the 40X objective into the light path.

- Use the FINE adjustment knob to bring the specimen into focus.

NOTE: Never raise the stage with the coarse adjustment knob when using the 40X lens. Doing so may cause the lens to hit the slide and break.

MAINTENANCE:

Microscopes should be inspected, cleaned, and checked a minimum of once per week.

NOTE:

  - Cover the microscope when not in use and leave the 10X objective in position

  - Remove excess lotions, powders, or emollients from hands before use.

Vaginal Wet Prep

A vaginal wet mount (sometimes called a vaginal smear) is a test to find the cause of vaginitis, or inflammation of the vagina and the area around the vagina.

SPECIMEN COLLECTION:

Collect a sampling of vaginal material with a sterile cotton swab passed through and along the area of concern. Place the swab in a clean glass test tube labeled with two patient identifiers and containing approximately 0.5 ml sterile saline. The appearance of the saline solution prior to the addition of the specimen should be clear and colorless. If not, obtain a fresh sample. Swirl the swab vigorously in the saline to dislodge any particulates.

TESTING PROCEDURE:

Perform hand hygiene and put on gloves.

      - Place a drop of patient specimen mixed with saline on a clean glass slide. Cover with coverslip.

      - The microscope condenser must be lowered prior to reading all specimens.

      - Examine the slide carefully for epithelial cells completely covered with bacteria (Clue cells) and for the presence of hyphae, budding yeast, or mobile trichomonads.

Microscope slides must be labeled with two patient identifiers per hospital policy.

Normal Epithelial Cells						Clue Cell

Budding Yeast							Trichomonas vaginalis

Hyphae on Epithelial Cells

REPORTING RESULTS:

Report as presence or absence of clue cells/ hyphae or yeast/ trichomonads:

  - in the patient’s electronic health record

  - on a patient log or on another approved permanent record

LIMITATIONS:

  - Non-motile trichomonads could be mistaken for white blood cells. To preserve the motility of the organisms, the specimen should not be refrigerated but examined immediately.

  - Failure to vigorously swirl the swab in the saline to dislodge particulates may lead to erroneous results.

  - Oil droplets from intravaginal medications may be mistaken for yeast. Oil droplets show great variation in size and are highly refractile. Yeast cells often show budding.

QUALITY CONTROL MONITORING:

Traditional quality control for the Vaginal Wet Prep is not required. Typical result examples are available for reference in atlases. Providers performing microscopy must pass assigned unknown identification quizzes via the medtraining.org website with a grade of 80% or better.

REFERENCE:

- CLSI Physician and Nonphysician Provider-Performed Microscopy Testing; Approved Guideline-Second Edition.

- POCT10-A2 ; 2011 Wisconsin State Laboratory of Hygiene, Proficiency Test Photos, 2012

KOH with or without Swartz Enhancement

10% KOH is a strong alkali used to digest cellular elements and other contaminants that would otherwise obscure the presence of fungal elements (e.g. pseudohyphae and yeast). KOH with Swartz enhancement improves viewing of the negative space and light refraction.

SPECIMEN COLLECTION:

Vaginal specimens: Collect a sampling of vaginal material with a sterile swab passed through and along the area of concern. Place the swab in a properly labeled (i.e. 2 patient identifiers) clean glass test tube containing approximately 0.5 ml sterile saline and twirl it vigorously in the saline to dislodge any particulates.

Non-vaginal specimens: Specimens should be placed immediately on a clean, glass slide. Cotton swabs should not be used to prepare the slides because cotton strands may resemble fungi.

Microscope slides must be labeled with two patient identifiers per hospital policy.

TESTING PROCEDURE:

- Perform hand hygiene and put on gloves.

- Place one drop of specimen to a clean glass slide.

- Add one drop of KOH solution (standard or enhanced) to the specimen.

- Check the slide immediately for a “fishy,” amine odor and note presence or absence. (The odor indicates anaerobic bacteria overgrowth.)

- Allow the slide preparation to rest for up to 5 minutes for vaginal specimens and up to 30 minutes for other specimens to allow cellular tissue and other debris to dissolve. Gentle heating may aid in clearing the mount.

- Cover with a coverslip.

- Scan under low power (10X) for budding yeast and pseudohyphae and under 40X (high power) to look for smaller fungal elements.

Budding Yeast						    Pseudohyphae (w/o KOH)

Pseudohyphae with KOH

REPORTING RESULTS:

Report out presence or absence of either yeast or hyphal elements:

  - in the patient’s electronic health record

  - on a patient log or on another approved permanent record

LIMITATIONS:

- KOH can grow fungus if stored beyond the expiration date. Do not use if solution appears cloudy.

- Cotton strands from the swab may resemble fungal elements

QUALITY CONTROL MONITORING:

Traditional quality control for the Vaginal Wet Prep is not required. Typical result examples are available for reference in atlases. Providers performing microscopy must pass assigned unknown identification quizzes via the medtraining.org website with a grade of 80% or better.

REFERENCE:

CLSI Physician and Nonphysician Provider-Performed Microscopy Testing; Approved Guideline-Second Edition.

POCT10-A2 2011

Fern Test Examination of Amniotic Fluid

Amniotic fluid will crystallize when allowed to dry on a glass slide and will form a fern pattern. Vaginal secretions that do not contain amniotic fluid will not show a fern pattern.

SPECIMEN COLLECTION:

- Perform hand hygiene and put on gloves.

- Collect vaginal secretion from the posterior vaginal pool with a sterile swab. Avoid the use of any lubricants or antiseptics, because these may interfere with the test.

- Do not touch the mucus plug in the cervix.

- After collection, immediately roll the saturated swab tip across the slide while applying slight pressure to express the fluid. Spread the specimen to create a very thin smear.

      - Allow slide to air dry for 5 to 7 minutes. Do not blow air or heat the slide to shorten dry time. Do not apply a coverslip.

Microscope slides must be labeled with two patient identifiers per hospital policy.

TESTING PROCEDURE:

- Examine the dried smear under low power (10X) without a cover slip.

- If present, the amniotic fluid crystallizes to form a fern-like pattern due to the relative concentrations of sodium chloride, proteins, and carbohydrates in the fluid. Examine all fields on the slide thoroughly.

- If uncertain about the ferning pattern, examine under high power (40/45X).

- Dispose of slide into an appropriate sharps container

Positive Ferning                                                                                           Positive Ferning

Negative for Ferning

REPORTING RESULTS:

Report out presence or absence of either yeast or hyphal elements:

  - in the patient’s electronic health record

  - on a patient log or on another approved permanent record

LIMITATIONS:

  - The Fern Test should be performed in conjunction with a pH test.

  - If the pH test and Fern Test are both positive, probable membrane rupture has occurred.

  - If the pH test is negative but the Fern Test is positive, there is probable rupture of the membranes due to the

Fern Test's greater specificity.

  - If the pH Test is positive but the Fern Test is negative, a second specimen should be collected and tested.

  - False positive results may occur from specimens contaminated with blood, urine, or cervical mucus, which also “ferns” but usually in a coarser pattern.

  - False negative results may occur from prolonged rupture of the membranes (longer than 24 hours).

  - False negative results may occur if only a small volume of fluid has leaked.

QUALITY CONTROL MONITORING:

Traditional quality control for the Vaginal Wet Prep is not required. Typical result examples are available for reference in atlases. Providers performing microscopy must pass assigned unknown identification quizzes via the medtraining.org website with a grade of 80% or better.

REFERENCE:

- Addison, Lois Anne. Laboratory Medicine, July, 1999, Vol 30, No.7, p451.

- CLSI Physician and Nonphysician Provider-Performed Microscopy Testing; Approved Guideline-Second Edition. POCT10-A2 ; 2011

- Vincent Memorial Obstetrics Service, Fern Test Procedure