Transfusion Service Critical Equipment List

| Equipment | Model/SN | Manufacturer | Calibration required | Comments Special Instruction |
| --- | --- | --- | --- | --- |
| Cell Washer | Ultra CW 002398 | Helmer | Daily QC 6mo tachs/times |  |
| Cell Washer | Ultra CW 002482 | Helmer | Daily QC 6mo tachs/times |  |
| Cell Washer | Ultra CW 002449 | Helmer | Daily QC 6mo tachs/times |  |
| Heat Block A | 2001Q 1951091138770 | Thermo Scientific | Daily QC |  |
| Heat block B | 2001Q 1951091241772 | Thermo Scientific | Daily QC |  |
| Heat BlockC | AccuBlock D1100 SA1B09263 | Lab Net | Daily QC |  |
| Heat Block D | AccuBlock D1100 SA1B09261 | Lab Net | Daily QC |  |
| Centrifuge 1 | EBA20 0010756-01-00 | Helmer | 6 mo tachs/times |  |
| Centrifuge 2 | EBA20 0010970-01-00 | Helmer | 6 mo tachs/times |  |
| Serofuge-A1 | EBA21 0002133-03-00 | Helmer | 6 mo tach/timer |  |
| Serofuge –B1 | EBA21 0002185-03-00 | Helmer | 6 mo tach/timer |  |
| Serofuge -C1 | EBA21 0002222-03-00 | Helmer | 6 mo tach/timer |  |
| Stat Spin B | Express 3 1039M5020400 | IRIS | 6 mo tach/timer |  |
| Stat Spin A | Express 3 1037M020398 | IRIS | 6 mo tach/timer |  |
| Tango | Optimo | BioRad | Quarterly maintenance | BioRad does maintenance |
| Digital Scale | Scout Pro | Ohaus | Internal calibration | Supplement with known weights |
| Plasma Thawer | DH8 996626 | Helmer | Quarterly Maint. |  |
| Plasma Thawer | DH8 992381 | Helmer | Quarterly Maint. |  |
| Platelet Incubator/Rotator | PC900i 968805 | Helmer | Daily Temps Quarterly Maint. | Electronic Alarm Checks |
| Platelet Incubator/Rotator | PC 1200i 1000069 | Helmer | Daily Temps Quarterly Maint | Electronic Alarm Checks |
| Reagent Refrig R2 | ILR125 996609 | Helmer | Daily temps/Alarm Checks | Electronic Alarm Checks |
| Single Door R4 Refrigerator | Asset Tag H170386 | Jewett | Daily temps/Alarm Checks |  |
| Equipment | Model/SN | Manufacturer | Calibration required | Comments Special Instruction |
| Double Door Refrigerator R1 | IB245 996711 | Helmer | Daily temps/Alarm Checks | Electronic Alarm Checks |
| Double Door Refrigerator R3 | Asset tag H205292 | Jewett | Daily temps/Alarm Checks |  |
| Plasma Freezer F2 | IPF 120-4 996770 | Helmer | Daily temps/Alarm Checks | Electronic Alarm Checks |
| Plasma Freezer F1 | IPF 120-8 996771 | Helmer | Daily Temps/Alarm Checks | Electronic Alarm Checks |
| Tissue Freezer F3 | 5656 824308-538 | VWR | Daily temps/Alarm Checks | Electronic Alarm Checks |
| Hematrax Label Printer 1 | LP2844-Z 08J102500313 | Zebra | IT maintains |  |
| Hematrax Label Printer 2 | LP2844-Z 08J10052210 | Zebra | IT maintains |  |
| Accn Label printer 415 Tango desk | SN2407585 | Zebralink | IT maintains |  |
| Accn Label printer 411 Front desk | SN3300357 | Zebralink | IT maintains |  |
| Atlas label printer 412 components | SN3298964 | Zebralink | IT maintains |  |
| Transfusion tag printer P1 | Printmaster 852si PDE04944 | Printek | Done by IT |  |
| Transfusion tag printer P2 | Printmaster 852si PDE01836 | Printek | Done by IT |  |
| Heat Sealer | 8SE*2002 | Terumo | None |  |
| Tempcheck 1 | 0312403 | Tropitronics | Daily Temps/Annual Cal |  |
| Tempcheck 2 | 0312404 | Tropitronics | Daily Temps/Annual Cal |  |