**FREEZER ALARM ACTIVATION RECORD**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | | |  |  | |  |  |  |  |  |
| **Quarterly Alarm Testing (Q)/ Programming Change (PC)/ Return to Services (RTS)/ After Defrosting DF)** | | | | | | | | | | | | | | | | |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |
| **Freezer No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** | | | | | | | | | **Year \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** | | | | | | |  |
|  |  |  | | |  | |  | |  |  | |  |  |  |  |  |
|  |  |  | | |  | |  | |  |  | |  |  |  |  |  |
|  |  | **Programmed Temperature Alarm Parameters** | | | | | | | | | | | | |  |  |
|  |  |  |  |
|  |  | **Device** | | | | | | **Low Alarm** | | | **High Alarm** | | | |  |  |
|  |  |  |  |
|  |  | **Plasma Freezer** | | | | | | **N/A** | | | **-20°C** | | | | **-** |  |
|  |  | **Ultra Low Freezer** | | | | | | **-90°C** | | | **-65°C** | | | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  |  |  |  |
|  |  |  | | |  | |  | |  |  | |  |  |  |  |  |
|  |  |  | |  | |
|  |  | **Date Tested** | | | **Reason Q/PC/ RTS/DF** | | **ALARM** | | | **OK? Y/N** | | **Tech ID** | **Supervisor/ Designee Review/Date** | |  |  |
| **Activation Temp** | | **Response**  **Y/N** |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  |  |  | | |  | |  | |  |  | |  |  | |  |  |
|  | | | | | | | | | | | | | | | |  |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |
|  | Corrective Actions: | |  | |  | |  | |  |  | |  |  |  |  |  |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |
|  |  | |  | |  | |  | |  |  | |  |  |  |  |  |

**Reviewed by:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**