Platelet Incubator Maintenance Form

Incubator No._________________________________Year:_________________________

Programmed Alarm Parameters

| Storage Equipment | Low Alarm Setting | High Alarm Setting | Delay in Agitation |
| --- | --- | --- | --- |
| Platelet Incubator | 20.5°C | 23.5°C | 1 Minutes |

Q = Quarterly, PC = Program Change, RTS = Return to Service

| Date | Reason | High Alarm | Low Alarm | Delay |  |  | OK? Y/N | Tech | Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Time out of range | Time in alarm | Actual Delay |  |  |  |  |

Additional Alarm testing

| Date | Reason | Audible Alarm | Programmed Time Delay | Alarm sounds?Y/N | Time Delay | Ok? Y/N | Tech | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Calibration of iSeries Temperature Monitor and Temperature Controller

| Date | iCenter temp | Nist Temp | Calibration’required? Y/N | Temp Controller | Nist Temp | Calibration required? Y/N | OK?Y/N | Tech | Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Chart Recorder Battery Backup Check

| Date | Test OK? Y/N | Battery Replaced? Y/N | Repeat Test OK? Y/N | Tech | Comments |
| --- | --- | --- | --- | --- | --- |

Condenser Cleaned Date:___________________________Tech:__________________________________

Comment Code Key:

RPR=Repeat	LE=Late Entry	CE=Corrected Entry		CAL=Recalibrated		RS=Referred to Supervisor

NC= Not corrected			OTR=Explain		EB=Explain on back of page

Reviewed by:____________________________________Date:____________________________________