Purpose

Use Blood Component Preparation and/or Blood Order Processing to document production of components and record the blood product data that results from blood component preparation.

Method

| Step | Actions | Computer Processes |
| --- | --- | --- |
| 1 | Thawing FP as available stock without assigning to patient | - Thaw FP as per SOP “Thawing Products Using the Helmer Quick Thaw” for use as available stock. - Check the thawed FP to assure it is intact, passes visual inspection, and ready for use. - Open Blood Component Preparation - Use code for thawing FP or use search feature to select. The options for plasma are: - TH DIVA Thaw 5 day divided plasma AO - TH DIVB Thaw 5 day divided plasma BO - TH DIVC Thaw 5 day divided plasma CO - TH DIVD Thaw 5 day divided plasma DO - TH FFP Thaw FFP for single draw plasma frozen within 8 hours - TH24H Thaw FP for single draw plasma frozen within 24 hours NOTE: Divided plasma will have the letters AO,etc. on the bag label, and should have been entered as such when brought into BPE. - Tab through date and time if doing processing real time. Adjust date and time if necessary. - Accept default shift and Tech ID or change if needed. Continue. - Scan or type in unit number. - In the right pane of the window, the Unit tab shows data for the unit you select in the left pane. - Enter any missing mandatory data for each output and new unit. The lower screen shows the Task Summary and each unit will have detailed Input and Output data. - Review the Output new expiration date and time for accuracy. - Task Summary list can be printed if desired by selecting Task Summary on bottom left of screen. - Select Save, a confirmatory box will ask if it should file all units, select OK, and the Output/New Units window opens, showing the results of preparation. Close. |
| Step | Actions | Computer Processes |
| 2 | Labeling Thawed Plasma | - Print a label using Hematrax: See “Creating a Hematrax Label” SOP. - The label should be printed and verified (See Blood Label Verification SOP) prior to allocation and issue. |
| 3 | Thawing FFP to be allocated to a specific patient order. | - Open Blood Order Processing on patient encounter. Select the order of transfuse FP. - In Blood Order Processing, update the units ordered if needed, and go to the Allocation tab. - Branch to Blood Component Prep - Select look up by component preparation function. - Use appropriate code for thawing Plasma or use search feature to select. - Tab through date and time if doing processing real time. Adjust date and time if necessary. - Accept default shift and Tech ID or change if needed. Continue. - Scan or type in unit number. - In the right pane of the window, the Unit tab shows data for the unit you select in the left pane. Enter any missing mandatory data for each output and new unit. (Yellow fields are mandatory). - The lower screen shows the Task Summary and each unit will have detailed Input and Output data. Review the Output new expiration date and time for accuracy. - Task Summary list can be printed if desired by selecting Task Summary on bottom left of screen. - Select Save, a confirmatory box will ask if it should file all units, select OK, and the Output/New Units window opens, showing the results of preparation. Close. - This action should branch back to the Blood Order Processing screen for the selected patient. The unit(s) should be listed in the Compatibility Testing Section. Select Ok to transfuse or Not Ok as required. Save. - Go directly to Issue, Issue Emergency, or select No to keep unit tagged in inventory until needed. |

References:

Blood Bank User Guide, Misys Laboratory

AABB Standards for Blood Banks and Transfusion Services, Current Edition.