Purpose

To describe the procedure for printing a label using the Hematrax Blood and Blood Component Stand alone Labeling Application, on the Digitrax ZM400 printer.

Method

| Step | Action |
| --- | --- |
| 1 | - Log onto Hematrax computer. Log on consists of Tech ID (two initials + 4 numbers) and the password “bloodb@nk”. |
| 2 | - Open window for full face label by using CTRL + U together. |
| 3 | - Scan the unit number. |
| 4 | - Left click on the facility box. Select appropriate supplier from list. Click OK. |
| 5 | - Going down to the product donation type field select Volunteer Allogeneic Donation (will be the default). |
| 6 | - Left click on product field. Select the ICCBBA Predefined Product Click OK. |
| 7 | - In the ICCBBA Product Code field located in the upper left corner, scan the appropriate product bar code or enter the code that corresponds to the product type for label. |
| 8 | - Go up to the top right hand corner. If this is a divided unit, check the Divided Unit box and enter the aliquot number(s). |
| 9 | - Go to the ABO/Rh box. The Blood Group/Rh Factor drop down menu will allow you to select the blood type for new label. Click OK. |
| 10 | - Left click on the Date box. Enter the correct new expiration date. The time will default to 23:59 unless the box for time is checked and an alternate time can be entered. - In the special test field verify the attributes if appropriate for unit. Select OK. |
| 11 | - If creating 5 day thawed plasma, select the box for Processing Facility to put PSBC license information on the new label. Check box to include FDA license number. - Choose HMC for modifying facility. |
| 12 | - Additional labels can be printed by adding the number to the label field. |
| 13 | - Print. An extra box may appear to allow you to enter the product volume, amount of anticoagulant, and additive volumes as necessary. |
| 14 | - Close the label window completely before printing any additional labels. |
| 15 | - Verify the label accuracy by comparing printed label to original product label with a second tech. - Record verification on Label Verification Form. |

References:

Hematrax Blood and Blood Component Stand Alone Labeling Application  Version 6.2.1

Standards for Blood Banks and Transfusion Services, Current Edition, American Association of Blood Banks, Bethesda, MD.