**UW Medicine - Pathology**

6000-02-06-03

Sorensen's Buffered Formalin Procedure

|  |
| --- |
| Adopted Date: 06/14/10Review Date: 04/08/11Revision Date:  |

PURPOSE

Document procedure for making Sorensen's Fixative used in Renal Biopsies.

PROCEDURE

(100 ml per batch)

1. Prepared Buffer:
	1. Sodium Phosphate, Monobasic - 3.32 gm in 300 ml D.I. water.
	2. Sodium Phosphate, Dibasic (dissolve with gentle heat) - 14.19 gm in 100 ml D.I. water.
	3. Add 220 l of Sodium Phosphate, Monobasic solution to 780 ml Sodium Phosphate, Dibasic solution - mix well.
2. Prepare Fixative:
	1. Add 900 ml prepared Buffer solution to 100 ml 37% Formaldehyde - mix well, label as 10% Sorensen's Buffered Formalin.

Written By: Director Approval:

­­­­­­­­­­­­­­­­­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Histology Supervisor