UW Medicine - Pathology

6000-02-07-06

Refrigerator/Freezer QC and Maintenance Procedure

Adopted Date: 2/18/2011 Review Date: Revision Date: 04/28/11

PURPOSE

This procedure has been established to ensure that equipment utilized in the technical aspects of patient care is regulated properly.  It has been implemented to ensure that the highest quality technical services are rendered to the patients and physicians at University of Washington.

SCOPE

Histology Department

PROCEDURE

Materials:

- Refrigerator #1 (Roper model, Histology Lab NW211)

- Freezer #1 -70C (Revco model, Freezer room BB240A)

- Thermometer

- Temperature Log

- Dilute Bleach Solution

- Gloves

- Lab Coat

Procedure:

The Refrigerators/Freezers are on a yearly inspection PM, performed by the Ops & Maintenance department (206-598-4911).

- NO FOOD is permitted in these refrigerators or freezer.

- Daily, check the temperatures in the refrigerators and freezer.

- Record the temperatures on the temperature log.

- Keep the refrigerators and freezer interiors clean.

- Periodically clean the interior and the exteriors of the refrigerators with a dilute bleach solution.

- Notify the supervisor of any discrepancies.

Temperature Ranges

- Refrigerators:       2- 8C (+/- 2 C)

- Freezer:               -70 C

RELATED DOCUMENTS

Temperature Logs

REFERENCES

Histotechnology, a Self-Instructional Text, pg 58-59 Freida L. Carson

Temperature & Thermometer Quality Control for the Laboratory, proc.7416

.

Written By:					Director Approval:

_______________________		___________________________

Histology Supervisor