UW Medicine - Pathology

2000-06-01-06

Fluorescent Microscope QC Procedure

Adopted Date: 02/09/93 Review Date: 06/05/09 Revision Date: 02/28/13

PURPOSE

To monitor quality control of the Fluorescent Microscope in the IHC Laboratory.

PROCEDURE

Olympus Bx41:                                                                   Leica DM2000

SI#:  13651                                                                  SI#:  28834

UWMC Number:  20010440

Instillation Date: unknown

Preventative Maintenance Procedure:

- Preventative maintenance is performed by Scientific Instruments every 3-6 months.

- For problems:

  - Refer to the owner's manual and try to troubleshoot.

  - If unable to resolve problem, contact Scientific Instruments at 543-5580.

Written By:					Director Approval:

(Signature and Date)				(Signature and Date)

_________________________		___________________________

IHC Supervisor