UW Medicine - Pathology

2000-06-01-13

Thermobrite / Vysis Hybrite QC Procedure

Adopted Date: 08/29/03 Review Date: 06/05/09 Revision Date: 05/03/11

PURPOSE

To monitor quality control of the Hybrite Vysis in the IHC Laboratory.

PROCEDURE

Vysis Hybrite, model # 30-102720:

Serial Number:  2127019

UWMC Number: n/a

Instillation Date: 11/21/02

PM Number: 17836

Abbott Molecular Thermobrite, model # S500-12:

Serial Number: 515S50000211

UWMC Number: n/a

Installation Date: unknown

PM Number: 25011

Preventative Maintenance Procedure:

- Weekly (or after each use):

  - Unplug the unit before cleaning.

  - Using distilled H2O and a lint free cloth; wipe the heating surface of the unit.  Do not leave water droplets on the surface.

- Annually:

  - Scientific Instruments will perform preventative maintenance on the unit on an annual basis with the task code: BL 000.

- Other problems:

    - Refer to the owner's manual.

    - Contact the Vysis representative.

Written By:					Director Approval:

(Signature and Date)				(Signature and Date)

_______________________		___________________________

IHC Supervisor