UW Medicine - Pathology

6000-01-05-10

Kidney Stone Procedure

Adopted Date: 08/08/91 Review Date: 06/22/09 Revision Date: 10/29/10

PURPOSE

To provide instructions on sending kidney stones to the clinical laboratory for chemical analysis.

PROCEDURE

Kidney stones are only sent to the clinical laboratory for chemical analysis when the Pathology Consultation Request indicates, in writing, "for chemical analysis and is signed by the attending.

- DO NOT place kidney stones in formalin/saline/water.

- Dictate a gross description of the stone and submit it for chemical analysis.  Attending Pathologist must perform gross exam before sending stone to lab for analysis.

- If there is an excessive amount of kidney stones, only submit a representative portion.

- Deliver the stone in a properly labeled container with a completed Clinical Lab Request-Non-Blood from to NW-220.

Proper Labeling

  - Patient name

  - Hospital number

Written By:					Director Approval:

(Signature and Date)				(Signature and Date)

_______________________		___________________________