UW Medicine - Pathology

100-02-01-27

Remote Microscopy (Telepathology) Policy

Adopted Date: 02/17/09 Revision Date: 08/10/11

PURPOSE

To ensure the proper use of the Remote Microscope (telepathology system) in transmitting Neuropathology intraoperative cases from UWMC to HMC.

The microscope is commercially available and was designed and is used exclusively for remotely controlled microscopy.

SCOPE

The use of Remote Microscopy is limited to intraoperative consultation in which the remote microscope is located at the University of Washington in the "frozen section" room in the OR and the "receiving" microscope is at Harborview Medical Center in the Neuropathology sign-out room, where there is full electronic access to pertinent clinical information at time of slide review.  The microscope is commercially available and was designed, and is used exclusively, for remotely controlled microscopy.

The intraoperative consultation procedures are the same as for ordinary (non-remote) consultation except for the pathologist's analysis of the slides.  As such, all policies and procedures related to patient identification, separation of cases, labeling, etc. are not altered.

POLICY

- Users must be trained prior to use.  Fellows / residents are trained annually by demonstration in the process of initiating a remote microscopy session.  All frozen section room staff undergo training with demonstration as part of initial training.  Pathologists are trained by demonstration on use of the software for receiving the microscopic images.

- Access to both sending and receiving workstations involved in remote microscopy sessions is restricted to approved users of the UW Medicine Pathology LIS, and is protected by password access and other appropriate security measures to ensure the confidentiality of patient information as required by HIPAA.

- At the time of interpretation, the resident / fellow initiates the remote microscopy session and contacts the Neuropathologist with patient identification, clinical information and diagnostic question.

- Findings of the interpretation are communicated both to the resident / fellow and to the surgeon in the operating room at University of Washington Medical Center.  The interpretation that is communicated is documented on the Pathology Consult Request.  This system is intended for use in intra-operative consultation and is not intended for second opinion consultation from pathologists at outside institutions other than HMC Neuropathology.

- The material generated for intraoperative consultation is retained and submitted along with any remaining tissue for final diagnosis.  The frozen section-final diagnosis correlation is reviewed as part of the Quality Improvement / Assurance program, as defined in the Anatomic Pathology Quality Management Plan, 100-01-01-04.

REFERENCE

Anatomic Pathology Quality Management Plan, 100-01-01-04

UWMC Pathology Chief of Service:	HMC Pathology Chief of Service:

(Signature and Date)				(Signature and Date)

6/4/13	6/4/13

____________________________		___________________________

Suzanne Dintzis, MD, PhD			Stephen Schmechel, MD, PhD

Written by:					Revised by:

(Signature and Date)				(Signature and Date)

Don Born, MD, PhD 02/17/2009__		_________________________