UW Medicine - Pathology

100-05-01-24

Chemical Receiving Instructions Procedure

Adopted Date: 06/13/09 Revision Date: 05/26/11

PURPOSE

To provide a systematic way to receive and document new chemicals in all laboratories.

SCOPE

All laboratories.

PROCEDURE

- The date received must be recorded on the container and the packing slip.

- A diamond shaped hazard label, if not already on the bottle, must be attached to the container.  The appropriate numerical rating for each category is on the chemicals MSDS.

- All new chemicals must be added to the laboratories chemical inventory list in MyChem.

- For further information, refer to the departments Reagent Management procedure

REFERENCE

Reagent Management procedure, 100-02-01-25

UWMC Pathology Chief of Service:	HMC Pathology Chief of Service:

(Signature and Date)				(Signature and Date)

5/22/13	5/22/13

____________________________		___________________________

Suzanne Dintzis, MD, PhD			Stephen Schmechel, MD, PhD

Written by:					Revised by:

(Signature and Date)				(Signature and Date)

_________________________		_________________________