| University of Washington, Harborview Medical Center 325 9th Ave. Seattle, WA, 98104 Transfusion Services Laboratory Policies and Procedures Manual | Original Effective Date: June 24, 2011 | Number: 5601-1 |
| --- | --- | --- |
|  | Revision Effective Date: | Pages: 1 |
| TITLE: Quality Control Testing and Review Schedule |  |  |

Policy:

The Harborview Transfusion Service Laboratory (TSL) will perform quality control testing according to regulatory requirements, accepted standards of practice, and manufacturer’s instructions, where applicable.

Purpose:

To describe the frequency of quality control testing for all methods and procedures used in the Harborview Medical Center (HMC) Transfusion Services Laboratory (TSL).

Schedule:

| Test Method/Procedure | Frequency of Quality Control Testing | Frequency of Review |
| --- | --- | --- |
| Manual Tube Methods | - Each day of use, each lot number. - If test results indicate a problem. | - Reviewed by Second Technologist before release of patient results. - Reviewed by Lead/mgr daily. - Reviewed by Manager monthly. |
| TANGO solid phase testing platform | - Each day of use, each lot number. - Each batch of Bromelin reagent. - After maintenance. - If test results indicate a problem. |  |

References

Applicable Manufacturer’s insert, current version

AABB Standards for Blood Banks and Transfusion Services, current edition.